Annex VII.

### BID/PROPOSAL SUBMISSION FORM

To: UNDP Moldova,

131, 31 August 1989 Street, MD-2012 Chisinau, Republic of Moldova

Attention: Registry Office/Procurement

Dear Sir / Madam,

Having examined the Bidding Documents, the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply and deliver IT Equipment in conformity with the said bidding documents for the sum of [total bid amount in words and figures] as may be ascertained in accordance with the Price Schedule attached herewith and made part of this Bid.

We undertake, if our Bid is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

We agree to abide by this Bid for a period of [number] days from the date fixed for opening of Bids in the Invitation to Bid, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

We understand that you are not bound to accept any Bid you may receive.

Dated this . . . . .day of . . . . .[year].

. . . . . . . . . . . . . . . . . . . . . . . . .			. . . . . . . . . . . . . . . . . . . . . .

Signature 						[in the capacity of]

Duly authorised to sign the Bid for and on behalf of . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Annex VIII.

PRICE SCHEDULE

- The Price Schedule must provide a detailed cost breakdown for each item.

- Technical descriptions for each proposed item must provide sufficient detail to allow the Purchaser to determine compliance of Bid with specifications as per Schedule of Requirements and Technical Specifications of this ITB.

- Estimated weight/volume of the consignment must be part of the documentation submitted.

- All prices/rates quoted must be exclusive of all taxes, since the United Nations, including its subsidiary organs, is exempt from taxes.

- The format shown on the following pages should be used in preparing the Price Schedule. Please use only light-grey fields for entering your information. Offer received without properly filled-in tables could be rejected.

- Partial Bids permitted, by LOTs.

| LOT 1 |
| --- |
| 1. | SERVER (for Data Base) | Pc. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | CPU type | 64Bit, Dual-Core, min - 2MB L2 cache |  |
|  | Clock frequency | 2.4 GHz |  |
|  | Number of installed CPUs | 4 |  |
|  | RAM | DDR-2, 32 GB |  |
|  | Internal disks adapter type | 15K SAS, Hot-Swap + RAID 10 support |  |
|  | Hard disk type | Hot spare |  |
|  | Usable Hard disk space in RAID 10 | 1 TB |  |
|  | Data throughput rate | 3 GB/s (I.E. RAID10 Disk Spindle configuration should be configured as such) |  |
|  | Optical drive | DVD+/-R Drive |  |
|  | Network interface | Ethernet 10/100/1000Base-T, min 2x |  |
|  | Support of operating systems | Should support Windows 2008 Cluster See SYSTEM SOFTWARE |  |
|  | Backup data | Both servers Support external tape for backup |  |
|  | Power units and fans | hot swap possibility |  |
|  | Power supply | Redundant power supplies Power cable for connecting UPS |  |
|  | Power units and fans backup | N+1 |  |
|  | Case (form-factor) | Rack mounting 4U |  |
|  | Operating System | Microsoft Windows Server 2008, 64 bit, Enterprise, License with 25 or more CALs, English language, OEM version |  |
|  | Reserve | 1) Power unit and fan for Data Base Server 2) 4x Hard disk (SAS) for Data Base Server Same size as configured for the RAID 10 3) DDR-2 RAM, for Data Base Server, 1GB |  |
|  | Warranty period |  |
| 2. | BACKUP TAPE DRIVE for Data Base Server | Pc. | 1 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | LTO magnetic tape capacity (without compression) | 400 GB |  |
|  | Library capacity (without compression) | 400 GB |  |
|  | Format | 1U |  |
|  | Transfer rate | 80 MB/s |  |
|  | MTBF | 100,000 hours |  |
|  | Server platform support | MS Windows Server 2008 |  |
|  | Recording interface | MS SQL Server 2008 Data Base server support |  |
|  | Data copying option | Directly from disk array |  |
|  | Management and Monitoring | Availability in a delivery set of standard software (such as Backup Exec) supporting the tape library installation, configuration, monitoring and tape library management with possibility of notifying authorized administrator about appeared problems |  |
|  | Consumables | 10 Backup tapes for Backup tape drive for Data Base Server (400 GB) |  |
|  | Warranty period |  |
| 3. | SERVER (for Web Application) | Pc. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | CPU type | Quad-Core, min - 2MB L2 cache |  |
|  | Clock frequency | 2.4 GHz |  |
|  | Number of installed CPUs | 4 |  |
|  | RAM | DDR-2, 32 GB |  |
|  | Internal disks adapter type | Ultra320 SCSI or SAS, Hot-Swap + RAID 1 support |  |
|  | Hard disk space | 73 GB |  |
|  | Number of hard disks | 2 |  |
|  | Optical drive | DVD+/-R Drive |  |
|  | Network interface | Ethernet 10/100/1000Base-T, min 2x |  |
|  | I/O channels | PCI or PCI-X slot, 2 |  |
|  | Support of operating systems | Windows Server 2008 Cluster support See SYSTEM SOFTWARE |  |
|  | Backup data | Support internal tape for backup |  |
|  | Power units and fans | hot swap possibility |  |
|  | Power supply | Redundant power supplies Power cable for connecting UPS |  |
|  | Power units and fans backup | N+1 |  |
|  | Case (form-factor) | Rack mounting 4U |  |
|  | Operating System | Microsoft Windows Server 2008, 64 bit, Edition Datacenter or Web, License per CPU (Datacenter), English language, OEM version |  |
|  | Reserve | 1) Power unit and fan for Application Server 2) Hard disk (SCSI or SAS) for Application Server (space GB) 73 3) DDR-2 RAM, for Application Server, 2GB |  |
|  | Warranty period |  |
| 4. | BASTION HOST | Pc. | 1 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | CPU | Dual Core Processor 3.0 GHz, 2MB L2 cache, FSB min. 1000 MHz |  |
|  | RAM | 2 GB DDR2 |  |
|  | Internal disks adapter type | Ultra320 SCSI or SAS, Hot-Swap + RAID 1 support |  |
|  | Hard disk space | 73 GB |  |
|  | Number of hard disks | 2 |  |
|  | Optical drive | DVD+/-R Drive |  |
|  | Network interface | Ethernet 10/100/1000Base-T, min 2x |  |
|  | I/O channels | PCI or PCI-X slot, 2 |  |
|  | Support of operating systems | See SYSTEM SOFTWARE |  |
|  | Power units and fans | hot swap possibility |  |
|  | Power supply | Redundant power supplies Power cable for connecting UPS |  |
|  | Power units and fans backup | N+1 |  |
|  | Case (form-factor) | Rack mounting 2U |  |
|  | Operating System | Microsoft Windows Server 2008 R2 32-bit, English |  |
|  | Reserve | 1) Power unit and fan for Bastion Host 2) Hard disk (SCSI or SAS) for Bastion Host (space GB) 73 3) DDR-2 RAM for Bastion Host, 2GB |  |
|  | Warranty period |  |
| 5. | SWITCH | Pcs. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | Switch interfaces capacity | 48 Ethernet 10/100/1000 ports with 15.4 watts PoE (Class 3 Devices) on all 48 ports and 2 X2 10 Gigabit Ethernet uplinks |  |
|  | Switch levels support | Must be available (model OSI) 3 |  |
|  | Management | Must provide network access management (connection on allowed MAC addresses) |  |
|  | Advanced quality of service (QoS) | *Compliance 802.1p QoS and DSCP Standard |  |
|  | IP routing | High-performance IP routing *IP unicast routing protocols (static, RIPv1, and RIPv2) *Advanced IP unicast routing protocols (OSPF, Interior Gateway Routing Protocol [IGRP], EIGRP, and Border Gateway Protocol Version 4 [BGPv4]) *Protocol Independent Multicast (PIM) *IPv6 routing such as OSPFv3 and EIGRPv6 *Inter-VLAN IP routing *101.2 MBps forwarding rate |  |
|  | Access control lists | ACL-based security *IEEE 802.1x dynamic, port-based security, providing authentication. *IEEE 802.1x authenticate the port and manage network access for all MAC addresses, including those of the client. *IEEE 802.1x with an ACL assignment. *IEEE 802.1x with VLAN limited network access on the guest VLAN. |  |
|  | Other | Rate limiting, Stackable |  |
|  | Warranty period |  |
| 6. | NETWORK INTRUSION PREVENTION SYSTEM | Pc. | 1 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | Traffic Analysis | IPv4 Native Protocol mix traffic |  |
|  | Network Access Control | ACL based |  |
|  | Detection and blocking | Viruses Worms Spy ware P2P SQL Injection Buffer Overflow Web Directory Traversal Quarantine Capabilities |  |
|  | Prevention | Inline, active blocking: Detecting and blocking exploits Packet Fragmentation and stream Segmentation URL Obfuscation Flooding Port scanning Outbreak Prevention DoS/DDoS |  |
|  | Management | Scalable Centralized command, control, and event management of network, server Centralized database-driven security analysis Support secure remote management & configuration |  |
|  | Monitoring | Real-time monitoring and incident response capabilities Graphical and statistic Reporting Log Events Remote and Centralized Alerts |  |
|  | Software and signature updates | Automation of security update process |  |
|  | Attack Protection Performance | min 300 Mbps traffic |  |
|  | Attack detection if the number of open TCP session | from 10000 to 2000000 |  |
|  | Traffic Analysis in the process of client -application server connections | 10000 connections per second (from 8 byte to 21Kbyte Response) |  |
|  | Case (form-factor) | Rack mounting 2U |  |
|  | Power supplies | Redundant |  |
|  | Protection of network segments | 1 segment |  |
|  | High availability | Yes |  |
|  | Software and signature updates support | 3 years |  |
|  | Warranty period |  |
| 7. | KVM | Pc. | 1 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | KVM type | switch |  |
|  | Case (form-factor) | Rack mounting 1U |  |
|  | Format | External |  |
|  | Connections | 8 x keyboard (USB Server Interface)/mouse(USB Server Interface)/ video |  |
|  | Connections | mouse (PS/2) ,1 keyboard (PS/2),1 |  |
|  | Voltage | AC 120/230 V |  |
|  | Management software | Ensures local and remote access |  |
|  | Input Devices | Standard keyboard English-Russian |  |
|  | Accessories | External USB Optical Mouse |  |
|  | Power supply | Power cable for connecting UPS |  |
|  | Monitor | LCD, 17’’, 1024 x 768, Analog RGB, DVI-D, TCO 03 certificate, 3 years repair or replace warranty |  |
|  | Warranty period |  |
| 8. | UPS FOR INFORMATIONAL SYSTEM | Pcs. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | All equipment, including server equipment, network equipment, must be provided with uninterruptible power supply facilities, in particular, with one uninterruptible power supply solution |  |
|  | MUST be designed for connection of overall capacity loading which complies with Server equipment nominal rating power with margin of power in percentage, at least 70 |  |
|  | UPS MUST provide equipment protection from the following possible power system irregularities: Short-term power shutdown (second fractions); Power supply parameters change (lower and higher input voltage); High frequency interference; Short-term power cutoffs (minutes). |  |
|  | UPS MUST ensure operation of connected equipment in case of external power supply cutoff at 70 % UPS load for at least (minutes) 20 |  |
|  | Must provide temperature-humidity sensors and controlled emergency active server equipment shutdown connection possibility in case of deviation from given environment parameters with personnel notification |  |
|  | Management | Power Management Software |  |
|  | Case (form-factor) | Rack mounting |  |
|  | Reserve | Power cable for connection UPS |  |
|  | Warranty period |  |
| 9. | RACK | Pc. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | Format | Overall capacity of each of the two Racks - at least 42U. All equipment should be placed in rack, the quantity and volume of this closet must be sufficient for placing all servers, UPS and security devices and the switching equipment of LAN, as well as free 4U. |  |
|  | Installation method | Floor. The fixing set. |  |
|  | Doors/panels back door | With coded lock |  |
|  | Cooling system for the case-rack | Yes |  |
|  | Power Distribution Units/Outlet Strips | Quantity of electric sockets should be for all equipment placed in rack (16A, 208/230V) |  |
|  | Warranty period |  |
| 10. | WORKSTATION Administrator | Pc. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | CPU | Dual Core Processor 3.0 GHz, 2MB L2 cache, FSB min. 1000 MHz |  |
|  | RAM | 2 GB DDR2 |  |
|  | HDD | 160 GB |  |
|  | Internal disks adapter type | SATA |  |
|  | Optical drive | DVD+/-RW Drive |  |
|  | Communication | Network interface Ethernet, 10/100Base-T |  |
|  | Interfaces | 2 x USB ports, audio output |  |
|  | Input Devices | Standard keyboard English-Russian |  |
|  | Accessories | USB Optical Mouse |  |
|  | Case (form-factor) | Midi-tower |  |
|  | Power cable | For connection to the UPS |  |
|  | Operating System | Microsoft Windows Vista, 32 bits, Ultimate Edition, English language |  |
|  | Video | 128 MB |  |
|  | Warranty period |  |
| 11. | MONITOR | Pcs. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | Technology | LCD |  |
|  | Size | 19” |  |
|  | Resolution | 1280 x 1024 |  |
|  | Input signal | Analog RGB, DVI-D |  |
|  | Certificate | TCO 03 |  |
|  | Warranty period |  |
| 12. | UPS for Workstation | Pcs. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | Nominal Input/Output Voltage | 230 V |  |
|  | Input frequency | 47 - 63 Hz |  |
|  | Typical Backup Time at Half Load | 15 minutes |  |
|  | Typical Backup Time at Full Load | 5 minutes |  |
|  | Batteries | Replaceable/Changeable |  |
|  | Reserve | Power cable for connection UPS |  |
|  | Warranty period |  |
| 13. | SURGE PROTECTOR | Pcs. | 2 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | 5 Outlets, Cord Length 3 m. |  |
|  | Warranty period |  |
| 14. | PRINTER | Pcs. | 3 |
|  |  | Offered Unit Price* |  |
|  |  | Subtotal for Full Quantity |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Brand Name |  |
|  | Printer type | Local |  |
|  | Printing technology | Monochrome laser |  |
|  | Maximal paper size | A4 |  |
|  | Printing speed | 50 page A4/min |  |
|  | Printing quality | 300 (dpi) |  |
|  | Maximum duty cycle | 100,000 pages per month |  |
|  | Consumables | 3 cartridges for printers |  |
|  | Warranty period |  |

| LOT 2 |
| --- |
| 1. | Database Management System | Pc. | 1 |
|  |  | Offered Unit Price* |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Name | Microsoft SQL Server 2008, 64 bit, Enterprise Edition, License per CPU, English language, 2008 version |  |
| 2. | Firewall | Pc. | 1 |
|  |  | Offered Unit Price* |  |
|  | Required Specification | Offered Specification (detailed) |
|  | Name | Internet Acceleration and Security (ISA) Server 2006, Enterprise Edition, English language |  |

- * Unit price should be based on Incoterms used i.e. DDU Chisinau, Moldova

- Note: In case of discrepancy between unit price and total, the unit price shall prevail.

BID SUMMARY

| ONLY LOT 1 is ordered |
| --- |
|  | Total price - including freight charges |  |
|  | Estimated weight and volume of the consignment : | kg | m 3 |
|  | CTP/DDU Delivery time: | weeks |
| ONLY LOT 2 is ordered |
|  | Total price - including freight charges |  |
|  | Estimated weight and volume of the consignment : | kg | m 3 |
|  | CTP/DDU Delivery time: | weeks |

| ALL LOTs are ordered |
| --- |
|  | Total price - including freight charges |  |
|  | Estimated weight and volume of the consignment : | kg | m 3 |
|  | CTP/DDU Delivery time: | weeks |

Signature of Bidder ………………………………………..