Central Electoral Commission

_____________________________________________________________________________________________________________________

(Object Name)

List of Amounts of Work No.

Estimate-Offer No.

Works for reconstruction and building a Server Room

(work name)

| No. crt. | Symbol norms, resourse code | Name of work | U.M. | Quantity | Price per unit of measure, MDL (including salary) | Total, MDL (col.5 x col.6) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
|  |  | Chapter 1. Building the Server Room |  |  |  |  |
|  |  | Chapter 1.1. Construction works |  |  |  |  |
| 1 | RpCJ35A | Partial undo of interior plaster scoured on walls or ceiling | m2 | 62,00 |  |  |
| 2 | RpEE24A | Dismantle high power electric devices: single polar (switches, plugs for disestablishment or replacement) | buc | 5,00 |  |  |
| 3 | RpEF23B | Dismantling of fluorescent lights of any type, with two tubes | pieces | 4,00 |  |  |
| 4 | RpED17A1 | Dismantling of electric cables with the section 16-35 mm2, freely mounted into grooves. For cables mounted into canals | m | 24,00 |  |  |
| 5 | RCsB50A | Breaking the cavities in the boards with metal beams | m3 | 0,17 |  |  |
| 6 | SB08E | Plastic pipe mounted apparently, with the diameter of 110 mm | m | 0,50 |  |  |
| 7 | RpCU07C | Filling the cavities in the concrete with cement mortar, after installations | pieces | 3,00 |  |  |
| 8 | RpCR22B | Paint the metallic items with alkyd varnish paint, on the interior and exterior sides, in existent constructions, in two coats | m2 | 10,50 |  |  |
| 9 | CL17B | Various metallic items, mounted apparently: metal bar to protect the window | kg | 35,00 |  |  |
| 10 | CD50J | Brickwork, format 250 x 120 x 65 in carcass fillings up to 4 m high | m3 | 0,60 |  |  |
| 11 | CD51C | Brickwork, format 250 x 120 x 65 in separating armored walls with the width of ½ brick, up to 4 m high | 100m2 | 0,34 |  |  |
| 12 | IzF14B | Acoustical blanket made of sheets of mineral wool of 10 cm thick for general isolations, applied between double walls, supported by soft zinked metal wire | m2 | 14,00 |  |  |
| 13 | IzF50A | Hydro-isolations made of cement mortar with liquid glass on walls applied on vertical surfaces | m2 | 34,70 |  |  |
| 14 | CN14A | Transparent finishing with ground coat Artisan no. 8 in 3 coats | m2 | 109,00 |  |  |
| 15 | RpCJ27C | Various works – layer of glass fiber applied on BCA surfaces glued with PVA adhesive including the filling layer | m2 | 52,50 |  |  |
| 16 | RpCJ18A | Troweling on interior troweled 3 mm thick plaster, done with SATENGIPS to walls and pylons | m2 | 109,00 |  |  |
| 17 | CF09B | Puttying smooth surfaces with putty Mesterul Manole for walls | m2 | 109,00 |  |  |
| 18 | RpCR07A | Interior painting with paint on vinyl copolymer in aqueous emulsion, applied in two coats on the existent troweled surface, done manually including ground cleavage with Supraton ground coat | m2 | 109,00 |  |  |
| 19 | CG02B-F | Technical raised floor at 40 cm with a layer of completely assembled ceramic tiles | m2 | 10,50 |  |  |
| 20 | CK12A | Metal doors made of profiles of rolled steel including the necessary accessories and armors – hermetic doors with sophisticated security lock | m2 | 4,20 |  |  |
| 21 | CK33C | Advanced lock | buc | 1,00 |  |  |
| 22 | CK29F | Suspended ceiling made of prefabricated panels, for rooms with high hygiene requirements, including the grill-system | m2 | 10,50 |  |  |
|  |  | Chapter 1.2. Execution of interior network |  |  |  |  |
| 23 | VB15B | Framework with simultaneously adjustable blinds 1000x300, mounted on the canal | pieces | 1,00 |  |  |
| 24 | VA02A | Manufacture and mounting of straight ventilation canals of galvanized sheet of 0,5 mm thickness, with the perimeter of the rectangular section of 200 - 200 mm | m2 | 2,25 |  |  |
| 25 | VC17A | Mounting of the air conditioning machine, Samsung type, completely equipped, including the insulated copper tubes of 6 m length, modulated, designed for the complex treatment of the fresh or re-circulated with a capacity of treated air of 2,900 m3/h | pieces | 2,00 |  |  |
| 26 | IB08A | Wall-mountable electric air heater with automatic regulator | pieces | 1,00 |  |  |
| 27 | VC34D | Manufacture and mounting of the support and anchor device, for appliances, canals, special tools etc, made of sectional steel, with a weight per item of over 25 kg | kg | 18,00 |  |  |
| 28 | RpEG05A | Mounting of power distribution boards for apartments, including connection to installation with 3 circuits | pieces | 1,00 |  |  |
| 29 | RpEE09A | Installation of automated tri-polar capsulated switches, mounted on wooden or plastic dowel pins, on consoles, connected to aluminum or copper conductors, automated, tri-phased | pieces | 1,00 |  |  |
| 30 | RpEE09A | Installation of automated tri-polar capsulated switches, mounted on wooden or plastic dowel pins, on consoles, connected to aluminum or copper conductors, automated 20 A | pieces | 2,00 |  |  |
| 31 | RpEE09A | Installation of automated tri-polar capsulated switches, mounted on wooden or plastic dowel pins, on consoles, connected to aluminum or copper conductors, automated 15 A | pieces | 2,00 |  |  |
| 32 | RpEE09A | Installation of automated tri-polar capsulated switches, mounted on wooden or plastic dowel pins, on consoles, connected to aluminum or copper conductors, automated 10 A | pieces | 3,00 |  |  |
| 33 | RpEE03B | Installation of bi-polar aminoplast plugs, capsulated, insulated ebonite with null contacts to 25 A, mounted inside the wall on plastic dowel pins | pieces | 12,00 |  |  |
| 34 | RpEE01B | Installation of bi-polar switches package 10-63 A, in bakelite, porcelain frame, mounted inside the wall on plastic or wooden dowel pins | pieces | 2,00 |  |  |
| 35 | RpED01B | Mounting of power cables 5x6 | m | 50,00 |  |  |
| 36 | RpED01B | Mounting of power cables 3x2,5 | m | 20,00 |  |  |
| 37 | RpED01B | Mounting of power cables 3x1,5 | m | 40,00 |  |  |
| 38 | RpEF02A | Mounting of multiple illuminators, for tubular fluorescent lamps, any type, for ceiling 2x18 | pieces | 5,00 |  |  |
| 39 | RpEI18B | Signaling copper cable, with PVC insulation and coating, for tensions of 0,25/0,5 kV, with increased resistance to flame spread, symbol CSYY-E, mounted apparently, with the section 4x0,22 mm2 | m | 25,00 |  |  |
| 40 | RpEI18D | Signaling copper cable, with PVC insulation and coating, for tensions of 0,25/0,5 kV, with increased resistance to flame spread, symbol CSYY-E, mounted apparently, with the section 6x0,22 mm2 | m | 30,00 |  |  |
| 41 | 08-02-145-1 | Cable VVG-600 3x1,5 mm2, laid on the bottom of the canal without fixation, weight 1 m up to: 1 kg | 100 m | 15,00 |  |  |
| 42 | 10-08-001-01 | Receiving devices: "DSС" devices for reception and control, for start-up. Concentrator: basic block for 4 rays PC 585 | pieces | 1,00 |  |  |
| 43 | 10-04-101-01 | Equipment for subscription and various equipment: feeder converter, intensity, W: 200 | pieces | 1,00 |  |  |
| 44 | 10-08-002-02 | Automatic "ПС" alarm transmitters: smoke, photoelectric, radioisotope, light in normal execution SD-112 | pieces | 3,00 |  |  |
| 45 | 10-02-016-06 | Accumulator 7 Ah, 12V | pieces | 2,00 |  |  |
| 46 | 10-08-002-02 | Automatic "ПС" alarm transmitters: smoke, photoelectric, radioisotope, light in normal execution IPR | pieces | 3,00 |  |  |
| 47 | 08-03-593-10 | Timper Kit indicators | 100 pieces | 0,01 |  |  |
| 48 | 08-01-080-1 | Relay RM 1 | pieces | 2,00 |  |  |
| 49 | 10-04-066-05 | Wall device: Sirena | pieces | 3,00 |  |  |
| 50 | RpEA09B | Installation of protection elements, made of plastic, apparent on the wall or in canals, to disguise the conductors or cables, with dimensions of 10x22 mm | m | 30,00 |  |  |
| 51 |  | Fire extinguisher 3 kg | pieces | 4,00 |  |  |

|  | Total: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Direct expenditures | lei |  |  |  |
|  | Contributions for Social and Medical Insurances | 26,50 % |  |  |  |
|  | Expenditures for transportation |  |  |  |  |
|  | Total |  |  |  |  |
|  | Indirect expenditures | % |  |  |  |
|  | Total |  |  |  |  |
|  | Benefit | % |  |  |  |
|  | Total |  |  |  |  |
|  | Limited expenditures | % |  |  |  |
|  | Total |  |  |  |  |
|  | VAT | 0,00 % |  |  |  |
|  | Total estimate: |  |  |  |  |