WinСмета2000

| Street lighting of Climautii de Jos village, Soldanesti District | Form No. 1 |
| --- | --- |
| (object) |  |

LOCAL COST ESTIMATES NO. 001/2013

Street lighting.  001/2013-IS.1 (l=1440m)

Estimate value MDL

Drafted in prices as of

| No. | Symbol of norms and Code of resources | Works and Expenses | U.M. | Amount according to the design data | Estimate value, MDL |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
|  |  | 1.1. Dismantling works |  |  |  |  |
| 1 | 33-04-042-4 | Dismantling of pillars LEA 0,38-10 kV with additions: with one leg | pc | 38.000 |  |  |
| 2 | 33-04-042-5 | Dismantling of pillars LEA 0,38-10 kV with additions: with one leg and support | pc | 5.000 |  |  |
| 3 | 33-04-040-1 | Dismounting of 3 conductors LEA 0,38 kV | pc | 43.000 |  |  |
| 4 | 33-04-040-2 | Dismounting of an additional conductor LEA 0,38 kV | pc | 43.000 |  |  |
|  |  |  | Total Dismantling works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.2. Designed pillars |  |  |  |  |
| 5 | TsA16B1 | Manual excavation of ground, in confined spaces, in trenches for grounding and cable | m3 | 7.500 |  |  |
| 6 | TsD18B | Compacted filling in trenches for buried cables of high voltage power lines, made with middle ground | m3 | 7.500 |  |  |
| 7 | 33-04-003-2 | Mounting of pillars A0.38/0,38 made of reinforced concrete LEA 0,38, 6-10 kV to traverse without additions, with one leg and one support | pc | 2.000 |  |  |
| 8 | 33-04-015-1 | Installation of the grounding of the LEA supports and substations | 10 m | 0.120 |  |  |
| 9 | 335000434-1 | Grounding conductor ЗП2 | m | 1.200 |  |  |
| 10 | 201-9285-29 | Traverse TН-29 | pc | 2.000 |  |  |
| 11 | 335000521-10 | -Tension clamp HP25-55 | pc | 4.000 |  |  |
| 12 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 2.000 |  |  |
| 13 | 335000521-19 | -Connexion clamp СНА-Н 50 (СНА-И) | pc | 2.000 |  |  |
| 14 | 335000521-18 | -Connexion clamp СФ16-120 | pc | 8.000 |  |  |
| 15 | 201-9266-11 | Steel bracelets X11 | pc | 2.000 |  |  |
| 16 | 33-04-003-2 | Mounting of pillars УП0.380,38 made of reinforced concrete LEA 0,38, 6-10 kV to traverse without additions, with one leg and one support | pc | 3.000 |  |  |
| 17 | 33-04-015-1 | -Installation of the grounding of the LEA supports and substations | 10 m | 0.180 |  |  |
| 18 | 335000434-1 | -Grounding conductor ЗП2 | m | 1.800 |  |  |
| 19 | 3350519-01 | -Suspended console KБ3.1 | pc | 3.000 |  |  |
| 20 | 335000521-23 | -Support clamp ПH-1 (ПИ 1) | pc | 3.000 |  |  |
| 21 | 201-92856 | -Steel bandage tape SOT46 0.7x20x2000 | pc | 6.000 |  |  |
| 22 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 3.000 |  |  |
| 23 | 33-04-003-1 | Mounting of intermediate pillars П0.38 made of reinforced concrete with traverses and one leg | pc | 38.000 |  |  |
| 24 | 33-04-015-1 | -Installation of the grounding of the LEA supports and substations | 10 m | 2.280 |  |  |
| 25 | 335000434-1 | -Grounding conductor ЗП2 | m | 22.800 |  |  |
| 26 | 3350519-02 | -Suspended console KБ1 | pc | 38.000 |  |  |
| 27 | 335000521-23 | -Support clamp ПH-1 | pc | 38.000 |  |  |
| 28 | 201-92856 | -Steel bandage tape SOT46 0.7x20x2000 | pc | 76.000 |  |  |
| 29 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 38.000 |  |  |
| 30 | 33-04-016-2 | Transport of constructions and materials of supports LEA 0,38-10 kV on main line: of supports made ​​of reinforced concrete with one leg | pc | 48.000 |  |  |
|  |  |  | Total Designed pillars |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Social insurance fund |  |  |  |  |
|  |  | Transport |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overheads |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Construction works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 31 | RpEF24B | Removal of incandescent bulbs 20-2000 W or of bulbs with mercury vapours | pc | 20.000 |  |  |
| 32 | RpEO01A | Removal of support with one arm | pc | 20.000 |  |  |
| 33 | RpEF23B | Removal of luminaires | pc | 20.000 |  |  |
| 34 | 08-03-572-5 | Record cabinet mounted on wall, BZUM | pc | 1.000 |  |  |
| 35 | 08-03-521-15 | -Switch disconnectors | pc | 1.000 |  |  |
| 36 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A | pc | 1.000 |  |  |
| 37 | 08-01-066-1 | -Lightning arrester, voltage up to10 kV | set | 1.000 |  |  |
| 38 | 08-03-600-2 | -Counters mounted on a prepared support with three phases | pc | 1.000 |  |  |
| 39 | 08-03-573-4 | Suspended control cabinet (desktop), height, width and depth, mm, up to 600х600х350 | pc | 1.000 |  |  |
| 40 | 08-03-526-1 | - Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A | pc | 1.000 |  |  |
| 41 | 08-03-530-4 | Magnetic starter of common purpose, separated, mounted on construction wall or column, electric current up to 40 A | pc | 2.000 |  |  |
| 42 | 08-01-080-1 | Measurement and protection device, number of connected extremities up to: 2 | pc | 2.000 |  |  |
| 43 | 08-03-525-1 | Breaker or pack switch in metal coating, mounted on wall or column construction, number of clamps for connection up to 9, current up to 25 A | pc | 1.000 |  |  |
| 44 | 08-01-081-1 | Control and signalling device (button, control key, electromagnetic lock, acoustic signal, signalling lamp), number of connected extremities up to: 2 | pc | 2.000 |  |  |
| 45 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A (installed in PT356UBA18) | pc | 1.000 |  |  |
| 46 | 33-04-008-3 | Suspension of isolated conductors by means of mechanisms LEA 0,38 kV | 1 km | 1.440 |  |  |
| 47 | 33-04-008-1 | Suspension of non-isolated conductors by means of mechanisms LEA 0,38 kV | 1 km | 5.760 |  |  |
| 48 | 08-02-401-1 | Cable, fixing with applied clamps, strips with installation of branch box, with 2-4 wires, wire section up to 16 mm2 | 100 m | 0.500 |  |  |
| 49 | 08-01-087-3 | Steel structures | t | 0.300 |  |  |
| 50 | 08-01-082-1 | Clamps in assortment: clamp without protective frame | 100 pc | 1.030 |  |  |
| 51 | 08-02-363-1 | Metal consoles, special, welded on pillars, for luminaires, number of bulbs: 1 | pc | 43.000 |  |  |
| 52 | 08-02-369-3 | Installation of the street luminaire | pc | 43.000 |  |  |
| 53 | 08-02-142-1 | Execution of the bed for one cable in trenches | 100 m | 0.100 |  |  |
| 54 | 08-02-141-1 | Cable up to 35 kV in trenches without cover, weight 1 m, up to: 1 kg | 100 m | 0.100 |  |  |
| 55 | 08-02-148-1 | Cable of up to 35 kV in installed pipes, blocs and boxes, weight 1 m up to: 1 kg | 100 m | 0.050 |  |  |
| 56 | 08-02-396-6 | Metal channel on walls and ceilings, length of 2.5 m | 100 m | 0.050 |  |  |
| 57 | 08-02-152-1 | Steel cable structures: steel angle 50x50x5mm (12m) | t | 0.045 |  |  |
| 58 | 08-02-471-4 | Grounding, vertical, of round steel, diameter 20mm, l=3m | 10 pc | 0.300 |  |  |
| 59 | 08-02-472-1 | Grounding conductors: grounding, horizontal, of round steel, diameter of 20 mm | 100 m | 0.110 |  |  |
| 60 | 08-02-472-9 | Open grounding conductor, on supports of construction, of round steel, diameter of 10 mm | 100 m | 0.500 |  |  |
| 61 | 08-02-472-6 | Open grounding conductor, on supports of construction, of strip steel, section of 100 mm2 | 100 m | 0.250 |  |  |
| 62 | 33-04-005-1 | Mounting of traverses | pc | 2.000 |  |  |
| 63 | 3331011-3 | Electric wire AC 35 | m | 750.000 |  |  |
| 64 | 3332017-3 | Cable ABБбШв 4х25mm2 | m | 10.000 |  |  |
| 65 | 3332017-5 | Cable ABБбШв 5х25mm2 | m | 5.000 |  |  |
| 66 | 3332040-3 | Cable СИП-2 3х25+1х35 | m | 1,525.000 |  |  |
| 67 | 3332023-2 | Cable ВВГ 3х2.5mm2 | m | 50.000 |  |  |
| 68 | 3341015-01 | Street luminaire 54W PКУ-Люкс | pc | 43.000 |  |  |
| 69 | 33890162-1 | Wall console for luminaire with one arm K1K-15-10-18 (height 1.5m, radius 1m, diameter of 180 mm) | pc | 43.000 |  |  |
| 70 | 335000434 | Grounding conductor ЗП1 | m | 43.000 |  |  |
| 71 | 201-9266-16 | Steel bracelets X16 | pc | 43.000 |  |  |
| 72 | 335000515 | Branching tightening device ПC-1-1 | pc | 43.000 |  |  |
| 73 | 33371012-08 | Perforated channel for cables 40x100x2500 | m | 5.000 |  |  |
| 74 | 33371012-05 | Cover for cable channel, base 100 | m | 5.000 |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Social insurance fund |  |  |  |  |
|  |  | Transport |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overheads |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Machinery |  |  |  |  |
| 75 | 555050-1 | Record panel BZUM-TF-01-63-09 | set | 1.000 |  |  |
| 76 | 555-100012-2 | -Breaker BH32/4/20 , 20A | pc | 1.000 |  |  |
| 77 | 5550243-10 | -Automate breaker with 3 pillars, 16A, BA47-29/3/16B | pc | 1.000 |  |  |
| 78 | 130-10015 | -De-tensioner ОПС1 B 4Р, In=30kA,Un=400V,In=60kA (MOP10-4-B) | pc | 1.000 |  |  |
| 79 | 5550051-02 | -Meter of active and reactive power 3f ,380V, ZMG 310 CR 5-100A | pc | 1.000 |  |  |
| 80 | 55500087-31 | Distribution cabinet ЩРн-36з-0 74 У2 IP54, 540x330x120 (ЩУНО) | pc | 1.000 |  |  |
| 81 | 5550243-8 | -Automate breaker with 3 pillars, 10A, BA47-29/3/10B | pc | 1.000 |  |  |
| 82 | 33700305-4 | -Contactor KMИ-10910, 9А, 230B/AC3 1HO | pc | 2.000 |  |  |
| 83 | 338000504 | -Relay PЭК78/4 | pc | 1.000 |  |  |
| 84 | 338101-01 | -Time relay with 2 channels РЧ-522 | pc | 1.000 |  |  |
| 85 | 33800040-05 | -Switch ALCLR-22 | pc | 1.000 |  |  |
| 86 | 33800014-7 | -Control button with 1 pin SB-7 | pc | 2.000 |  |  |
| 87 | 5550243-11 | -Automate breaker with 3 pillars, 20A, BA47-29/3/20B (installed in PT356UBA 18) | pc | 1.000 |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Storage costs |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Machinery |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total cost estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |
| Drawn up by |  |
| (position, signature) |
| Verified by |  |
| (position, signature) |

WinСмета2000

| Street lighting of Climautii de Jos commune, Climautii de Jos village from Soldanesti district | Form No. 1 |
| --- | --- |
| (object) |  |

LOCAL COST ESTIMATES NO. 001/2013

Street lighting.  001/2013-IS.2 (l=1535m)

Estimate value MDL

Drafted in prices as of

| No. | Symbol of norms and Code of resources | Works and Expenses | U.M. | Amount according to the design data | Estimate value, MDL |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
|  |  | 1.1. Pillar of the existing anchorage end A10/0.38, with additions (1 pc) |  |  |  |  |
| 1 | 33-04-015-1 | -Installation of the grounding of the LEA supports and substations | 10 m | 0.060 |  |  |
| 2 | 335000434-1 | -Grounding conductor ЗП2M | m | 0.600 |  |  |
| 3 | 335000515 | -Branching tightening device ПC-1-1 | pc | 1.000 |  |  |
| 4 | 33-04-005-1 | -Mounting of traverses | pc | 1.000 |  |  |
| 5 | 201-9285-07 | -Traverse TН-29 | pc | 1.000 |  |  |
| 6 | 335000521-10 | -Tension clamp HP25-55 | pc | 2.000 |  |  |
| 7 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 1.000 |  |  |
| 8 | 335000521-19 | -Connexion clamp СНА-Н (СНА-И) | pc | 1.000 |  |  |
| 9 | 335000521-9 | -Connexion clamp СФ16-120 | pc | 4.000 |  |  |
| 10 | 201-9266-11 | Steel bracelets X11 | pc | 1.000 |  |  |
|  |  |  | Total Pillar of the existing anchorage end A10/0.38, with additions (1 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.2. Existing intermediary pillar П10/0.38, with additions (2 pc) |  |  |  |  |
| 11 | 33-04-015-1 | -Installation of the grounding of the LEA supports and substations | 10 m | 0.120 |  |  |
| 12 | 335000434-1 | -Grounding conductor ЗП2 | m | 1.200 |  |  |
| 13 | 335000515 | -Branching tightening device ПC-1-1 | pc | 2.000 |  |  |
| 14 | 33500519-01 | - Suspended hook КБ1 | buc | 2,000 |  |  |
| 15 | 335000521-18 | - Support clamps ПН-1 | buc | 2,000 |  |  |
| 16 | 201-92856 | - Steel bandage tape SOT 46 0.7x20x2000 | buc | 4,000 |  |  |
| 17 | 335000521-22 | - Branch clamp K-OHM-1 | buc | 2,000 |  |  |
|  |  |  | Total Existing intermediary pillar П10/0.38, with additions (2 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.3. Existing intermediary corner pillar УП10/0.38, with additions (1 pc) |  |  |  |  |
| 18 | 33-04-015-1 | Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.060 |  |  |
| 19 | 335000434-1 | Grounding conductor ЗП2 | m | 0.600 |  |  |
| 20 | 335000515 | -Branching tightening device ПC-1-1 | pc | 1.000 |  |  |
| 21 | 33500519-01 | -Suspended hook КБ1 | pc | 1.000 |  |  |
| 22 | 335000521-18 | -Support clamps ПН-1 | pc | 1.000 |  |  |
| 23 | 201-92856 | -Steel bandage tape COT 46 0.7x20x2000 | pc | 2.000 |  |  |
| 24 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 1.000 |  |  |
|  |  |  | Total Existing intermediary corner pillar УП10/0.38, with additions (1 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.4. Existing intermediary pillar П0.38/0.38, with additions (35 pc) |  |  |  |  |
| 25 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 2.100 |  |  |
| 26 | 335000434-1 | -Grounding conductor ЗП2 | m | 21.000 |  |  |
| 27 | 335000515 | -Branching tightening device ПC-1-1 | pc | 35.000 |  |  |
| 28 | 33500519-01 | -Suspended hook КБ1 | pc | 35.000 |  |  |
| 29 | 335000521-18 | -Support clamps ПН-1 | pc | 35.000 |  |  |
| 30 | 201-92856 | -Steel bandage tape COT 46 0.7x20x2000 | pc | 70.000 |  |  |
| 31 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 35.000 |  |  |
|  |  |  | Total Existing intermediary pillar П0.38/0.38, with additions (35 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.5. Existing intermediary corner pillar УП0.38/0.38, with additions (10 pc) |  |  |  |  |
| 32 | 33-04-015-1 | Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.600 |  |  |
| 33 | 335000434-1 | Grounding conductor ЗП2 | m | 6.000 |  |  |
| 34 | 335000515 | -Branching tightening device ПC-1-1 | pc | 10.000 |  |  |
| 35 | 3350519-01 | -Suspended console KБ3.1 | pc | 10.000 |  |  |
| 36 | 335000521-18 | -Support clamps ПН-1 | pc | 10.000 |  |  |
| 37 | 201-92856 | -Steel bandage tape COT 46 0.7x20x2000 | pc | 20.000 |  |  |
| 38 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 10.000 |  |  |
|  |  |  | Total Existing intermediary corner pillar УП0.38/0.38, with additions (10 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.6. Pillar of the existing anchorage end A0.38/0.38, with additions (1 pc) |  |  |  |  |
| 39 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.060 |  |  |
| 40 | 335000434-1 | -Grounding conductor ЗП2M | m | 0.600 |  |  |
| 41 | 335000515 | -Branching tightening device ПC-1-1 | pc | 1.000 |  |  |
| 42 | 33-04-005-1 | -Mounting of traverses | pc | 1.000 |  |  |
| 43 | 201-9285-07 | -Traverse TН-29 | pc | 1.000 |  |  |
| 44 | 335000521-10 | -Tension clamp HP25-55 | pc | 2.000 |  |  |
| 45 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 1.000 |  |  |
| 46 | 335000521-19 | -Connexion clamp СНА-Н (СНА-И) | pc | 1.000 |  |  |
| 47 | 335000521-9 | -Connexion clamp СФ16-120 | pc | 4.000 |  |  |
| 48 | 201-9266-11 | Steel bracelets X11 | pc | 1.000 |  |  |
|  |  |  | Total Pillar of the existing anchorage end A0.38/0.38, with additions (1 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.7. Designed poles |  |  |  |  |
| 49 | TsD18B | Compacted filling in trenches for buried cables of high voltage power lines, made with middle ground | m3 | 3.000 |  |  |
| 50 | TsA16B1 | Manual excavation of ground, in confined spaces, in trenches for grounding and cable | m3 | 3.000 |  |  |
| 51 | 33-04-003-1 | Mounting of intermediate poles П0.38/0.38 made of reinforced concrete with traverses and one leg | pc | 2.000 |  |  |
| 52 | 33-04-005-1 | -Mounting of traverses | pc | 4.000 |  |  |
| 53 | 201-9285-04 | -Traverse TН-29 | pc | 4.000 |  |  |
| 54 | 201-9266-10 | Steel bracelets X10 | pc | 4.000 |  |  |
| 55 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.033 |  |  |
| 56 | 335000434-1 | -Grounding conductor ЗП2 | m | 3.300 |  |  |
| 57 | 110-9034 | Izolator HC 18A | pc | 8.000 |  |  |
| 58 | 500-9056 | Polyethylene cap K5 | pc | 8.000 |  |  |
| 59 | 335000516 | Branching tightening device ПA-1 | pc | 2.000 |  |  |
| 60 | 3350502-01 | -Stud MSN 16/265 | pc | 2.000 |  |  |
| 61 | 335000527-5 | -Console with intermediate clamp ES1500 | pc | 2.000 |  |  |
| 62 | 335000521-20 | -Clamp for ЗП1М ZP-2 | pc | 2.000 |  |  |
| 63 | 335000515 | -Branching tightening device ПC-1-1 | pc | 4.000 |  |  |
| 64 | 335000521-20 | -Clamp for ЗП2М KZP-2 | pc | 2.000 |  |  |
| 65 | 33500514-05 | -Cable strap KR-1 | pc | 4.000 |  |  |
| 66 | 33-04-003-1 | Mounting of intermediate poles П0.38 made of reinforced concrete with traverses and one leg | pc | 5.000 |  |  |
| 67 | 201-92612-24 | -Console KC2 | pc | 5.000 |  |  |
| 68 | 201-9266-16 | -Steel bracelets X16 | pc | 5.000 |  |  |
| 69 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.500 |  |  |
| 70 | 335000434 | -Grounding conductor ЗП1M | m | 5.000 |  |  |
| 71 | 33-04-003-2 | Mounting of poles A0.38 made of reinforced concrete LEA 0,38, 6-10 kV to traverse without additions, with one leg and one support | pc | 1.000 |  |  |
| 72 | 201-92611-3 | -Console У4 | pc | 1.000 |  |  |
| 73 | 33-04-005-1 | -Mounting of traverses | pc | 1.000 |  |  |
| 74 | 201-928646 | -Traverse TM46 | pc | 1.000 |  |  |
| 75 | 201-9266-33 | Steel bracelets X32 | pc | 1.000 |  |  |
| 76 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.200 |  |  |
| 77 | 335000434-1 | -Grounding conductor ЗП2M | m | 2.000 |  |  |
| 78 | 201-92857 | Anchor clamp PA 1500 | pc | 2.000 |  |  |
| 79 | 335000521-20 | -Clamp for ЗП1М ZP-2 | pc | 1.000 |  |  |
| 80 | 3350401-01 | -Connector for phase conductor MJPT-25 | pc | 4.000 |  |  |
| 81 | 335000515 | -Branching tightening device ПC-1-1 | pc | 2.000 |  |  |
| 82 | 33500514-05 | -Cable strap KR-1 | pc | 2.000 |  |  |
| 83 | 33-04-016-2 | Transport of constructions and materials of supports LEA 0,38-10 kV on main line: of supports made ​​of reinforced concrete with one leg | pc | 6.000 |  |  |
|  |  |  | Total Designed poles |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Social insurance fund |  |  |  |  |
|  |  | Transport |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overheads |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Construction works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 84 | RpEF24B | Removal of incandescent bulbs 20-2000 W or of bulbs with mercury vapours | pc | 17.000 |  |  |
| 85 | RpEO01A | Removal of support with one arm | pc | 17.000 |  |  |
| 86 | RpEF23B | Dismounting of luminaires | pc | 17.000 |  |  |
| 87 | 33-04-040-1 | Dismounting of 3 conductors LEA 0,38 kV | pc | 50.000 |  |  |
| 88 | 33-04-040-2 | Dismounting of an additional conductor LEA 0,38 kV | pc | 50.000 |  |  |
| 89 | 08-03-572-5 | Record cabinet mounted on wall, BZUM | pc | 1.000 |  |  |
| 90 | 08-03-521-15 | -Switch disconnectors | pc | 1.000 |  |  |
| 91 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A | pc | 1.000 |  |  |
| 92 | 08-01-066-1 | -Lightning arrester, voltage up to10 kV | set | 1.000 |  |  |
| 93 | 08-03-600-2 | -Counters mounted on a prepared support with three phases | pc | 1.000 |  |  |
| 94 | 08-03-573-4 | Suspended control cabinet (desktop), height, width and depth, mm, up to 600х600х350 | pc | 1.000 |  |  |
| 95 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A | pc | 1.000 |  |  |
| 96 | 08-03-530-4 | Magnetic starter of common purpose, separated, mounted on construction wall or column, electric current up to 40 A | pc | 2.000 |  |  |
| 97 | 08-01-080-1 | Measurement and protection device, number of connected extremities up to: 2 | pc | 2.000 |  |  |
| 98 | 08-03-525-1 | Packet breaker or switch in steel coating, mounted on wall or column construction, number of clamps for connection of up to 9, current up to 25 A | pc | 1.000 |  |  |
| 99 | 08-01-081-1 | Control and signalling device (button, control key, electromagnetic lock, acoustic signal, signalling lamp), number of connected extremities up to: 2 | pc | 2.000 |  |  |
| 100 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A (installed in PT280UBA18) | pc | 1.000 |  |  |
| 101 | 33-04-008-3 | Suspension of isolated conductors by means of mechanisms LEA 0,38 kV | 1 km | 1.535 |  |  |
| 102 | 33-04-008-1 | Suspension of non-isolated conductors by means of mechanisms LEA 0,38 kV | 1 km | 0.540 |  |  |
| 103 | 08-02-401-1 | Cable, fixing with applied clamps, strips with installation of branch box, with 2-4 wires, wire section up to 16 mm2 | 100 m | 0.800 |  |  |
| 104 | 08-01-087-3 | Steel structures | t | 0.300 |  |  |
| 105 | 08-01-052-1 | Suspend isolator with voltage up to 10kV, amount of fixed points: 1 | pc | 8.000 |  |  |
| 106 | 08-01-082-1 | Clamps in assortment: clamp without protective frame | 100 pc | 1.810 |  |  |
| 107 | 08-02-363-1 | Metal consoles, special, welded on poles, for luminaires, number of bulbs: 1 | pc | 53.000 |  |  |
| 108 | 08-02-369-3 | Instalaltion of the street luminaire | pc | 53.000 |  |  |
| 109 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 5.300 |  |  |
| 110 | 08-02-142-1 | Execution of the bed for one cable in trenches | 100 m | 0.050 |  |  |
| 111 | 08-02-141-1 | Cable of up to 35 kV in trenches made ​​without coatings, weight 1 m, up to: 1 kg | 100 m | 0.100 |  |  |
| 112 | 08-02-148-1 | Cable of up to 35 kV in installed pipes, blocs and boxes, weight 1 m up to: 1 kg | 100 m | 0.050 |  |  |
| 113 | 08-02-396-6 | Metal channel on walls and ceilings, length of 2.5 m | 100 m | 0.050 |  |  |
| 114 | 08-02-152-1 | Steel cable structures: corner steel 50x50x5mm (20m) | t | 0.075 |  |  |
| 115 | 08-02-472-9 | Open grounding conductor, on supports of construction, of round steel, diameter of 10 mm | 100 m | 1.700 |  |  |
| 116 | 08-02-472-6 | Open grounding conductor, on supports of construction, of strip steel, section of 100 mm2 | 100 m | 0.250 |  |  |
| 117 | 3331011-3 | Electric wire AC 35 | m | 150.000 |  |  |
| 118 | 3332017-3 | Cable ABБбШв 4х25mm2 | m | 10.000 |  |  |
| 119 | 3332017-5 | Cable ABБбШв 5х25mm2 | m | 5.000 |  |  |
| 120 | 3332040-3 | Cable СИП-2 3х25+1х35 | m | 1,630.000 |  |  |
| 121 | 3332023-2 | Cable ВВГ 3х2.5mm2 | m | 80.000 |  |  |
| 122 | 3341015-01 | Street luminaire 54W PКУ-Люкс | pc | 53.000 |  |  |
| 123 | 33890162-1 | Wall console for luminaire with one arm K1K-15-10-18 (height 1.5m, radius 1m, diameter of 180 mm) | pc | 53.000 |  |  |
| 124 | 335000434 | Grounding conductor ЗП1M | m | 53.000 |  |  |
| 125 | 201-9266-16 | Steel bracelets X16 | pc | 53.000 |  |  |
| 126 | 33371012-08 | Perforated channel for cables 40x100x2500 | m | 5.000 |  |  |
| 127 | 33371012-05 | Cover for cable channel, base 100 | m | 5.000 |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Social insurance fund |  |  |  |  |
|  |  | Transport |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overheads |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Machinery |  |  |  |  |
| 128 | 555050-1 | Record panel BZUM-TF-01-63-09 | set | 1.000 |  |  |
| 129 | 555-100012-2 | -Breaker BH32/4/20 , 20A | pc | 1.000 |  |  |
| 130 | 5550243-10 | -Automate breaker with 3 poles, 16A, BA47-29/3/16B | pc | 1.000 |  |  |
| 131 | 130-10015 | -De-tensioners ОПС1 B 4Р, In=30kA,Un=400V,In=60kA (MOP10-4-B) | pc | 1.000 |  |  |
| 132 | 5550051-02 | -Meter of active and reactive meter 3f ,380V, ZMG 310 CR 5-100A | pc | 1.000 |  |  |
| 133 | 55500087-31 | Distribution cabinet ЩРн-36з-0 74 У2 IP54, 540x330x120 (ЩУНО) | pc | 1.000 |  |  |
| 134 | 5550243-8 | -Automate breaker with 3 poles, 10A, BA47-29/3/10B | pc | 1.000 |  |  |
| 135 | 33700305-4 | -Contactor KMИ-10910, 9А, 230B/AC3 1HO | pc | 2.000 |  |  |
| 136 | 338000504 | -Relay PЭК78/4 | pc | 1.000 |  |  |
| 137 | 338101-01 | -Time relay with 2 channels РЧ-522 | pc | 1.000 |  |  |
| 138 | 33800040-05 | -Switch ALCLR-22 | pc | 1.000 |  |  |
| 139 | 33800014-7 | -Control button with 1 pin SB-7 | pc | 2.000 |  |  |
| 140 | 5550243-11 | -Automate breaker with 3 poles, 20A, BA47-29/3/20B (installed in PT280UBA 18) | pc | 1.000 |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Storage costs |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Machinery |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total cost estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Drawn up by |  |
| --- | --- |
| (position, signature) |
| Verified by |  |
| (position, signature) |

WinСмета2000

| Street lighting of Climautii de Jos commune, Climautii de Jos village from Soldanesti district | Form No. 1 |
| --- | --- |
| (object) |  |

LOCAL COST ESTIMATES NO. 001/2013

Street lighting.  001/2013-IS.3 (l=2165m)

Estimate value MDL

Drafted in prices as of

| No. | Symbol of norms and Code of resources | Works and Expenses | U.M. | Amount according to the design data | Estimate value, MDL |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
|  |  | 1.1. Pillar of the existing anchorage end A0.38/0.38, with additions (3 pc) |  |  |  |  |
| 1 | 33-04-015-1 | -Installation of the grounding of the LEA supports and substations | 10 m | 0.180 |  |  |
| 2 | 335000434-1 | -Grounding conductor ЗП2M | m | 1.800 |  |  |
| 3 | 335000515 | -Branching tightening device ПC-1-1 | pc | 3.000 |  |  |
| 4 | 33-04-005-1 | -Mounting of traverses | pc | 3.000 |  |  |
| 5 | 201-9285-07 | -Traverse TН-29 | pc | 3.000 |  |  |
| 6 | 335000521-10 | -Tension clamp HP25-55 | pc | 6.000 |  |  |
| 7 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 3.000 |  |  |
| 8 | 335000521-19 | -Connexion clamp СНА-Н (СНА-И) | pc | 3.000 |  |  |
| 9 | 335000521-9 | -Connexion clamp СФ16-120 | pc | 12.000 |  |  |
| 10 | 201-9266-11 | Steel bracelets X11 | pc | 3.000 |  |  |
|  |  |  | Total Pillar of the existing anchorage end A0.38/0.38, with additions (3 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.2. Existing intermediary corner pillar УП0.38/0.38, with additions (7 pc) |  |  |  |  |
| 11 | 33-04-015-1 | Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.420 |  |  |
| 12 | 335000434-1 | Grounding conductor ЗП2 | m | 4.200 |  |  |
| 13 | 335000515 | -Branching tightening device ПC-1-1 | pc | 7.000 |  |  |
| 14 | 3350519-01 | -Suspended console KБ3.1 | pc | 7.000 |  |  |
| 15 | 335000521-18 | -Supprt clamps ПН-1 | pc | 7.000 |  |  |
| 16 | 201-92856 | -Steel bandage tape COT 46 0.7x20x2000 | pc | 14.000 |  |  |
| 17 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 7.000 |  |  |
|  |  |  | Total Existing intermediary corner pillar УП0.38/0.38, with additions (7 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.3. Existing intermediary pillar П0.38/0.38, with additions (50 pc) |  |  |  |  |
| 18 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 3.000 |  |  |
| 19 | 335000434-1 | -Grounding conductor ЗП2 | m | 30.000 |  |  |
| 20 | 335000515 | -Branching tightening device ПC-1-1 | pc | 50.000 |  |  |
| 21 | 33500519-01 | -Suspended hook КБ1 | pc | 50.000 |  |  |
| 22 | 335000521-18 | -Supprt clamps ПН-1 | pc | 50.000 |  |  |
| 23 | 201-92856 | -Steel bandage tape COT 46 0.7x20x2000 | pc | 100.000 |  |  |
| 24 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 50.000 |  |  |
|  |  |  | Total Existing intermediary pillar П0.38/0.38, with additions (50 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.4. Existing intermediary corner pillar УП10/0.38, with additions (1 pc) |  |  |  |  |
| 25 | 33-04-015-1 | Instalaltion of the grounding of the LEA supports and substations | 10 m | 0.060 |  |  |
| 26 | 335000434-1 | Grounding conductor ЗП2 | m | 0.600 |  |  |
| 27 | 335000515 | -Branching tightening device ПC-1-1 | pc | 1.000 |  |  |
| 28 | 33500519-01 | -Suspended hook КБ1 | pc | 1.000 |  |  |
| 29 | 335000521-18 | -Supprt clamps ПН-1 | pc | 1.000 |  |  |
| 30 | 201-92856 | -Steel bandage tape COT 46 0.7x20x2000 | pc | 2.000 |  |  |
| 31 | 335000521-22 | -Branch clamp K-OHM-1 | pc | 1.000 |  |  |
|  |  |  | Total Existing intermediary corner pillar УП10/0.38, with additions (1 pc) |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.5. Designed pillars |  |  |  |  |
| 32 | TsD18B | Compacted filling in trenches for buried cables of high voltage power lines, made with middle ground | m3 | 3,000 |  |  |
| 33 | TsA16B1 | Manual excavation of ground, in confined spaces, in trenches for grounding and cable | m3 | 3,000 |  |  |
| 34 | 33-04-003-1 | Mounting of intermediate pillars П0.38/0.38 made of reinforced concrete with traverses and one leg | pc | 20,000 |  |  |
| 35 | 33-04-005-1 | -Mounting of traverses | pc | 40,000 |  |  |
| 36 | 201-9285-04 | -Traverse TH-9 | pc | 40,000 |  |  |
| 37 | 201-9266-10 | Steel bracelets X10 | pc | 40,000 |  |  |
| 38 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0,033 |  |  |
| 39 | 335000434-1 | -Grounding conductor ЗП2 | m | 3,300 |  |  |
| 40 | 110-9034 | Izolator HC 18A | pc | 80,000 |  |  |
| 41 | 500-9056 | Polyethylene cap K5 | pc | 80,000 |  |  |
| 42 | 335000516 | Branching tightening device ПA-1 | pc | 20,000 |  |  |
| 43 | 3350502-01 | -Stud MSN 16/265 | pc | 20,000 |  |  |
| 44 | 335000527-5 | -Console with intermediate clamp ES1500 | pc | 20,000 |  |  |
| 45 | 335000521-20 | -Clamp for ЗП1М ZP-2 | pc | 20,000 |  |  |
| 46 | 335000515 | -Branching tightening device ПC-1-1 | pc | 40,000 |  |  |
| 47 | 335000521-20 | -Clamp for ЗП2М KZP-2 | pc | 20,000 |  |  |
| 48 | 33500514-05 | -Cable strap KR-1 | pc | 40,000 |  |  |
| 49 | 33-04-003-1 | Mounting of intermediate pillars П0.38 made of reinforced concrete with traverses and one leg | pc | 7,000 |  |  |
| 50 | 201-92612-24 | -Console KC2 | pc | 7,000 |  |  |
| 51 | 201-9266-16 | -Steel bracelets X16 | pc | 7,000 |  |  |
| 52 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0,700 |  |  |
| 53 | 335000434 | -Grounding conductor ЗП1M | pc | 7,000 |  |  |
| 54 | 33-04-003-2 | Mounting of pillars A0.38 made of reinforced concrete LEA 0,38, 6-10 kV to traverse without additions, with one leg and one support | pc | 2,000 |  |  |
| 55 | 201-92611-3 | -Console У4 | pc | 2,000 |  |  |
| 56 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0,200 |  |  |
| 57 | 335000434-1 | -Grounding conductor ЗП2M | m | 2,000 |  |  |
| 58 | 3350502-01 | -Stud MSN 16/265 | pc | 2,000 |  |  |
| 59 | 335000527-5 | -Console with intermediate clamp ES1500 | pc | 4,000 |  |  |
| 60 | 335000521-20 | -Clamp for ЗП1М ZP-2 | pc | 2,000 |  |  |
| 61 | 335000515 | -Branching tightening device ПC-1-1 | pc | 4,000 |  |  |
| 62 | 335000521-20 | -Clamp for ЗП1М KZP-2 | pc | 4,000 |  |  |
| 63 | 33500514-05 | -Cable strap KR-1 | pc | 4,000 |  |  |
| 64 | 33-04-003-2 | Mounting of pillars A0.38 made of reinforced concrete LEA 0,38, 6-10 kV to traverse without additions, with one leg and one support | pc | 1,000 |  |  |
| 65 | 201-92611-3 | -Console У4 | pc | 1,000 |  |  |
| 66 | 33-04-005-1 | -Mounting of traverses | pc | 1,000 |  |  |
| 67 | 201-928646 | -Traverse TM46 | pc | 1,000 |  |  |
| 68 | 201-9266-33 | Steel bracelets X32 | pc | 1,000 |  |  |
| 69 | 33-04-015-1 | -Instalaltion of the grounding of the LEA supports and substations | 10 m | 0,200 |  |  |
| 70 | 335000434-1 | -Grounding conductor ЗП2M | m | 2,000 |  |  |
| 71 | 201-92857 | Anchor clamp PA 1500 | pc | 2,000 |  |  |
| 72 | 335000521-20 | -Clamp for ЗП1М ZP-2 | pc | 1,000 |  |  |
| 73 | 3350401-01 | -Connector for phase conductor MJPT-25 | pc | 4,000 |  |  |
| 74 | 335000515 | -Branching tightening device ПC-1-1 | pc | 2,000 |  |  |
| 75 | 33500514-05 | -Cable strap KR-1 | pc | 2,000 |  |  |
| 76 | 33-04-016-2 | Transport of constructions and materials of supports LEA 0,38-10 kV on main line: of supports made ​​of reinforced concrete with one leg | pc | 33,000 |  |  |
|  |  |  | Total Designed pillars |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Social insurance fund |  |  |  |  |
|  |  | Transport |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overheads |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Construction works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 77 | RpEF24B | Removal of incandescent bulbs 20-2000 W or of bulbs with mercury vapours | pc | 20,000 |  |  |
| 78 | RpEO01A | Removal of support with one arm | pc | 20,000 |  |  |
| 79 | RpEF23B | Removal of luminaires | pc | 20,000 |  |  |
| 80 | 33-04-040-1 | Dismounting of 3 conductors LEA 0,38 kV | pc | 30,000 |  |  |
| 81 | 33-04-040-2 | Dismounting of an additional conductor LEA 0,38 kV | pc | 30,000 |  |  |
| 82 | 08-03-572-5 | Record cabinet mounted on wall, BZUM | pc | 1,000 |  |  |
| 83 | 08-03-521-15 | -Switch disconnectors | pc | 1,000 |  |  |
| 84 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A | pc | 1,000 |  |  |
| 85 | 08-01-066-1 | -Lightning arrester, voltage up to10 kV | set | 1,000 |  |  |
| 86 | 08-03-600-2 | -Counters mounted on a prepared support with three phases | pc | 1,000 |  |  |
| 87 | 08-03-573-4 | Suspended control cabinet (desktop), height, width and depth, mm, up to 600х600х350 | pc | 1,000 |  |  |
| 88 | 08-03-521-15 | -Switch disconnectors | pc | 1,000 |  |  |
| 89 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A | pc | 2,000 |  |  |
| 90 | 08-03-530-4 | Magnetic starter of common purpose, separated, mounted on construction wall or column, electric current up to 40 A | pc | 4,000 |  |  |
| 91 | 08-01-080-1 | Measurement and protection device, number of connected extremities up to: 2 | pc | 2,000 |  |  |
| 92 | 08-03-525-1 | Packet breaker or switch in steel coating, mounted on wall or column construction, number of clamps for connection of up to 9, current up to 25 A | pc | 1,000 |  |  |
| 93 | 08-01-081-1 | Control and signalling device (button, control key, electromagnetic lock, acoustic signal, signalling lamp), number of connected extremities up to: 2 | pc | 2,000 |  |  |
| 94 | 08-03-526-1 | -Mono-, bi-, three-pole automate device mounted on constructions, current up to 25 A (installed in PT280UBA18) | pc | 1,000 |  |  |
| 95 | 33-04-008-3 | Suspension of isolated conductors by means of mechanisms LEA 0,38 kV | 1 km | 2,165 |  |  |
| 96 | 33-04-008-1 | Suspension of non-isolated conductors by means of mechanisms LEA 0,38 kV | 1 km | 3,100 |  |  |
| 97 | 08-02-401-1 | Cable, fixing with applied clamps, strips with installation of branch box, with 2-4 wires, wire section up to 16 mm2 | 100 m | 1,300 |  |  |
| 98 | 08-01-087-3 | Steel structures | t | 0,300 |  |  |
| 99 | 08-01-082-1 | Clamps in assortment: clamp without protective frame | 100 pc | 3,200 |  |  |
| 100 | 08-01-052-1 | Suspend isolator with voltage up to 10kV, amount of fixed points: 1 | pc | 80,000 |  |  |
| 101 | 08-02-363-1 | Metal consoles, special, welded on pillars, for luminaires, number of bulbs: 1 | pc | 87,000 |  |  |
| 102 | 08-02-369-3 | Instalaltion of the street luminaire | pc | 87,000 |  |  |
| 103 | 33-04-015-1 | Instalaltion of the grounding of the LEA supports and substations | 10 m | 8,700 |  |  |
| 104 | 08-02-142-1 | Execution of the bed for one cable in trenches | 100 m | 0,050 |  |  |
| 105 | 08-02-141-1 | Cable of up to 35 kV in trenches made ​​without coatings, weight 1 m up to: 1 kg | 100 m | 0,100 |  |  |
| 106 | 08-02-148-1 | Cable of up to 35 kV in installed pipes, blocs and boxes, weight 1 m up to: 1 kg | 100 m | 0,050 |  |  |
| 107 | 08-02-396-6 | Metal channel on walls and ceilings, length of 2.5 m | 100 m | 0,050 |  |  |
| 108 | 08-02-152-1 | Steel cable structures: steel angle 50x50x5mm (20m) | t | 0,075 |  |  |
| 109 | 08-02-471-4 | Grounding, vertical, of round steel, diameter 20mm, l=3m | 10 pc | 0,300 |  |  |
| 110 | 08-02-472-1 | Grounding conductors: grounding, horizontal, of round steel, diameter of 20 mm | 100 m | 0,110 |  |  |
| 111 | 08-02-472-9 | Open grounding conductor, on supports of construction, of round steel, diameter of 10 mm | 100 m | 1,900 |  |  |
| 112 | 08-02-472-6 | Open grounding conductor, on supports of construction, of strip steel, section of 100 mm2 | 100 m | 0,250 |  |  |
| 113 | 3331011-3 | Electric wire AC 35 | m | 825,000 |  |  |
| 114 | 3332017-3 | Cable ABБбШв 4х25mm2 | m | 10,000 |  |  |
| 115 | 3332017-5 | Cable ABБбШв 5х25mm2 | m | 5,000 |  |  |
| 116 | 3332040-3 | Cable СИП-2 3х25+1х35 | m | 2 240,000 |  |  |
| 117 | 3332023-2 | Cable ВВГ 3х2.5mm2 | m | 130,000 |  |  |
| 118 | 3341015-01 | Street luminaire 54W PКУ-Люкс | pc | 87,000 |  |  |
| 119 | 33890162-1 | Wall console for luminaire with one arm K1K-15-10-18 (height 1.5m, radius 1m, diameter of 180 mm) | pc | 87,000 |  |  |
| 120 | 335000434 | Grounding conductor ЗП1M | m | 87,000 |  |  |
| 121 | 201-9266-16 | Steel bracelets X16 | pc | 87,000 |  |  |
| 122 | 33371012-08 | Perforated channel for cables 40x100x2500 | m | 5,000 |  |  |
| 123 | 33371012-05 | Cover for cable channel, base 100 | m | 5,000 |  |  |
|  |  | Direct expenses | lei |  |  |  |
|  |  | Social insurance fund |  |  |  |  |
|  |  | Transport |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overheads |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Machinery |  |  |  |  |
|  | 555050-1 | Record panel BZUM-TF-01-63-09 | set | 1.000 |  |  |
|  | 555-100012-2 | -Breaker BH32/4/20 , 20A | pc | 1.000 |  |  |
|  | 5550243-10 | -Automate breaker with 3 poles, 16A, BA47-29/3/16B | pc | 1.000 |  |  |
|  | 130-10015 | -De-tensioners ОПС1 B 4Р, In=30kA,Un=400V,In=60kA (MOP10-4-B) | pc | 1.000 |  |  |
|  | 5550051-02 | -Meter of active and reactive meter 3f ,380V, ZMG 310 CR 5-100A | pc | 1.000 |  |  |
|  | 55500087-31 | Distribution cabinet ЩРн-36з-0 74 У2 IP54, 540x330x120 (ЩУНО) | pc | 1.000 |  |  |
|  | 555-100011-1 | -Breaker BH32/3/20 , 20A | pc | 1.000 |  |  |
|  | 5550243-8 | -Automate breaker with 3 poles, 10A, BA47-29/3/10B | pc | 2.000 |  |  |
|  | 33700305-4 | -Contactor KMИ-10910, 9А, 230B/AC3 1HO | pc | 4.000 |  |  |
|  | 338000504 | -Relay PЭК78/4 | pc | 1.000 |  |  |
|  | 338101-01 | -Time relay with 2 channels РЧ-522 | pc | 1.000 |  |  |
|  | 33800040-05 | -Switch ALCLR-22 | pc | 1.000 |  |  |
|  | 33800014-7 | -Control button with 1 pin SB-7 | pc | 2.000 |  |  |
|  | 5550243-11 | -Automate breaker with 3 poles, 20A, BA47-29/3/20B (installed in PT281UBA 18) | pc | 1.000 |  |  |
|  |  | Direct expenses | MDL |  |  |  |
|  |  | Storage costs |  |  |  |  |
|  |  | Total |  |  |  |  |
|  |  |  | Total Machinery |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

,

|  | Total cost estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Drawn up by |  |
| --- | --- |
| (position signature) |
| Verified by |  |
| (position signature) |