| Repairing works in the School from Nezavertailovca village, Slobozia rayon | Form No.1 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES № 1

Repairing works

Concluded based on current prices as of 18.09.2015

| № | Symbol of the norm and resources code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. General repairing works for the auxiliary block |  |  |  |  |
|  |  | 1.1. Roof of the auxiliary block |  |  |  |  |
| 1 | RpCI42B | Dismantling roof elements – asbestos-cement cover and afferent elements | m2 | 359,78 |  |  |
| 2 | RpCH32B | Displacing the wood boards and the roof elements – framing of the roof, by undoing all the component elements, including the sorting of the resulted materials | m2 | 273,00 |  |  |
| 3 | RpCB18A | Demolishing the old concrete with manual means, foundations and elevations with a dosing up to 150 kg/mc | m3 | 15,24 |  |  |
| 4 | RpCC02A | Mixed encasing from reused panels, the ones manufactured from plywood, excluding the supports, for reinforced concrete, when completing or redoing the existing constructions, in walls and plates, with plywood of 15 mm | m2 | 101,61 |  |  |
| 5 | RpCD01B | Steel-concrete coating A I, with diam. up to 8 mm including, shaped on the site and assembled in the elements of the exiting constructions, shaping and assembling the coating for foundations and radiation | kg | 1 505,00 |  |  |
| 6 | RpCB02C | Concrete poured into coating, for continuous or isolated foundation, low-demanding radiation, at the underground walls, balustrade, missives, etc., for existing buildings, concrete prepared with the cement mixer on the site and poured with classical means with reinforced concrete C-10/8 Bc10 (B150) | m3 | 15,24 |  |  |
| 7 | RpCH02A | Resinous wooden framing, on simple roofs, with one with up to 4 slopes, for tile covering, from square timber, for light roofs | m2 | 273,00 |  |  |
| 8 | CE41A | Assembling the antiseptic treatment spars | m3 | 7,33 |  |  |
| 9 | RpCH07A1 | Repairing the revetment of the covering of resinous boards, of 24 mm width, executed via replacement of the broken revetment with boards for usual constructions, for total replacement of the revetment | m2 | 359,87 |  |  |
| 10 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs (Monterey type or equivalent) | m2 | 482,50 |  |  |
| 11 | CN50C | Fireproofing treatment of the carpentry, stave-based screen for coverings and revetment. | 100m2 | 3,60 |  |  |
| 12 | CN51F | Antiseptic treatment of the carpentry, on apparent areas with antiseptic paste: needling, ribs. | 100m2 | 3,60 |  |  |
| 13 | CE17A | Additional polymeric membrane for anticondens layer, assembled under the tile covering imprinted board plates | m2 | 359,78 |  |  |
| 14 | RpCH08A | Cornice boarding from aluminum thin boards with angles on the perimeter - 79.86 m. | m2 | 71,87 |  |  |
| 15 | RpCH02A | Resinous wooden framing, on simple roofs, with up to 4 slopes, for tile covering, from square timber, for light roofs (domes) | m2 | 12,65 |  |  |
| 16 | RpCH07A1 | Repairing the revetment of the covering of resinous boards, of 24 mm width, executed via replacement of the broken revetment with boards for usual constructions, for total replacement of the revetment | m2 | 12,65 |  |  |
| 17 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs (Monterey type or equivalent) (domes) | m2 | 12,65 |  |  |
| 18 | CK17A | Paneling executed on the site in quantities over 10 m2 from resinous timber, in panels (coating the dome) | m2 | 12,65 |  |  |
| 19 | CE42A | Execution of dormers | piece | 1,00 |  |  |
| 20 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 360,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Roof of auxiliary block Including salary |  |  |  |  |
|  |  | 1.2. Changing the carpeting of the auxiliary block |  |  |  |  |
| 21 | RpCO56A | Dismantling of the wooden carpeting (windows) | m2 | 34,95 |  |  |
| 22 | RpCO56A | Dismantling of the wooden carpeting (doors) | m2 | 158,55 |  |  |
| 23 | RpCP45A | Dismantling of metallic doors and windows | kg | 150,00 |  |  |
| 24 | CK23C | Plastic windows with one or more leafs with heights up to 35 m inclusively, having an area of the casement of over 2,5 m2 | m2 | 34,95 |  |  |
| 25 | CK03A | Wooden interior doors within one leaf, on coating, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m | m2 | 158,55 |  |  |
| 26 | CK12B | Metallic doors manufactured from rolled iron profiles, steel-band cold-cut profiles, including necessary coat and accessories for the doors assembled in walls of any type of construction, with height up to 35 m inclusively, within one leaf, with the area of the case between 7-15 m2 | m2 | 9,57 |  |  |
| 27 | CK26A | Sills assembled at the windows from plastic, for windows and doors | m | 15,00 |  |  |
| 28 | CK26B | Sills assembled at the windows from aluminum | m | 15,00 |  |  |
| 29 | RpCJ06C | Repairing the interior coating, around the cases and casing of the doors and windows, of 2 cm thickness, leveled, executed with cement-lime mortar of type 25 T, with right recesses in between 25 - 35 cm width | m | 840,54 |  |  |
| 30 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 192,40 |  |  |
| 31 | CN53A | Coating of interior surfaces of walls and ceilings | m2 | 192,40 |  |  |
| 32 | CF57A | Manual application of the gypsum-based putty thickness 1,0 mm on the ceiling, walls and columns’ areas | m2 | 192,40 |  |  |
| 33 | CN53A | Coating of interior surfaces of walls and ceilings | m2 | 192,40 |  |  |
| 34 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually | m2 | 192,40 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Changing the carpeting for the auxiliary block Including salary |  |  |  |  |
|  |  | 1.3. Interior finishing works for the auxiliary block |  |  |  |  |
|  |  | 1.3.1. Ceilings |  |  |  |  |
| 35 | CK29F | Suspended ceiling from pre-manufactured panels of type"Armstrong", or similar including the system-grid, 2 floor | m2 | 176,80 |  |  |
| 36 | RpCJ35A | Dismantling interior plastering coating from the ceilings | m2 | 13,80 |  |  |
| 37 | CN53A | Coating of interior surfaces of ceilings | m2 | 13,80 |  |  |
| 38 | CF52B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for the ceiling, manual preparing of the mortar | m2 | 13,80 |  |  |
| 39 | CF57A | Manual application of the gypsum-based putty thickness 1,0 mm on the ceiling areas | m2 | 13,80 |  |  |
| 40 | CN53A | Coating of interior surfaces of ceilings | m2 | 13,80 |  |  |
| 41 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually | m2 | 13,80 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Ceilings Including salary |  |  |  |  |
|  |  | 1.3.2. Walls |  |  |  |  |
| 42 | RpCG29D1 | Demolishing with mechanical means the masonry walls for creating holes in the masonry, for demolition with mechanical means | m3 | 12,03 |  |  |
| 43 | RpCJ35A | Dismantling interior plastering coating from the walls | m2 | 562,00 |  |  |
| 44 | CD56A | Executing the dividing walls in mono-layer in gypsum plates with thickness of 10 cm, in premises with height of up to 4 m | 100m2 | 0,32 |  |  |
| 45 | СF60A | Plating the surfaces with two layers of plasterboards, executing the identical and plain metallic carcass, with a height up to 4 m: walls without insulation | m2 | 6,10 |  |  |
| 46 | CC03A | Assembling sealed meshes at heights lower or equal to 35 m, for walls with diaphragms, with the wright of the meshes up to 3 kg/m2 | kg | 1 538,55 |  |  |
| 47 | CN54A | Manual application of the quartz ground of type "BETONOCONTACT" or equivalent in one layer, for the interior walls | m2 | 512,85 |  |  |
| 48 | CF15A | Interior trowel plastering, executed manually, with cement mortar M 100-T of 2 cm average thickness, for the concrete or brick walls, with plain surfaces | m2 | 562,00 |  |  |
| 49 | CN53A | Coating of interior surfaces of walls | m2 | 562,00 |  |  |
| 50 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 562,00 |  |  |
| 51 | CF57A | Manual application of the gypsum-based putty thickness 1,0 mm on the walls’ areas | m2 | 562,00 |  |  |
| 52 | CN53A | Coating of interior surfaces of walls | m2 | 562,00 |  |  |
| 53 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually | m2 | 562,00 |  |  |
| 54 | RpCC02A | Mixed encasing from reused panels, the ones manufactured from plywood, excluding the supports, for reinforced concrete, when completing or redoing the existing constructions, in walls and plates, with plywood of 15 mm | m2 | 37,44 |  |  |
| 55 | RpCD01B | Steel-concrete coating A I, with diam. up to 8 mm including, shaped on the site and assembled in the elements of the exiting constructions, shaping and assembling the coating for foundations and radiation | kg | 562,00 |  |  |
| 56 | RpCB02C | Concrete poured into coating, for continuous or isolated foundation, low-demanding radiation, at the underground walls, balustrade, missives, etc., for existing buildings, concrete prepared with the cement mixer on the site and poured with classical means with reinforced concreteC-10/8 Bc10 (B150) | m3 | 3,75 |  |  |
| 57 | CK30B | Ready-made mask for the radiators manufactured from wooden or aluminum board rods (treated by Eloxal process), including gimlets | m2 | 24,50 |  |  |
| 58 | CL19A | Ready-made metallic grates manufactured from panels of steel wire fabric, including the supporting and fixing metallic elements (uprights, frames, bracelets, etc.) for balconies | m2 | 40,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Walls Including salary |  |  |  |  |
|  |  | 1.3.3. Flooring |  |  |  |  |
| 59 | RpCK41A | Dismantling the flooring from planks, cases, etc. | m2 | 13,80 |  |  |
| 60 | CG02A | Blind resinous rough planks, on areas larger than 16 m2, with impregnated linoleum, applied in 2 layers executed in one row of planks beaten down on oak rulers | m2 | 13,80 |  |  |
| 61 | RpCK10C | Oak parquetry scraping , executed mechanically, with abrasive disks | m2 | 13,80 |  |  |
| 62 | CG06A | Oak plinths cleaned and assembled on wooden dowels fixed with brass screws in premises with areas larger than 16 m2, horizontal plinths with maximum height of 15 cm for walls | m | 12,00 |  |  |
| 63 | CN17A | Painting with alkyd resins-based pants and varnishes applied on the wooden carpeting, executed with 2 layers of alkyd enamel, including the rough coat | m2 | 13,80 |  |  |
| 64 | RpCK42A | Dismantling the cold flooring from concrete and cement mortar | m2 | 176,80 |  |  |
| 65 | TsC54B | Foundation layer from crushed stone | m3 | 17,70 |  |  |
| 66 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 176,80 |  |  |
| 67 | CG17D | Flooring from ceramic plates including the support layer from adhesive mortar, executed on areas wider than 16 m2 – of type Betonocontact or equivalent Fixator - 0,3 kg/m2 | m2 | 176,80 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Flooring Including salary |  |  |  |  |
|  |  | 1.3.4. Scene |  |  |  |  |
| 68 | RpCK41A | Dismantling the flooring from planks, cases, etc. – scene | m2 | 6,00 |  |  |
| 69 | CG02A | Blind resinous rough planks, on areas larger than 16 m2, with impregnated linoleum, applied in 2 layers executed in one row of planks beaten down on oak rulers | m2 | 18,20 |  |  |
| 70 | CG03B | Flooring from wooden pavers placed on a layer of sand of 3 cm thickness with joints filled in half with sand and half with bituminous mortar, with the height between 10-12 cm, with cylindrical pavers | m2 | 18,20 |  |  |
| 71 | RpCK10C | Oak parquetry scraping , executed mechanically, with abrasive disks | m2 | 18,20 |  |  |
| 72 | CG06A | Oak plinths cleaned and assembled on wooden dowels fixed with brass screws in premises with areas larger than 16 m2, horizontal plinths with maximum height of 15 cm for walls | m | 16,00 |  |  |
| 73 | CN17A | Painting with alkyd resins-based pants and varnishes applied on the wooden carpeting, executed with 2 layers of alkyd enamel, including the rough coat | m2 | 18,20 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Scene Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Interior finishing works for the auxiliary block |  |  |  |  |
|  |  | 1.4. Facade of the auxiliary block |  |  |  |  |
| 74 | RpCJ35A | Clearing the surface of the walls, taking out the moil | m2 | 318,40 |  |  |
| 75 | CF15A | Interior trowel plastering, executed manually, with cement mortar M 100-T of 2 cm average thickness, for the concrete or brick walls, with plain surfaces | m2 | 318,40 |  |  |
| 76 | CC03A | Assembling sealed meshes at heights lower or equal to 35 m, for walls with diaphragms, with the wright of the meshes up to 3 kg/m2 | kg | 954,00 |  |  |
| 77 | CN54A | Manual application of the quartz ground of type "BETONOCONTACT" or equivalent in one layer, for the interior walls | m2 | 318,40 |  |  |
| 78 | CF11A | Exterior coating sprayed on brick or concrete masonry (with the machine or broom) with the thickness of 3 cm, executed manually, with cement-lime mortar M 50-T for sprit and lime-cement mortar M 25-T for the ground or continuously visible layer | m2 | 318,40 |  |  |
| 79 | RpCJ35A k=2 | Clearing the exterior coating from the walls, taking out the moil | m2 | 30,67 |  |  |
| 80 | CN53A | Coating of exterior surfaces of walls with waterproof with preventive cleaning of the surfaces | m2 | 30,67 |  |  |
| 81 | CI09A | Plywood from porcelain tile plates, partially vitrified, coated, mate, fixed on adhesive paste, including jointing with grout, executed on plain surfaces of walls, pylons and interior beams, applied with adhesive, in constructions in which specific requirements are imposed regarding the quality of design execution and the architectural value | m2 | 30,67 |  |  |
| 82 | CJ06A | External profiles made on the site with specific patterns, with ledges and borders over 5 cm, with the width up to 50 cm inclusively, executed on masonry or concrete with cement-lime mortar M 50-T smoothly leveled | m | 230,04 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Façade of the auxiliary block Including salary |  |  |  |  |
|  |  | 1.5. Pavement |  |  |  |  |
| 83 | RpDB37A | Scouring the asphalt up to 3 cm thick, made of permanent asphaltic carpets, asphaltic cement or asphaltic mortar | m2 | 145,99 |  |  |
| 84 | TsC02B1 | Mechanic digging with pneumatic excavator of 0,21-0,39 m3, with hydraulic command, in grounds with natural humidity, and unloading on the field storage of cat. II. | 100 m3 | 0,43 |  |  |
| 85 | RpDD01A | Foundation or re-profiling layer from crushed stone, for roads with manual covering, executed with wedging or renewal | m3 | 14,60 |  |  |
| 86 | TsC54A | Foundation layer of sand | m3 | 14,60 |  |  |
| 87 | DE17B | Pavement made of precast concrete paving slabs laid on a layer of dry cement and sand mixture in the proportion 1: 3 , embroidered with dry mixture of cement and sand , 10 cm thick layer of paving material of the Beneficiary | m2 | 146,99 |  |  |
| 88 | TsA03C | Manual excavation of land in confined spaces , having 1.00 m in width , made without support , with sloping embankment foundations , channels , etc. , cohesive or poorly cohesive, consistent land , up to 0.75 m deep hard ground | m3 | 5,84 |  |  |
| 89 | CO03A | Edging for sidewalks based on mortar of M 100-T of 5 cm thick, on a concrete foundation, class C 5/4 of about 15 cm thick, with joints filled with mortar | m | 101,86 |  |  |
| 90 | RpCK42C | Dismantling the floors of cold concrete tiles, marble, stone, ceramic tiles, etc. | m2 | 9,60 |  |  |
| 91 | RpCL15A | Repairing concrete and mosaic steps on the site, executed roughly and with mosaic made of granulated stone (dosage 600 kg cement per cubic meter of stone mosaic), rubbed, with a 15 mm wear layer | m | 11,00 |  |  |
| 92 | CG17D | Flooring from ceramic plates “Porcelain for exterior”, including the support layer from adhesive mortar executed on areas wider than 16 m2 | m2 | 15,10 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Pavement Including salary |  |  |  |  |
|  |  | 1.6. Heating for the auxiliary block |  |  |  |  |
| 93 | RpIF01A | Draining the central heating installation so as to perform the repairing works | m2 | 120,00 |  |  |
| 94 | RpIC19D | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 2 1/2" -3" | m | 65,36 |  |  |
| 95 | RpIC19A | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 3/8" - 3/4" | m | 21,60 |  |  |
| 96 | RpIB11A | Dismantling the radiators to be liquidated | m2 | 40,00 |  |  |
| 97 | RpIB11C | Dismantling the consoles or the supporting devices for liquidation | piece | 52,00 |  |  |
| 98 | RpID07A | Assembling the airing taps with valves, with the mobile key with d=1/4"-3/8" (of type Mayevski tap or equivalent ) | piece | 14,00 |  |  |
| 99 | RpIC35A | Executing the conjunction of steel pipes’ ramifications for constructions | piece | 8,00 |  |  |
| 100 | RpIF09B | Insulating the pipes with special insulation collars, introduced on the pipes, with diameter and width from D=12x9 to D=54x9 mm. Sleeves | m | 3,00 |  |  |
| 101 | RpCU05G | Executing the perforation for the pipes or ties in the walls of bricks of 26 -50 cm thickness | piece | 14,00 |  |  |
| 102 | RpCU07B | Caulking the holes in the walls with cement-lime mortar, after installations or consolidations | piece | 14,00 |  |  |
| 103 | IC10F | Black steel pipe with fillet and sleeve assembled by being screwed to the distribution pipes, in central heating installation for dwellings and social-cultural purpose buildings, the pipe has the diameter of 2" | m | 65,36 |  |  |
| 104 | IC10B | Black steel pipe with fillet and sleeve assembled by being screwed to the distribution pipes, in central heating installation for dwellings and social-cultural purpose buildings, the pipe has the diameter of 3/4" | m | 21,60 |  |  |
| 105 | ID01B | Tap with valve with double control (supply or return) for central heating installations, having the nominal diameter 3/4" -1" | piece | 28,00 |  |  |
| 106 | IC38F | The fitting piece, with 2 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter of 63,0 mm | piece | 24,00 |  |  |
| 107 | IB01A | Cast iron radiators with free columns and circular section (375 pieces of type Viadrus Termo 500/130 or equivalent ) the norm for radiator 3.125 sections/m2 | m2 | 40,00 |  |  |
| 108 | IB20A | Support elements for the heating bodies, assembled in the brick wall. | piece | 28,00 |  |  |
| 109 | RpIC28B | Assembling or intercalating on the pipes the fittings, to the existing pipes of central heating ( T-joint,), with diameter 1 1/2"-2 1/2" | piece | 14,00 |  |  |
| 110 | ID04B | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1 1/4" -1 1/2" | piece | 8,00 |  |  |
| 111 | IC40A | Bracket for fixing the steel pipes for central heating or gas installation, assembled on gimlets of 1" inclusively, on PVC gimlets on brick walls | piece | 14,00 |  |  |
| 112 | IC40C | Bracket for fixing the steel pipes for central heating or gas installation, assembled on gimlets of 2 1/2" - 4", PVC gimlets on brick walls | piece | 18,00 |  |  |
| 113 | IE01A | Performing the under pressure impermeability testing of the central heating installation, having pipes from steel, copper, polyethylene or polypropylene, with heating bodies, heating devices, fittings, distributors, collectors, reservoirs, and airing taps, with the total area of the heating bodies up to 100 m2 | m2 | 40,00 |  |  |
| 114 | IE02A | Performing the dilatation – contracting and operation testing of the central heating installation, having pipes from steel, copper, polyethylene or polypropylene, with heating bodies, heating devices, fittings, distributors, collectors, reservoirs, and airing taps, with the total area of the heating bodies up to la 100 m2 | m2 | 40,00 |  |  |
| 115 | IE08A | Washing with drinking water the internal installation of central heating, the total area of the bodies being up to 100 m2 | m2 | 40,00 |  |  |
| 116 | VA01A | Manufacturing and assembling the right ventilation channels, of black board 0,3 - 2 mm thickness, having the perimeter of the rectangular section of 250 - 700 mm | m2 | 14,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Heating of the auxiliary block Including salary |  |  |  |  |
|  |  | 1.7. Transportations |  |  |  |  |
| 117 | TrI1AA02C3 | Loading materials from group A – heavy ones, by throwing balls in – from the ramp or field, in auto category 3 | t | 67,50 |  |  |
| 118 | RpCU09C | Transportation with manual means through direct transportation up to 60 m distance with a loading up to 50 kg (for 1 m transported on the vertical is considered to be 10 on the horizontal) | t | 67,50 |  |  |
| 119 | TsI50A10 | Transportation of soil with the dumper for a distance of 10 km | t | 67,50 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Transportation Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total General repairing works for the auxiliary block Including salary |  |  |  |  |
|  |  | 2. General repairing works for the training block |  |  |  |  |
|  |  | 2.1. WC in the training block |  |  |  |  |
|  |  | 2.1.1. Ceiling |  |  |  |  |
| 120 | CK17F | Paneling the walls, executed on the site in quantities of over 10 square meters of plastic profiles | m2 | 20,80 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Ceiling Including salary |  |  |  |  |
|  |  | 2.1.2. Walls |  |  |  |  |
| 121 | RpCJ35A | Clearing the surface of the walls, taking out the moil | m2 | 110,28 |  |  |
| 122 | CN54A | Manual application of the quartz ground of type "BETONOCONTACT" or equivalent in one layer, for the interior walls | m2 | 110,28 |  |  |
| 123 | CF15A | Interior trowel plastering, executed manually, with cement mortar M 100-T of 2 cm average thickness, for the concrete or brick walls, with plain surfaces | m2 | 110,28 |  |  |
| 124 | CI06C3 | Plywood with colorful tiles mounted in different colors and shapes mounted in the drawing, executed on flat surfaces of walls and pillars , including sills and edges , with alternating joints, in premises with an area exceeding 10 m2, fixed with adhesive for installation of plywood for proper installation | m2 | 110,28 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Walls Including salary |  |  |  |  |
|  |  | 2.1.3. Flooring |  |  |  |  |
| 125 | RpCK42A | Dismantling the cold flooring from concrete and cement mortar | m2 | 20,80 |  |  |
| 126 | RpCK42B | Dismantling the cold flooring from mosaic, on continuous area or on mosaic-based plates | m2 | 20,80 |  |  |
| 127 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 20,80 |  |  |
| 128 | CG17D1 | Flooring from ceramic plates including the support layer from adhesive mortar, executed on areas wider than 16 m2 – of type Betonocontact Fixator, or equivalent - 0,3 kg/m2 | m2 | 20,80 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Flooring Including salary |  |  |  |  |
|  |  | 2.1.4. Internal sewerage |  |  |  |  |
| 129 | RpSB01C | Dismantling the tubes and the connectign pieces from cast iron, for sewerage, with diameter of 100 mm | m | 3,00 |  |  |
| 130 | RpSC06A | Dismantling a closet reservoir of pottery, completely equipped | piece | 6,00 |  |  |
| 131 | RpSC05A | Dismantling a pottery washstand, including the accessories | piece | 4,00 |  |  |
| 132 | RpSB10C | Assembling the non-plasticized light PVC pipe for sewerage, joined by gluing, surface-mounted or buried under the floor, with the diameter of 50 mm | m | 25,00 |  |  |
| 133 | RpSB11B | Mounting the connecting pipe (bend) from the light type PVC pipe, joined by gluing, with the diameter of 50 mm | piece | 5,00 |  |  |
| 134 | RpSB11B | Mounting the connecting pipe (T-bend) from the light type PVC pipe, joined by gluing, with the diameter of 50 mm | piece | 5,00 |  |  |
| 135 | RpSB10E | Mounting the non-plasticized light type PVC pipe for sewerage, joined by gluing, surface-mounted or buried under the floor, with the diameter of 110 mm | m | 21,00 |  |  |
| 136 | RpSB11D | Mounting the connecting pipe (T-bend) from the light type PVC pipe, joined by gluing, with the diameter of 110 mm | piece | 6,00 |  |  |
| 137 | SB09E | Plastic T-bend for sewerage, combined with rubber, with the diameter of 10 mm | piece | 6,00 |  |  |
| 138 | RpSA15B | Heavy-type polyvinyl chloride pipe, joined by gluing with the connecting pipes to the sanitary object, in dwelling and social-cultural buildings, with the diameter of 20 mm, with fittings of 40% | m | 35,00 |  |  |
| 139 | RpID28B | Mounting the ball-shaped tap with the exterior-interior valve on the copper pipes to the central heating installation, with the diameter 20 mm | piece | 10,00 |  |  |
| 140 | RpSC24B | Mounting the closet reservoir, completely equipped, from sanitary semi-porcelain or porcelain etc. including for disabled people, placed on the floor, with the water reservoir mounted at a certain height, with the P-type internal siphon | piece | 6,00 |  |  |
| 141 | RpSC21C | Mounting the sink from sanitary semi-porcelain or porcelain, etc. including for disabled people, with the sewerage pipe of plastic material, mounted on a pedestal | piece | 4,00 |  |  |
| 142 | SC14A | Soap-supporter from enameled cast iron, sanitary porcelain, etc., mounted on the wall from masonry or brick or autoclaved aerated concrete | piece | 4,00 |  |  |
| 143 | SE59A | Hand dryers, mounted on the walls of brick or autoclaved aerated concrete | piece | 2,00 |  |  |
| 144 | RpSD35A | Mounting the static mixing battery for the washbasin or sink, regardless of the switch-off model, including for disable people, with the diameter of 1/2" | piece | 4,00 |  |  |
| 145 | RCsB21C | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with a thickness of 30 cm | piece | 36,00 |  |  |
| 146 | RCsB10B | Filling with concrete of B12.5/M150 class the holes with the average surface of 0,2 m2 in plates over 10 cm thick, covering the cleaning of the hole and priming with grout, to ensure the link between the old and the new concrete | piece | 36,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Internal sewerage Including salary |  |  |  |  |
|  |  | 2.1.5. External sewerage |  |  |  |  |
| 147 | TsA03E | Manual excavation of land in limited spaces, under 1,00 m width, executed without supporters, with sloping embankment, foundations, channels, etc., middle or high cohesion ground, up to 1,5 m deep, middle ground | m3 | 3,00 |  |  |
| 148 | RpCB02C | Concrete poured into coating, for continuous or isolated foundation, low-demanding radiation, at the underground walls, balustrade, missives, etc., for existing buildings, concrete prepared with the cement mixer on the site and poured with classical means with reinforced concrete C-10/8 Bc10 (B150) | m3 | 3,00 |  |  |
| 149 | RpCD01B | Steel-concrete coating A I, with diam. up to 8 mm including, shaped on the site and assembled in the elements of the exiting constructions, shaping and assembling the coating for foundations and radiation | kg | 450,00 |  |  |
| 150 | AcE13A | Executing the manholes from the reinforced concrete pre-manufactured elements, for sewerage, circular (ring-type) with diameter of 1,0 m, in the field without underground water | m3 | 2,00 |  |  |
| 151 | AcE13A1 | Reinforced concrete pre-manufactured elements of the manholes, circular (ring-type) with diameter of 1,0 m, for sewerage, in the field without underground water. Note: Metallic scale - 15 kg | piece | 1,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total External sewerage Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total WC of the training block Including salary |  |  |  |  |
|  |  | 2.2. Heating of the 1 floor, training block |  |  |  |  |
| 152 | RpIF01A | Draining the central heating installation so as to perform the repairing works | m2 | 245,00 |  |  |
| 153 | RpIC19D | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 2 1/2" -3" | m | 343,00 |  |  |
| 154 | RpIC19A | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 3/8" - 3/4" | m | 192,00 |  |  |
| 155 | RpIB11A | Dismantling the radiators to be liquidated | m2 | 203,52 |  |  |
| 156 | RpIB11C | Dismantling the consoles or the supporting devices for liquidation | piece | 125,00 |  |  |
| 157 | RpID07A | Assembling the airing taps with valves, with the mobile key with d=1/4"-3/8" (of type Mayevski tap) | piece | 62,00 |  |  |
| 158 | RpIC35A | Executing the conjunction of steel pipes’ ramifications for constructions | piece | 28,00 |  |  |
| 159 | RpIF09B | Insulating the pipes with special insulation collars, introduced on the pipes, with diameter and width from D=12x9 to D=54x9 mm. Sleeves | m | 43,00 |  |  |
| 160 | RpCU05G | Executing the perforation for the pipes or ties in the walls of bricks of 26 -50 cm thickness | piece | 24,00 |  |  |
| 161 | RpCU07B | Caulking the holes in the walls with cement-lime mortar, after installations or consolidations | piece | 24,00 |  |  |
| 162 | IC10F | Black steel pipe with fillet and sleeve assembled by being screwed to the distribution pipes, in central heating installation for dwellings and social-cultural purpose buildings, the pipe has the diameter of 38x2.5 | m | 144,00 |  |  |
| 163 | IC10B | Black steel pipe with fillet and sleeve assembled by being screwed to the distribution pipes, in central heating installation for dwellings and social-cultural purpose buildings, the pipe has the diameter of 20x2.5 | m | 172,00 |  |  |
| 164 | ID01B | Tap with valve with double control (supply or return) for central heating installations, having the nominal diameter 3/4" -1" | piece | 57,00 |  |  |
| 165 | IC38F | The fitting piece, with 2 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter of 63,0 mm | piece | 114,00 |  |  |
| 166 | IB01A | Cast iron radiators with free columns and circular section (375.00 sections of type MS 104) the norm for radiator 3.125 sections/m2 | m2 | 203,52 |  |  |
| 167 | IB20A | Support elements for the heating bodies, assembled in the brick wall. | piece | 228,00 |  |  |
| 168 | RpIC28B | Assembling on the pipes the fittings, to the existing pipes of central heating ( T-joint), with diameter 1 1/2"-2 1/2" | piece | 114,00 |  |  |
| 169 | ID04B | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1 1/4" -1 1/2" | piece | 18,00 |  |  |
| 170 | IC40A | Bracket for fixing the steel pipes for central heating or gas installation, assembled on gimlets of 1" inclusively, on PVC gimlets on brick walls | piece | 34,00 |  |  |
| 171 | IC40C | Bracket for fixing the steel pipes for central heating or gas installation, assembled on gimlets of 2 1/2" - 4", PVC gimlets on brick walls | piece | 38,00 |  |  |
| 172 | IE01A | Performing the under pressure impermeability testing of the central heating installation, having pipes from steel, copper, polyethylene or polypropylene, with heating bodies, heating devices, fittings, distributors, collectors, reservoirs, and airing taps, with the total area of the heating bodies up to 100 m2 | m2 | 252,00 |  |  |
| 173 | IE02A | Performing the dilatation – contracting and operation testing of the central heating installation, having pipes from steel, copper, polyethylene or polypropylene, with heating bodies, heating devices, fittings, distributors, collectors, reservoirs, and airing taps, with the total area of the heating bodies up to la 100 m2 | m2 | 252,00 |  |  |
| 174 | IE08A | Washing with drinking water the internal installation of central heating, the total area of the bodies being up to 100 m2 | m2 | 203,00 |  |  |
| 175 | VA01A | Manufacturing and assembling the right ventilation channels, of black board 0,3 - 2 mm thickness, having the perimeter of the rectangular section of 250 - 700 mm | m2 | 14,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Heating, 1 floor, training block Including salary |  |  |  |  |
|  |  | 2.3. Heating, 2 floor, training block (partially) |  |  |  |  |
| 176 | RpIF01A | Draining the central heating installation so as to perform the repairing works | m2 | 820,00 |  |  |
| 177 | RpIC19D | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 2 1/2" -3" | m | 123,00 |  |  |
| 178 | RpIC19A | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 3/8" - 3/4" | m | 142,00 |  |  |
| 179 | RpIB11A | Dismantling the radiators to be liquidated | m2 | 140,00 |  |  |
| 180 | RpIB11C | Dismantling the consoles or the supporting devices for liquidation | piece | 125,00 |  |  |
| 181 | RpID07A | Assembling the airing taps with valves, with the mobile key with d=1/4"-3/8" (of type Mayevski tap) | piece | 62,00 |  |  |
| 182 | RpIC35A | Executing the conjunction of steel pipes’ ramifications for constructions | piece | 28,00 |  |  |
| 183 | RpIF09B | Insulating the pipes with special insulation collars, introduced on the pipes, with diameter and width from D=12x9 to D=54x9 mm. Sleeves | m | 43,00 |  |  |
| 184 | RpCU05G | Executing the perforation for the pipes or ties in the walls of bricks of 26 -50 cm thickness | piece | 24,00 |  |  |
| 185 | RpCU07B | Caulking the holes in the walls with cement-lime mortar, after installations or consolidations | piece | 24,00 |  |  |
| 186 | IC10F | Black steel pipe with fillet and sleeve assembled by being screwed to the distribution pipes, in central heating installation for dwellings and social-cultural purpose buildings, the pipe has the diameter of 45x2.5 | m | 130,00 |  |  |
| 187 | IC10F | Black steel pipe with fillet and sleeve assembled by being screwed to the distribution pipes, in central heating installation for dwellings and social-cultural purpose buildings, the pipe has the diameter of 50x3.0 | m | 80,00 |  |  |
| 188 | IC10B | Black steel pipe with fillet and sleeve assembled by being screwed to the distribution pipes, in central heating installation for dwellings and social-cultural purpose buildings, the pipe has the diameter of 20x2.5 | m | 122,00 |  |  |
| 189 | ID01B | Tap with valve with double control (supply or return) for central heating installations, having the nominal diameter 3/4" -1" | piece | 48,00 |  |  |
| 190 | IC38F | The fitting piece, with 2 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter of 63,0 mm | piece | 84,00 |  |  |
| 191 | IB01A | Cast iron radiators with united columns and elliptic section (375.00 sections of type MS 104) the standard for radiator 3.125 sections/m2 | m2 | 145,00 |  |  |
| 192 | IB20A | Support elements for the heating bodies, assembled in the brick wall. | piece | 120,00 |  |  |
| 193 | RpIC28B | Assembling or intercalating on the pipes the fittings, to the existing pipes of central heating (T-joint) with diameter 1 1/2"-2 1/2" | piece | 62,00 |  |  |
| 194 | ID04B | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1 1/4" -1 1/2" | piece | 8,00 |  |  |
| 195 | IC40A | Bracket for fixing the steel pipes for central heating or gas installation, assembled on gimlets of 1" inclusively, on PVC gimlets on brick walls | piece | 34,00 |  |  |
| 196 | IC40C | Bracket for fixing the steel pipes for central heating or gas installation, assembled on gimlets of 2 1/2" - 4", PVC gimlets on brick walls | piece | 38,00 |  |  |
| 197 | IE01A | Performing the under pressure impermeability testing of the central heating installation, having pipes from steel, copper, polyethylene or polypropylene, with heating bodies, heating devices, fittings, distributors, collectors, reservoirs, and airing taps, with the total area of the heating bodies up to 100 m2 | m2 | 152,00 |  |  |
| 198 | IE02A | Performing the dilatation – contracting and operation testing of the central heating installation, having pipes from steel, copper, polyethylene or polypropylene, with heating bodies, heating devices, fittings, distributors, collectors, reservoirs, and airing taps, with the total area of the heating bodies up to la 100 m2 | m2 | 152,00 |  |  |
| 199 | IE08A | Washing with drinking water the internal installation of central heating, the total area of the bodies being up to 100 m2 | m2 | 152,00 |  |  |
| 200 | VA01A | Manufacturing and assembling the right ventilation channels, of black board 0,3 - 2 mm thickness, having the perimeter of the rectangular section of 250 - 700 mm | m2 | 14,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Heating 2 floor training block (partially) Including salary |  |  |  |  |
|  |  | 2.4. Interior finishing works in the training block |  |  |  |  |
|  |  | 2.4.1. Ceilings |  |  |  |  |
| 201 | CK29F | Suspended ceiling from pre-manufactured panels of type "Armstrong", or equivalent including the system-grid, 2 floor | m2 | 215,00 |  |  |
| 202 | RpCJ35A | Clearing the surface of the ceiling, taking out the moil | m2 | 34,50 |  |  |
| 203 | CN53A | Coating internal surfaces of the ceilings | m2 | 34,50 |  |  |
| 204 | CF52B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for the ceiling, manual preparing of the mortar | m2 | 34,50 |  |  |
| 205 | CF57A | Manual application of the gypsum-based putty thickness 1,0 mm on the ceiling areas | m2 | 34,50 |  |  |
| 206 | CN53A | Coating the interior surface of the ceilings | m2 | 34,50 |  |  |
| 207 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually | m2 | 34,50 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Ceilings Including salary |  |  |  |  |
|  |  | 2.4.2. Walls |  |  |  |  |
| 208 | RpCJ35A | Clearing the surface of the walls, taking out the moil | m2 | 725,00 |  |  |
| 209 | CC03A | Assembling sealed meshes at heights lower or equal to 35 m, for walls with diaphragms, with the wright of the meshes up to 3 kg/m2 | kg | 1 952,30 |  |  |
| 210 | CN54A | Manual application of the quartz ground of type "BETONOCONTACT" or equivalent in one layer, for the interior walls | m2 | 725,00 |  |  |
| 211 | CF15A | Interior trowel plastering, executed manually, with cement mortar M 100-T of 2 cm average thickness, for the concrete or brick walls, with plain surfaces | m2 | 725,00 |  |  |
| 212 | CN53A | Coating of interior surfaces of walls | m2 | 725,00 |  |  |
| 213 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 725,00 |  |  |
| 214 | CF57A | Manual application of the gypsum-based putty thickness 1,0 mm on the walls’ areas | m2 | 725,00 |  |  |
| 215 | CN53A | Coating of interior surfaces of walls | m2 | 725,00 |  |  |
| 216 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually | m2 | 725,00 |  |  |
| 217 | CK30B | Ready-made mask for the radiators manufactured from wooden or aluminum board rods (treated by Eloxal process), including gimlets | m2 | 125,40 |  |  |
| 218 | CL19A | Ready-made metallic grates manufactured from panels of steel wire fabric, including the supporting and fixing metallic elements (uprights, frames, bracelets, etc.) for balconies | m2 | 85,20 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Walls Including salary |  |  |  |  |
|  |  | 2.4.3. Flooring |  |  |  |  |
| 219 | RpCK41A | Dismantling the flooring from planks, cases, etc. | m2 | 215,00 |  |  |
| 220 | CG02A | Blind resinous rough planks, on areas larger than 16 m2, with impregnated linoleum, applied in 2 layers executed in one row of planks beaten down on oak rulers | m2 | 215,00 |  |  |
| 221 | RpCK10C | Oak parquetry scraping , executed mechanically, with abrasive disks | m2 | 215,00 |  |  |
| 222 | CG06A | Oak plinths cleaned and assembled on wooden dowels fixed with brass screws in premises with areas larger than 16 m2, horizontal plinths with maximum height of 15 cm for walls | m | 162,00 |  |  |
| 223 | CN17A | Painting with alkyd resins-based pants and varnishes applied on the wooden carpeting, executed with 2 layers of alkyd enamel, including the rough coat | m2 | 215,00 |  |  |
| 224 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 132,00 |  |  |
| 225 | CG17D | Flooring from ceramic plates including the support layer from adhesive mortar, executed on areas wider than 16 m2 – of type Betonocontact or equivalent Fixator - 0,3 kg/m2 | m2 | 132,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Flooring Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Internal finishing works in the training block Including salary |  |  |  |  |
|  |  | 2.5. Transportation |  |  |  |  |
| 226 | TrI1AA02C3 | Loading materials from group A – heavy ones, by throwing balls – from ramp or field, in auto category 3 | t | 89,50 |  |  |
| 227 | RpCU09C | Transportation with manual means through direct transportation up to 60 m distance with a loading up to 50 kg (for 1 m transported on the vertical is considered to be 10 on the horizontal) | t | 89,50 |  |  |
| 228 | TsI50A10 | Transportation of soil with the dumper at a distance of 10 km | t | 89,50 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Transportation Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total General repairing works of the training block Including salary |  |  |  |  |
|  |  | 3. Electricity |  |  |  |  |
| 229 | RpEG02A | Mounting the electrical panel on metallic shelves, modulated with mask, on the wall or in the corbel, having an area up to 0,30 m2 | piece | 1,00 |  |  |
| 230 | RpEE03A | Assembling bipolar sockets in normal constructions from bakelite or amino-plastic, simple, double, water-proof construction, seals, metallic or similar seals, assembled under coating or visibly on the wood or plastic gimlets | piece | 32,00 |  |  |
| 231 | RpEE01A | Mounting unipolar or bipolar switches 10-25 A, of normal construction, sealed in waterproof aminoplast carcass, bakelite, metal or porcelain recessed or surface mounted on wooden dowels or plastic, with copper or aluminum connectors | piece | 6,00 |  |  |
| 232 | RpEE15A | Mounting the monopolar switches 25 A- symbol 3129 N | piece | 12,00 |  |  |
| 233 | RpEF15E | Mounting Led fittings | piece | 38,00 |  |  |
| 234 | RpEF12B | Mounting LED bulbs | piece | 152,00 |  |  |
| 235 | RpCU06A | Executing the ditches up to 5 cm deep, in brick or masonry walls of 5 x 50 cm2 | m | 992,00 |  |  |
| 236 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 3x4 mm | m | 213,00 |  |  |
| 237 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 3x 1.5 mm | m | 512,00 |  |  |
| 238 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 3x 2.5 mm | m | 1 050,00 |  |  |
| 239 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 2x 1.5 mm | m | 249,00 |  |  |
| 240 | 08-02-144-3 | Connecting the wires of the conductors or of the cables to the clamps, section up to 16 mm2 | 100 piece | 3,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total Electricity Including salary |  |  |  |  |
|  |  | 4. Installing the sport equipment |  |  |  |  |
| 241 | 1000 | Training basketball backboard | piece | 2,00 |  |  |
| 242 | 1011 | Small training basketball backboard | piece | 2,00 |  |  |
| 243 | 1001 | Basketball bed | piece | 2,00 |  |  |
| 244 | 1002 | Gymnastics wall | piece | 6,00 |  |  |
| 245 | 1006 | Buckjump | piece | 1,00 |  |  |
| 246 | 1019 | Vaulting-horse | piece | 1,00 |  |  |
| 247 | 1020 | Leap-fog | piece | 2,00 |  |  |
| 248 | 1021 | Gymnastic pads 1*1,2m | piece | 20,00 |  |  |
| 249 | 1022 | Gymnastic rope | piece | 3,00 |  |  |
| 250 | 1023 | Gymnastic bars | piece | 2,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Expenses for procurement – storage | % |  |  |  |
|  |  | Total Installation of the sport equipment Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total estimate: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |