| Repairing works of the Infectious Diseases Unit of the Hospital from Rezina | Form No.1 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1

Construction works

Concluded based on current prices

| No | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works for the roof |  |  |  |  |
| 1 | RpCI42B | Dismantling roof elements – asbestos-cement cover and afferent elements | m2 | 734,35 |  |  |
| 2 | RpCH02A | Resinous wooden framing, on simple roofs, with one with up to 4 slopes, for tile covering, from square timber, for light roofs | m2 | 564,89 |  |  |
| 3 | CE41A | Assembling spars with antiseptic treatment | m3 | 9,87 |  |  |
| 4 | RpCH07A1 | Repairing the revetment of the covering of resinous boards, of 24 mm width, executed via replacement of the broken revetment with boards for usual constructions, for total replacement of the revetment | m2 | 734,35 |  |  |
| 5 | CE17A | Additional polymeric membrane for anticondens layer, assembled under the tile covering imprinted board plates | m2 | 734,35 |  |  |
| 6 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs Metallic tiles of "Monterrey" type, thickness 0,5 mm (board norm =1,32m2) or equivalent | m2 | 734,35 |  |  |
| 7 | CN50C | Fireproofing treatment of the carpentry, stave-based screen for coverings and revetment, | 100m2 | 0,73 |  |  |
| 8 | CN51F | Antiseptic treatment of the carpentry, on apparent areas with antiseptic paste: needling, ribs, | 100m2 | 0,73 |  |  |
| 9 | CE22A | Systems of brass-type tubing from anticorrosive protected board (rain downpipe) | m | 36,00 |  |  |
| 10 | CE20A | Systems of brass-type ditches from anticorrosive protected board (rain gutter) | m | 118,60 |  |  |
| 11 | CE31C2 | Clogged eaves without apparent consoles from chipboard, with an average width of 0,4 | m2 | 70,80 |  |  |
| 12 | CN16D | Painting with oil-based paints and lacs applied on the carpentry, executed with 2 layers of enamel for decking | m2 | 70,80 |  |  |
| 13 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 70,80 |  |  |
| 14 | TrI1AA02C1 | Loading materials from group A – heavy ones, by throwing balls in – from the ramp or field, in auto category 1 | t | 75,20 |  |  |
| 15 | TsI50G | Transportation of loads with the trucks at a distance of 15 km | t | 75,20 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Construction works for the roof Including salary |  |  |  |  |
|  |  | 2, Changing the carpentry |  |  |  |  |
| 16 | RpCO56A | Dismantling of the wooden carpeting external windows | m2 | 87,78 |  |  |
| 17 | RpCO56A | Dismantling of the wooden carpeting internal windows (cases) | m2 | 13,50 |  |  |
| 18 | RpCO56A | Dismantling of the wooden carpeting external doors | m2 | 37,60 |  |  |
| 19 | RpCO56A | Dismantling of the wooden carpeting internal doors | m2 | 96,18 |  |  |
| 20 | CK23C | Plastic windows with one or more leafs with heights up to 35 m inclusively, having an area of the casement of over 2,5 m2, profile with 4 chambers, | m2 | 87,78 |  |  |
| 21 | CK22A | French doors from aluminum profile for constructions with height of up to 35 m from fixed panels mounted on the parapet, | m2 | 18,25 |  |  |
| 22 | CK25D | Doors made of plastic profiles, including the casement and the necessary accessories for assembling doors in any type of constructions with the height up to 35 m inclusively, in two wings, with the surface of the case up to 7 m2 inclusively | m2 | 4,80 |  |  |
| 23 | CK25A | Doors made of plastic profiles, including the casement and the necessary accessories for assembling doors in any type of constructions with the height up to 35 m inclusively, in one wing, with the surface of the case up to 7 m2 inclusively | m2 | 37,60 |  |  |
| 24 | CK21A | Doors made of aluminum profiles, including the casement and the necessary accessories for assembling doors in any type of constructions with the height up to 35 m inclusively, in one wing, with the surface of the case up to 7 m2 inclusively | m2 | 96,18 |  |  |
| 25 | CL17B | Various metal garments, mounted visibly: rail , grids, manhole covers, snow stops, grills (bars on 2 windows) | kg | 135,48 |  |  |
| 26 | CN21A | Painting the railings, grids and railing, executed with oil paints in 2 layers | m2 | 10,24 |  |  |
| 27 | CK26A | Sills assembled at the windows from plastic (L=40cm) | m | 48,50 |  |  |
| 28 | CK26B | Sills assembled at the windows from aluminum (galvanized white board L=35 cm) | m | 48,50 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Changing the carpeting Including salary |  |  |  |  |
|  |  | 3, Ceiling |  |  |  |  |
| 29 | СF59D | Coating the surfaces with a layer of plasterboards executing the simple plain metallic carcass, with the height up to 4 m: ceilings with insulation (insulation is excluded) | m2 | 392,70 |  |  |
| 30 | СF59D | Coating the surfaces with a layer of plasterboards executing the simple plain metallic carcass, with the height up to 4 m: ceilings with insulation (insulation is excluded GKL waterproof GTS) | m2 | 88,30 |  |  |
| 31 | CF57A | Manual application of the gypsum-based putty of type "Eurofin" thickness 1,0 mm on the ceiling, walls and columns’ areas, | m2 | 481,00 |  |  |
| 32 | CN53A | Coating the internal surfaces of the walls and ceilings | m2 | 481,00 |  |  |
| 33 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually, | m2 | 481,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Ceilings Including salary |  |  |  |  |
|  |  | 4, Walls |  |  |  |  |
| 34 | RpCG29A | Demolishing the walls from brick masonry (cracked dividing walls) | m2 | 126,30 |  |  |
| 35 | RpCK42A | Dismantling the cold flooring from concrete and cement mortar and creating channels for the foundation of the dividing walls | m2 | 23,70 |  |  |
| 36 | RpCA01A | Manual excavation of land in confined spaces , having 1,00 m in width and maximum 1,5 m depth, with vertical slope, for polygonal foundation pits , ditches, etc., executed in amounts of up to 20 m3 with unsupported sides | m3 | 6,72 |  |  |
| 37 | RpCB02A | Concrete poured into molds, in continuous or isolated foundations, in weakly demanded radiation, for underground walls, parapets, massive etc., in existing buildings, concrete prepared with on-site concrete mixer and pouring with classical means of reinforced concrete C-10/8 Bc10 (B75), | m3 | 6,72 |  |  |
| 38 | RpCD01A | Steel-concrete coating OB 37, with d. up to 8 mm including, shaped on the site workshops and assembled in the elements of the exiting constructions, shaping and assembling the coating for foundations and radiation | kg | 186,25 |  |  |
| 39 | CD51C | Brickwork , format 250 x 120 x 65 1/2 thickness of the dividing reinforced walls, with the thickness 1/2 of bricks, and height up to 4 m | 100m2 | 1,26 |  |  |
| 40 | RpCM33A | Dismantling the plates of floor tiles, ceramics, and pottery | m2 | 452,50 |  |  |
| 41 | RpCJ35A | Clearing the exterior and interior coating from the walls | m2 | 1 322,40 |  |  |
| 42 | CN54A | Manual application of the quartz primer in one layer, on the surfaces of mortar or concrete | m2 | 1 576,00 |  |  |
| 43 | CF05A | Interior plastering of 3 cm thickness, executed on braided wire, leveled, on walls and slits with lime-cement brand M 100 -T for HRMS, lime-cement mortar brand M T-50 for primer and mortar of lime-cement M 10 T for the visible layer, executed manually on flat surfaces , including the installation of reinforcement steel and braided wire applied on the walls | m2 | 1 044,70 |  |  |
| 44 | CF02A | Exterior coating of 2 cm thickness, levelled, executed manually, on the walls and pylons, on plain surfaces, with cement-lime mortar M 25-T for sprit and lime-cement mortar M 10-T for ground and visible layer, on brick masonry or small concrete blocks | m2 | 531,30 |  |  |
| 45 | RpCJ06C | Repairing the interior coating, around the cases and casing of the doors and windows, of 2 cm thickness, leveled, executed with cement-lime mortar of type 25 T, with right recesses in between 25 - 35 cm width, | m | 515,60 |  |  |
| 46 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, with manual preparation of the mortar, on walls and dowels, | m2 | 1 367,00 |  |  |
| 47 | CF17C | Miscellaneous - fleece layer of fiberglass applied to the surface of pre-manufactured elements from autoclaved aerated concrete, bonded with glue | m2 | 1 160,76 |  |  |
| 48 | CF57A | Manual application of the gypsum-based putty of type "Eurofin" or equivalent thickness 1,0 mm on the ceiling, walls and columns’ areas, | m2 | 1 367,00 |  |  |
| 49 | CN53A | Coating the internal surfaces of the walls | m2 | 1 367,00 |  |  |
| 50 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually, | m2 | 1 367,00 |  |  |
| 51 | CI06C | Plywood glass glazed, glossy tiles of the same color and form with dimensions of 15 x 15 cm to 30 x 30, executed on flat surfaces of walls and pillars , including sills and edges , with alternating joints, in premises with an area exceeding 10 m2, fixed with adhesive for installation of plywood | m2 | 415,23 |  |  |
| 52 | CK18C | Mounting the metal profiles perforated at the edges | m | 515,60 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Walls Including salary |  |  |  |  |
|  |  | 5, Floor |  |  |  |  |
| 53 | RpCK42A | Dismantling the cold flooring from concrete and cement mortar | m2 | 150,27 |  |  |
| 54 | RpCK41A | Dismantling the flooring from planks, cases, etc. | m2 | 321,40 |  |  |
| 55 | RpCA06A | Soil filling, executed in horizontal layers 20-30 cm thick, well-watered and beaten with the manual knocker, and in quantities up to 20 m3, at a workstation, including scattering the soil in layers | m3 | 43,50 |  |  |
| 56 | TsC54B | Foundation layer from crushed stone | m3 | 32,10 |  |  |
| 57 | CG22A1 | Simple concrete flooring class C 10/8 (Bc 10 / B 150) in thickness of 10 cm, continuous field, leveled, poured on the site, in rooms with less than or equal to 16 m2, | m2 | 321,40 |  |  |
| 58 | CC03A | Assembling sealed meshes at heights lower or equal to 35 m, for walls with diaphragms, with the weight of the meshes up to 3 kg/m2 (mesh Bp 100x100) | kg | 537,36 |  |  |
| 59 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 471,70 |  |  |
| 60 | CG17D1 | Flooring from ceramic plates “Porcelain for exterior”, including the support layer from adhesive mortar executed on areas equal to or smaller than 16 m2 | m2 | 237,04 |  |  |
| 61 | CG18A1 | Horizontal plinths with maximum height of 15 cm for the walls out of ceramic plates fixed with cement mortar M 100-T, including the cleaning and washing with water, in premises with areas smaller or equal to 16 m2 | m | 421,20 |  |  |
| 62 | CG08A1 | Plastic coatings mounted on existing support, cleaned , including PVC skirting boards in premises with areas smaller or equal to 16 m2, with PVC carpet soldered with glue | m2 | 234,64 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Floor Including salary |  |  |  |  |
|  |  | 6, External finishing works |  |  |  |  |
| 63 | RpCJ35A | Clearing the exterior and interior coating from the walls and ceiling | m2 | 402,00 |  |  |
| 64 | CN54A | Manual application of the quartz ground in one layer, on the surfaces of mortar or concrete | m2 | 402,00 |  |  |
| 65 | RpCJ12A | Exterior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 402,00 |  |  |
| 66 | IzF54A | External insulation of buildings with fine plaster on thermal insulation (rigid fixation systems of the thermal insulation), smooth wall surface with 35 EPS polystyrene plate of 10 cm thickness, and dips framing rockwool | m2 | 402,00 |  |  |
| 67 | CN54B | Manual application of the quartz ground of type “Gleta" or equivalent in one layer, for the exterior walls of the facade, | m2 | 402,00 |  |  |
| 68 | CF30A | Exterior coating of 2-3 mm thickness, executed manually, with of type “TINC” or equivalent mixture on the walls, | m2 | 402,00 |  |  |
| 69 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 402,00 |  |  |
| 70 | CN11A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 3 layers on facades executed on the existing fillings (for sills), | m2 | 36,50 |  |  |
| 71 | CG22A1 | Simple concrete flooring class C 10/8 (Bc 10 / B 150) in thickness of 10 cm, continuous surface, leveled, poured on the site, in rooms with less than or equal to 16 m2, | m2 | 118,60 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total external finishing works Including salary |  |  |  |  |
|  |  | 7, Domes |  |  |  |  |
| 72 | RpCM33B | Removing plywood from marble, stone, granite or similar | m2 | 32,50 |  |  |
| 73 | CN54A | Manual application of the quartz ground in one layer, on the surfaces of mortar or concrete | m2 | 32,50 |  |  |
| 74 | CF05A | Interior plastering of 3 cm thickness, executed on braided wire, leveled, on walls and slits with lime-cement M 100 -T for HRMS, lime-cement mortar M T-50 for primer and mortar of lime-cement M 10 T for the visible layer, executed manually on flat surfaces , including the installation of reinforcement steel and braided wire applied on the walls | m2 | 0,60 |  |  |
| 75 | CI07A | Plywood of glazed, matte executed on flat surfaces on walls and pillars, including sills fixed with adhesive paste with alternating grouts and grouting with putty, in building where via the architectural design specific requirements are imposed for the architectural quality and value (basement) | m2 | 32,50 |  |  |
| 76 | RpCI42B | Removing the roof elements - roofing boards, asbestos-cement, PVC, cardboard , canvas , reeds , etc., including clipping the recoverable board | m2 | 18,20 |  |  |
| 77 | CL08A | Ready-made metallic elements (columns, beams , trusses), supplied fully assembled, installed on the site, in lightweight construction | t | 0,99 |  |  |
| 78 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete (screw anchors and supporters) | kg | 185,00 |  |  |
| 79 | CN22A | High quality paintings on metal surfaces executed with enamel | m2 | 62,50 |  |  |
| 80 | CE40A | Mounting frame beams elements (bars) | m3 | 0,52 |  |  |
| 81 | CE30A | Covers or valley roof covering from roofing tiles, Eternit type plates from rough wood planks (24 mm thick), in usual construction, The standards of the resources with value 0 (zero) are taken according to the design, | m2 | 32,50 |  |  |
| 82 | CE07A | Covering from imprinted board plates (roof tile) of 0,5 mm for covering the roofs, Metallic tiles of "Monterrey" type, thickness 0,5 mm | m2 | 32,50 |  |  |
| 83 | CO07A | Steel metal fencing form profiling steel or ordinary model (the stair railing) | kg | 132,20 |  |  |
| 84 | CN21A | Painting the railings, grids and railing, executed with oil paints in 2 layers | m2 | 38,50 |  |  |
| 85 | CC03C | Assembling sealed meshes at heights lower or equal to 35 m, for plates | kg | 62,38 |  |  |
| 86 | RpCK01B | Repairing the supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 32,04 |  |  |
| 87 | CG17A1 | Floors of square, rectangular or hexagonal slabs, with the surface of the plates up to 60 cm² / pc, including stoneware pottery including the support layer of mortar cement M 100 -T of 3 cm thickness, with joints filled with white grout, including the jointing and washing with hard water, executed in one form and color in rooms with areas less than or equal to 16 m2, | m2 | 32,04 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Domes Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |

| Repairing works of the Infectious Diseases Unit of the Hospital from Rezina | Form No.1 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1-2

Water and sewerage supply

Concluded based on current prices

| No | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— Incl. salary | Total ————— Incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
|  |  | 1.1. Aqueduct (hot/cold water) |  |  |  |  |
| 1 | SD19A | Taps with retainer with threaded sleeves, having the diameter of 20 mm | piece | 12,00 |  |  |
| 2 | SD19A | Taps with retainer with threaded sleeves, having the diameter of 15 mm | piece | 64,00 |  |  |
| 3 | SA17A | Plastic pipe joined by poly-fusion welding, in distribution pipes in dwelling and social-cultural buildings, having the diameter of 25x2,5 mm | m | 121,00 |  |  |
| 4 | SA17A | Plastic pipe joined by poly-fusion welding, in distribution pipes in dwelling and social-cultural buildings, having the diameter of 20x2,3 mm | m | 68,00 |  |  |
| 5 | SF01C | Performing the sealing pressure test for the installation of hot or cold water, executed on the hard-type polyvinyl chloride pipes, having the diameter of 16-110 mm | m | 18,90 |  |  |
| 6 | SF05C | Washing up the hot and cold water installation, executed from plastic pipes, with the diameter of 20-75 mm | m | 18,90 |  |  |
| 7 | RpIF09A1 | Insulating the tubes with heating-insulating sleeves, longitudinally cut, with the diameter and thickness of D=28x5 mm Ш | m | 58,00 |  |  |
| 8 | SA37B | Bracelet for fixing the pipes for water and gas supply, from steel or PVC, flush mounted through ducts having the diameter of 3/4" (including existing trays) | piece | 42,00 |  |  |
| 9 | RpCU05D | Executing the perforation for the pipes or ties in the walls of bricks of 16 25 cm thickness | piece | 28,00 |  |  |
| 10 | RpCU07C | Caulking the holes in the plates with cement-lime mortar, after installations | piece | 28,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Aqueduct (hot/cold water) Including salary |  |  |  |  |
|  |  | 1,2, Sewerage C1 |  |  |  |  |
| 11 | TsA02B | Manual excavation of land in confined spaces , having 1,00m or more in width, made without support, with sloping embankment foundations , channels , etc., cohesive or poorly cohesive, consistent land, up to 0,75 m deep hard ground | m3 | 12,80 |  |  |
| 12 | TsD01B | Spreading with the shovel of light earth in uniform layers, 10-30 cm thick, with a throw of up to 3 m of piles , including smashing of earth bolls from the middle ground | m3 | 12,80 |  |  |
| 13 | TsD05B | Compaction with the mechanical knocker of 150-200 kg filling in the successive layers of 20-30 cm thickness, excluding the watering of every layer separately, the earth fillings being executed from cohesive soil | 100 m3 | 0,13 |  |  |
| 14 | SB08C | Installing plastic sewer pipe , combined with rubber case, surface-mounted or buried under the floor, having a diameter of 50 mm | m | 33,00 |  |  |
| 15 | SB08E | Plastic sewer pipe, combined with rubber case, buried under the floor, having a diameter of 110 mm | m | 134,00 |  |  |
| 16 | SB09E | The linking piece from plastic for sewerage, combined with rubber case, having a diameter of 110 mm (the T-bend sleeve) | piece | 76,00 |  |  |
| 17 | SB09C | The linking piece from plastic for sewerage, combined with rubber case, having a diameter of 50 mm | piece | 32,00 |  |  |
| 18 | SF04A | Performing the leak test and operation of sewerage pipes made of cast iron pipes for drain, polyvinyl chloride and non-plasticized tubes of light type or plastic, the iron pipe having a diameter up to 100 mm inclusively | m | 16,70 |  |  |
| 19 | SC04A | Sink from sanitary porcelain, including for disabled people, with the sewerage pipe of plastic material, mounted on a console on brick walls or autoclaved aerated concrete walls | piece | 20,00 |  |  |
| 20 | SC05A | Sink from sanitary including for disabled people, with the sewerage pipe of plastic material, mounted on a console on brick walls or autoclaved aerated concrete walls (the sink with two-positions draintrap) | piece | 5,00 |  |  |
| 21 | SC07B1 | The closet reservoir, completely equipped, from sanitary porcelain, including for disabled people, placed on the floor, with the water reservoir mounted at a certain height, with the P-type internal draintrap | piece | 12,00 |  |  |
| 22 | SC02A | Shower bath from enameled cast iron, enameled tin, polymetacryl, etc. | piece | 12,00 |  |  |
| 23 | SD04A | Mounting the static mixing battery with swinging boom for the washbasin or sink, regardless of the switch-off model, including for disable people, with the diameter of 1/2" | piece | 37,00 |  |  |
| 24 | SB30A | Supporters to support the tubes and the joining elements for sewerage, with the weight up to 2 kg | kg | 56,00 |  |  |
| 25 | SA37F | Bracelet for fixing the pipes for water and gas supply, from steel or PVC, flush mounted through ducts having the diameter of 2" | piece | 32,00 |  |  |
| 26 | SA37I | Bracelet for fixing the pipes for water and gas supply, from steel or PVC, flush mounted through ducts having the diameter of 4" | piece | 48,00 |  |  |
| 27 | RpCU05D | Executing the perforation for the pipes or ties in the walls of bricks of 16 25 cm thickness | piece | 38,00 |  |  |
| 28 | RpCU07C | Caulking the holes in the plates with cement-lime mortar, after installations | piece | 38,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Sewerage C1 Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total Construction works Including salary |  |  |  |  |
|  |  | 2. Mounting the equipment |  |  |  |  |
| 29 | SE44A | Electrical water heater, having the capacity of 80 liters and the weight of 44 kg, mounted on consoles fixed into the wall | piece | 10,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total Mounting the equipment Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 30 |  | Electrical water heater, having the capacity of 80 liters | piece | 10,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Total Equipment Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |

| Repairing works of the Infectious Diseases Unit of the Hospital from Rezina | Form No.1 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1-3

Electricity works

Concluded based on current prices

| No | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— Incl. salary | Total ————— Incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
| 1 | RCsU06C | Executing the ditches up to 5 cm deep, in stone or reinforced concrete walls of 5 x 50 cm2 | m | 45,00 |  |  |
| 2 | RCsU07D | Making the grooves in walls up to 50 cm2 after installation or consolidations | m | 45,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Transportation of materials | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total Construction works Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 3 | 08-03-572-3 | Execution command block of closet-type or a distribution point of closet-type, wall-mounted, with specific height and width up to the closet, mm, for 24 modules | piece | 3,00 |  |  |
| 4 | RpEJ05D | Electrical tests, verifications and adjustments for the switchboard, electrical command box | piece | 3,00 |  |  |
| 5 | RCsB21A k=4 | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm | piece | 45,00 |  |  |
| 6 | CK35B | Metal dowels fixed in reinforced concrete walls | piece | 100,00 |  |  |
| 7 | RpEA04A | Mounting the protective pipes fitting the non-plasticized PVC pipe, light type (L), having up to 63 mm diameter, mounted visibly on the dowels, consoles, and metal brackets, | m | 696,00 |  |  |
| 8 | Market price | PVC tube d20 | m | 452,00 |  |  |
| 9 | Market price | PVC tube d16 | m | 244,00 |  |  |
| 10 | 08-02-412-3 | Introducing conductors in metal pipes and hoses: the first conductor is mono-strand or multi-strands in joint braiding, summary section up to 16 mm2 | 100 m | 6,96 |  |  |
| 11 | RpEJ05A | Electrical tests, verifications and adjustments for the electricity cables up to 1 kW | piece | 76,00 |  |  |
| 12 | 08-02-158-4 | Dried terminal for the control cable, section of a conductor up to 2,5 mm2, quantity of the conductors up to 4, 4 | piece | 67,00 |  |  |
| 13 | 08-02-158-14 | Dried terminal for the cable with 3-4 conductors with insulation from plastic and rubber, pressure up to 1kV , section of a conductor up to 35 mm2, | piece | 48,00 |  |  |
| 14 | 5901039 | Cable VVG-3х4 | m | 45,00 |  |  |
| 15 | 5901033 | Cable VVG-3х2,5 | m | 140,00 |  |  |
| 16 | 5901034 | Cable VVG-3*1,5 | m | 90,00 |  |  |
| 17 | 5901035 | Cable VVG-2х1,5mm | m | 55,00 |  |  |
| 18 | 08-03-525-2 | Package breaker or switcher in metal casing, mounted on the wall or column construction, quantity of the terminals for connection up to 9, power up to 100A | piece | 3,00 |  |  |
| 19 | Market price | Power switch 63A 3P | piece | 2,00 |  |  |
| 20 | 08-03-522-28 | Switcher on a plate with triggering device, mounted on metal support, 4P, power up to 100 A | piece | 1,00 |  |  |
| 21 | 08-03-526-4 | Mono-, bi-, three-pole automate, mounted on the wall or column construction, power up to 400 | piece | 1,00 |  |  |
| 22 | 08-03-526-1 | Mono-, bi-, three-pole automate, mounted on the wall or column construction | piece | 52,00 |  |  |
| 23 | Market price | Combined automated switcher DX 4P/80A/300mA | piece | 12,00 |  |  |
| 24 | Market price | Combined automated switcher DX 2P/16A/30mA | piece | 12,00 |  |  |
| 25 | Market price | Automated switcher DX 1P C16A | piece | 12,00 |  |  |
| 26 | Market price | Automated switcher DX 3P C40A | piece | 6,00 |  |  |
| 27 | Market price | Automated switcher DX 3PB 6A | piece | 15,00 |  |  |
| 28 | Market price | Automated switcher DX 1P 1A | piece | 8,00 |  |  |
| 29 | Market price | Automated switcher DX 1P 10A | piece | 8,00 |  |  |
| 30 | Market price | Automated switcher DX 3P C25A | piece | 3,00 |  |  |
| 31 | 08-03-594-11 | Light fitting with luminescent lamps in suspended ceilings, mounted on suspensions, quantity of lamps in the light fitting, 4 | 100 pieces | 0,68 |  |  |
| 32 | Market price | Cases with fluorescent lamps TBS 4x18 | piece | 68,00 |  |  |
| 33 | Market price | Light fitting 1x50w IP 54 (in GTS) | piece | 28,00 |  |  |
| 34 | Market price | Fluorescent lamps 18W | piece | 272,00 |  |  |
| 35 | Market price | Incandescent lamps 60W | piece | 272,00 |  |  |
| 36 | RpEJ06C | Electrical tests, verifications and adjustments for light fittings | piece | 35,00 |  |  |
| 37 | 08-03-591-8 | Switcher with one flap, unburied, in open installation | 100 pieces | 0,52 |  |  |
| 38 | Market price | Simple white plug 230V/16/1P+N+PE | piece | 12,00 |  |  |
| 39 | Market price | Simple double white plug 230V/16/1P+N+PE | piece | 40,00 |  |  |
| 40 | 10-04-031-02 | Separately mounted device: box | piece | 3,00 |  |  |
| 41 | 08-03-591-2 | Switcher with one flap, buried type, in open installation | 100 pieces | 0,21 |  |  |
| 42 | Market price | Closed switch 1 flap | piece | 21,00 |  |  |
| 43 | 08-03-591-5 | Switcher with two flaps, unburied type, in open installation | 100 pieces | 0,38 |  |  |
| 44 | Market price | Closed switch with 2 flaps | piece | 38,00 |  |  |
| 45 | RpEJ06B | Electrical tests, verifications and adjustments for lighting circuits | piece | 13,00 |  |  |
| 46 | RpEA06A | Mounting the derivation doses, boxes for switches and plugs | piece | 74,00 |  |  |
| 47 | Market price | Case for mounting the switches and plugs | piece | 11,00 |  |  |
| 48 | 08-02-369-2 | Light fitting installed outside the buildings, with luminescent bulbs | piece | 4,00 |  |  |
| 49 |  | Projector GT 500W with sensor 118mm | piece | 4,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Transportation of materials | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total Mounting works Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 50 | Company’s price | Plastic mountable box, embedded for 24 modules | piece | 3,00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Total Equipment Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |

| Repairing works of the Infectious Diseases Unit of the Hospital from Rezina | Form No.1 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1-4

Heating Ventilation

Concluded based on current prices

| No | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— Incl. salary | Total ————— Incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Heating |  |  |  |  |
| 1 | RpIF01A | Draining the central heating installation so as to perform the repairing works | m2 | 103,00 |  |  |
| 2 | RpIC19B | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 1" -1 1/4" | m | 220,00 |  |  |
| 3 | RpIC37B | Cutting the steel pipe for installations, with acetylene welding flame, with diameter of 1"-2" | piece | 12,00 |  |  |
| 4 | RpID19A | Dismantling the taps of fittings from cast iron or steel for central heating installations, with diameter up to 2" | piece | 12,00 |  |  |
| 5 | RpIB11A | Dismantling the radiators to be liquidated | m2 | 101,30 |  |  |
| 6 | IC35B | High density reinforced polypropylene pipe, mounted at the joints of heating devices or bodies, in central heating installations, with the external diameter up to 20,0x3,4 mm | m | 130,00 |  |  |
| 7 | IC35C | High reinforced polypropylene pipe, mounted at the joints of heating devices or bodies, in central heating installations, with the external diameter up to 25,0x4,2mm | m | 265,00 |  |  |
| 8 | IC35D | High density reinforced polypropylene pipe, mounted at the joints of heating devices or bodies, in central heating installations, with the external diameter up to 32,0x5,4mm | m | 45,00 |  |  |
| 9 | RpIF09B1 | Insulating the tubes with heating-insulating sleeves, longitudinally cut, with the diameter and thickness of D=20 mm | m | 130,00 |  |  |
| 10 | RpIF09B1 | Insulating the tubes with heating-insulating sleeves, longitudinally cut, with the diameter and thickness from D=25 mm | m | 65,00 |  |  |
| 11 | IE03A | Performing the leakage test under pressure for the conducts supplying the heating appliances (heaters, thermo-convectors, baseboard convectors, etc.) having a diameter of 3/8 " ,,, 1" | m | 395,00 |  |  |
| 12 | IE03B | Performing the leakage test under pressure for the conducts supplying the heating appliances (heaters, thermo-convectors, baseboard convectors, etc.) having a diameter of 1 1/4 " ,,, 2" | m | 45,00 |  |  |
| 13 | IB01A | Cast iron radiators with free columns and circular section or united columns and elliptic section (type Viadrus Color 3 0,244 m2/section, 557 sections) or equivalent | m2 | 135,09 |  |  |
| 14 | IE02A | Performing the under pressure impermeability testing of the central heating installation, having pipes from steel, copper, polyethylene or polypropylene, with heating bodies, heating devices, fittings, distributors, collectors, reservoirs, and airing taps, with the total area of the heating bodies up to 100 m2 | m2 | 135,09 |  |  |
| 15 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1/2" -16 mm” turn | piece | 32,00 |  |  |
| 16 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1/2" -16 mm” return | piece | 32,00 |  |  |
| 17 | ID06A | Airing tap with mobile key for central heating installations, having the nominal diameter 1/4" Maievschi-type tap or equivalent | piece | 32,00 |  |  |
| 18 | ID03B | Plug valve tap with three ways, flanges with stuffing, for central heating installations, having a nominal diameter of 25-50 mm (40mm) | piece | 4,00 |  |  |
| 19 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 25 mm | piece | 12,00 |  |  |
| 20 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 20 mm, for draining | piece | 8,00 |  |  |
| 21 | IC41B | Bracket for fixing the steel pipes for central heating or gas installation, assembled through shooting, the pipe having 1 1/4" - 2" | piece | 150,00 |  |  |
| 22 | IzA08C | Painting on the radiators, performed manually with oil-based paint | m2 | 135,09 |  |  |
| 23 | RpCU05D | Executing the perforation for the pipes or ties in the walls of bricks of 16 25 cm thickness | piece | 28,00 |  |  |
| 24 | RpCU07C | Caulking the holes in the plates with cement-lime mortar, after installations | piece | 28,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Heating Including salary |  |  |  |  |
|  |  | Ventilation |  |  |  |  |
| 25 | VC07A | Mounting axial fans, window fans, type VF 315 - VF 900, with the weight of 3,6 - 8,2 kg, with engine of 0,25 to 0,55 kW | piece | 8,00 |  |  |
| 26 | Market price | Fan d160 mm with engine | piece | 8,00 |  |  |
| 27 | Cost | Flushing device type ЕНА10-35 or equivalent | piece | 22,00 |  |  |
| 28 | VA02A2 | Manufacturing in central workshops, in sections to be assembled on the site and mounting the straight ventilation ducts, from galvanized steel or aluminum board of 0,55 mm thickness, having the perimeter of the rectangular section of 100-100 mm | m2 | 87,25 |  |  |
| 29 | IzH22A | Insulation with ready-made mineral wool shells, ready-made, aluminum foil wool | m2 | 65,00 |  |  |
| 30 | VC34A | Production and installation of the anchoring and supporting device, for devices, channels , special parts etc. from profiled steel, having the weight up to 5 kg per piece | kg | 154,00 |  |  |
| 31 | IzD04A | Painting the metal garments and constructions with a layer of oil-based paint in 2 layers, executed on profiles with thickness between 8 mm and 12 mm inclusively, with mine brush | t | 0,054 |  |  |
| 32 | CL20A | Ready-made ventilation grilles made ​​of blackboard with manually adjustable blinds, painted and mounted in masonry (RAG 200 * 100) | piece | 24,00 |  |  |
| 33 | RpCU05D | Executing the perforation for the pipes or ties in the walls of bricks of 16 25 cm thickness | piece | 28,00 |  |  |
| 34 | RpCU07C | Caulking the holes in the plates with cement-lime mortar, after installations | piece | 28,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Ventilation Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Social insurance | 27,5 % |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |

| Repairing works of the Infectious Diseases Unit of the Hospital from Rezina | Form No.1 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1-5

Anti-fire warning, guarding, PC network

Compiled in current prices

| No | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— Incl. salary | Total ————— Incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
| 1 | RCsU06C | Executing the ditches up to 5 cm deep, in stone or reinforced concrete walls of 5 x 50 cm2 | m | 45,00 |  |  |
| 2 | RCsU07D | Making the grooves in walls up to 50 cm2 after installation or consolidations | m | 45,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Total Construction works Including salary |  |  |  |  |
|  |  | 2. Chapter 1, Mounting works |  |  |  |  |
|  |  | 2.1. Anti-fire protection |  |  |  |  |
| 3 | 10-08-001-06 | Receiver-devices: Reception and control devices “ПС”, warning devices Concentrator: guard block for 10 flashes PC1832 | piece | 2,00 |  |  |
| 4 | 10-08-001-04 | Receiver-devices: "ПС" device for 4 flashes | piece | 1,00 |  |  |
| 5 | 08-01-101-2 | Converter, mass up to 0,25 t РИП7АН | piece | 2,00 |  |  |
| 6 | 10-04-101-04 | Subscription equipment and diverse devices: subscriber transformer, intensity up to 25 W, mounted on the brick or concrete wall 30VA TR 30VA | piece | 2,00 |  |  |
| 7 | 10-08-003-01 | Capacity-based warning device Siren SA 913 | piece | 4,00 |  |  |
| 8 | 10-08-002-03 | Automated alarms : thermal, smoke, light in explosion-protected execution SD-112 | piece | 35,00 |  |  |
| 9 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 РПГ-10-3562IP+42 | piece | 2,00 |  |  |
| 10 | 10-01-055-02 | Placing cables and conductors on the walls: cable, mass up to 1 m up to 1 kg on the wall of bricks 4x0,22 | 100 m | 4,20 |  |  |
| 11 | 10-01-055-02 | Placing cables and conductors on the walls: cable, mass up to 1 m up to 1 kg on the wall of bricks 8x0,22 | 100 m | 1,15 |  |  |
| 12 | 10-01-055-02 | Placing cables and conductors on the walls: cable, mass up to 1 m up to 1 kg on the wall of bricks ВВГ 3х1,5 | 100 m | 0,55 |  |  |
| 13 | 10-01-055-02 | Placing cables and conductors on the walls: cable, mass up to 1 m up to 1 kg on the wall of bricks ВВГ 2х1,5 | 100 m | 0,65 |  |  |
| 14 | 08-01-121-1 | Stationary acid battery, type С-1, СК-1 1270 ВАТТ | piece | 2,00 |  |  |
| 15 | 10-06-034-14 | Different works: protection of cables with plastic gutters, on wooden or brick walls 10x22 MCS-1 | m | 420,00 |  |  |
| 16 | 08-03-591-1 | Switcher with one flap, unburied, in open installation 0-4-IP44-01-6/220 | 100 pieces | 0,01 |  |  |
| 17 | 10-08-019-01 | Difference appliances with electrical-clock-display: ramification box on the wall Box I | piece | 1,00 |  |  |
| 18 | 10-08-003-02 | Ultrasound appliances: ultrasound device for mono-block execution MAT | piece | 1,00 |  |  |
| 19 | 08-02-410-1 | Polyethylene pipe on the floor stand, diameter up to 25 mm | 100 m | 1,15 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Anti-fire protection Including salary |  |  |  |  |
|  |  | 2.2. Computers |  |  |  |  |
| 20 | 10-04-066-04 | Wall appliances: cable doses for connection or ramification HUB-8 | piece | 1,00 |  |  |
| 21 | 11-08-001-04 | Connecting the electricity networks to appliances through adhesion | 100 pieces | 0,48 |  |  |
| 22 | 08-03-591-8 | Switcher with one flap, unburied, in open installation Rj45 | 100 pieces | 0,40 |  |  |
| 23 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks, and cases, mass 1 m up to 1 kg 4Pair 5 cat, UTP | 100 m | 1,80 |  |  |
| 24 | 10-04-066-04 | Wall appliances: cable doses for connection or ramification Д50 | piece | 4,00 |  |  |
| 25 | Market price | PVC tube d16 | m | 120,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total Computers Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Social and health insurance | 27,5 % |  |  |  |
|  |  | Overhead costs | 76 % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | 6 % |  |  |  |
|  |  | Total Chapter 1, Mounting works Including salary |  |  |  |  |
|  |  | 3. Chapter 2. Equipment |  |  |  |  |
| 26 |  | Anti-fire control board for 8 zones, type РС1832 | piece | 1,00 |  |  |
| 27 |  | Receiver board for 5 zones, type РС585Н | piece | 1,00 |  |  |
| 28 |  | Battery reserve source РИП7АН | piece | 1,00 |  |  |
| 29 |  | Accumulator battery 12V7Ah | piece | 1,00 |  |  |
| 30 |  | Transformer | piece | 1,00 |  |  |
| 31 |  | Outdoor serene type SA-913 | piece | 2,00 |  |  |
| 32 |  | Indoor serene type SIREN PS40 | piece | 2,00 |  |  |
| 33 |  | Smoke detector type SD-112 | piece | 39,00 |  |  |
| 34 |  | Button-type fire detector, type ИПР | piece | 3,00 |  |  |
| 35 |  | Magnetic relay РПГ-10-3562IP-41 | piece | 2,00 |  |  |
| 36 |  | Tamper KIT | piece | 2,00 |  |  |
| 37 |  | Keyboard with display, type РС-5501 ZINT for the board РС 1864 | piece | 1,00 |  |  |
| 38 |  | Box 1 | piece | 1,00 |  |  |
| 39 |  | Lock for the box 100 | piece | 1,00 |  |  |
| 40 |  | Transmitter MAT | piece | 1,00 |  |  |
| 41 |  | Bell for informing the nurses | piece | 12,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Total Chapter 2, Equipment Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |