| Repairing works of the Culture Hall building in Slobozia Dusca | Form No.1 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1

Repairing works

Concluded based on current prices

| No | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. General repairing works |  |  |  |  |
|  |  | 1.1. Roof |  |  |  |  |
| 1 | RpCI42B | Dismantling roof elements – asbestos-cement cover and afferent elements | m2 | 1,153.00 |  |  |
| 2 | RpCH32C | Removing the wooden floors and roof elements - deck roof covering with or without recovery of materials | m2 | 782.61 |  |  |
| 3 | RpCF10B | Demolition of masonry stone blocks , built manually with lime-cement mortar over 1 m3 at a workstation | m3 | 30.60 |  |  |
| 4 | CB02A | Reusable formwork panels with short and very short wood boarding planks to pour the concrete in bearings, foundations and foundations glass and foundation equipment including support | m2 | 130.00 |  |  |
| 5 | CC02L | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 811.00 |  |  |
| 6 | CC02I | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 319.00 |  |  |
| 7 | CA04A | Cast concrete slabs, beams, columns, prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 10/8 ( Bc 10 / B 150 ) at heights up to 35 m inclusively | m3 | 27.04 |  |  |
| 8 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete (screw anchors for attaching rafters d = 12 AI) | kg | 185.30 |  |  |
| 9 | RpCH02A | Resinous wooden framing, on simple roofs, with one with up to 4 slopes, for tile covering, from square timber, for light roofs | m2 | 782.61 |  |  |
| 10 | CE41A | Assembling spars with antiseptic treatment | m3 | 11.70 |  |  |
| 11 | RpCH07A1 | Repairing the revetment of the covering of resinous boards, of 24 mm width, executed via replacement of the broken revetment with chipboard or fiberboard plates or boards for usual constructions, for total replacement of the revetment | m2 | 1,153.00 |  |  |
| 12 | CE17A | Additional polymeric membrane for anticondens layer, assembled under the tile covering imprinted board plates | m2 | 1,153.70 |  |  |
| 13 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs (Lindab type or equivalent )Metallic tiles of "Monterrey" type, or equivalent thickness 0.5 mm (board norm =1.32m2) | m2 | 1,153.00 |  |  |
| 14 | CN50C | Fireproofing treatment of the carpentry, stave-based screen for coverings and revetment. | 100 m2 | 11.53 |  |  |
| 15 | CN51F | Antiseptic treatment of the carpentry, on apparent areas with antiseptic paste: needling, ribs. | 100 m2 | 11.53 |  |  |
| 16 | CK17A | Paneling executed on the site in quantities over 10 m2 from resinous timber, in panels and cases or plates (gables) | m2 | 120.00 |  |  |
| 17 | CN16D | Painting with oil-based paints and lacs applied on the carpentry, executed with 2 layers of enamel for decking | m2 | 120.00 |  |  |
| 18 | CE22A | Systems of brass-type tubing from anticorrosive protected board | m | 102.00 |  |  |
| 19 | CE20A | Systems of brass-type ditches from anticorrosive protected board | m | 126.00 |  |  |
| 20 | CE31C2 | Clogged eaves without apparent consoles from chipboard, with an average width of 0.4 m of the metal profile sheet (Type “Profnastil” or equivalent ) the standard - 1.15m2 / m2 eaves | m2 | 121.84 |  |  |
| 21 | CN16D | Painting with oil-based paints and lacs applied on the carpentry, executed with 2 layers of enamel for decking | m2 | 121.84 |  |  |
| 22 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 121.84 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Roof Including salary |  |  |  |  |
|  |  | 1.2. Exterior works |  |  |  |  |
|  |  | 1.2.1. Stairs |  |  |  |  |
| 23 | RpCB18B | Demolishing the old concrete with manual means, foundations and elevations with a dosing up to 150 kg/mc (back stairs) | m3 | 19.00 |  |  |
| 24 | RpCP44B | Dismantling the metallic constructions without recovering the materials | kg | 178.00 |  |  |
| 25 | CB01A | Formwork of resinous wood boards, for pouring the monoliths concrete between prefabricated elements (slabs, beams and diaphragms ) including support | m2 | 36.00 |  |  |
| 26 | CA03A | Cast concrete slabs , beams , columns , prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 5/4 ( Bc 5/B 75 ) | m3 | 14.00 |  |  |
| 27 | CA04A3 | Cast concrete slabs , beams , columns , prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 10/8 ( Bc 10 / B 150 ) at heights up to 35 m inclusively | m3 | 2.00 |  |  |
| 28 | CA02A2 | Cast concrete slabs , beams , columns , prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 5/4 ( Bc 5 / B 75 ) | m3 | 10.00 |  |  |
| 29 | CC02N2 | Reinforced concrete steel shaped in PC 52 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 240.00 |  |  |
| 30 | CG50A | Execution of concrete floor slabs 30x30x3 cm applied on adhesive | m2 | 52.00 |  |  |
| 31 | RpCK42C | Dismantling the floors of cold concrete tiles, marble, stone, ceramic tiles, etc. (central stairs) | m2 | 105.00 |  |  |
| 32 | CA03A2 | Cast concrete slabs , beams , columns , prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 5/4 ( Bc 5/B 75 ) | m3 | 2.10 |  |  |
| 33 | CB01A | Formwork of resinous wood boards, for pouring the monoliths concrete between prefabricated elements (slabs, beams and diaphragms ) including support | m2 | 12.40 |  |  |
| 34 | CC03A | Assembling sealed meshes at heights lower or equal to 35 m, for walls with diaphragms, with the wright of the meshes up to 3 kg/m2 | kg | 357.00 |  |  |
| 35 | RpCB15A | Rough-casting the surface of the stairs with primer type “Betongrund” or equivalent | m2 | 105.00 |  |  |
| 36 | CG01A | Supporting layer for flooring executed from cement mortar M 150-T of 2.5 cm thickness with delicately smoothed face | m2 | 105.00 |  |  |
| 37 | RpCL11A | Execution of concrete floor slabs 30x30x3 cm applied on adhesive on the existing support | m | 192.00 |  |  |
| 38 | CO07A | Steel metal fencing form profiling steel or ordinary model (the stair railing) | kg | 168.20 |  |  |
| 39 | CN21A | Painting the railings, grids and railing, executed with oil paints in 2 layers | m2 | 42.50 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Stairs Including salary |  |  |  |  |
|  |  | 1.2.2. Facade |  |  |  |  |
| 40 | RpCO56A | Dismantling of the wooden carpeting (doors, windows, shutter, rolls, cases, masks, etc.) | m2 | 10.64 |  |  |
| 41 | RpCM33B | Removing plywood from marble, stone, granite or similar | m2 | 777.60 |  |  |
| 42 | RpCJ35A | Clearing the exterior and interior coating from the walls and ceiling | m2 | 1,171.00 |  |  |
| 43 | CN53A | Coating the external surfaces of the walls with concrete primer “Betongrund” or equivalent | m2 | 1,171.00 |  |  |
| 44 | RpCJ12A | Exterior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 1,171.00 |  |  |
| 45 | RpCJ06B | Repairing the interior coating, around the cases and casing of the doors and windows, of 2 cm thickness, leveled, executed with cement-lime mortar of type 25 T, with right recesses in between 15 - 25 cm width. | m | 225.00 |  |  |
| 46 | IzF54A | External insulation of buildings with fine plaster on thermal insulation (rigid fixation systems of the thermal insulation), smooth wall surface with 35 EPS polystyrene plate of 10 cm thickness, and dips framing rock wool | m2 | 1,171.00 |  |  |
| 47 | CN54B | Manual application of the quartz primer type “Gleta" or equivalent in one layer, for the exterior walls of the facade. | m2 | 1,171.00 |  |  |
| 48 | CF30A | Exterior coating of 2-3 mm thickness, executed manually, with compound type “TINC” or equivalent mixture on the walls. | m2 | 1,171.00 |  |  |
| 49 | CN11A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 3 layers on facades executed on the existing fillings (for sills). | m2 | 90.00 |  |  |
| 50 | CK26B | Sills assembled at the windows from aluminum | m | 48.00 |  |  |
| 51 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 1,171.00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total facade Including salary |  |  |  |  |
|  |  | 1.2.3. Building covers |  |  |  |  |
| 52 | RpCO56A | Dismantling of the wooden carpeting (doors, windows, shutter, rolls, cases, masks, etc.) | m2 | 18.45 |  |  |
| 53 | CD55E | Limestone masonry blocks for the walls with height up to 4 m, 16.5 sq.m. | m3 | 2.35 |  |  |
| 54 | RpCP02A | Making metal doors from profile steel, with two leaves (S = 15.46 the doors will be spontaneous) | kg | 112.50 |  |  |
| 55 | RpCK01B1 | Repairing the supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face, for 3 coverings | m2 | 29.10 |  |  |
| 56 | RpCI16B | Repairing the aprons from galvanized steel or aluminum, with a maximum width of 20 cm unfolded and double wrists with sheets of 0.5 mm | m | 27.00 |  |  |
| 57 | RpCE01A | Priming the surfaces for applying the waterproof insulation, made with 2 layers of bituminous solution (cut bitumen) for repairing the horizontal or sloping balconies or terraces | m2 | 29.10 |  |  |
| 58 | RpCI34A2 | Covers for the roofs with modified bitumen membranes bonded with flame in bilayer system, on horizontal surface mounted on continuous support, for membranes in 2 layers | m2 | 29.10 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Coverings of the building Including salary |  |  |  |  |
|  |  | 1.2.4. Entry covering |  |  |  |  |
| 59 | RpCI42B | Removing the roof elements - roofing boards, asbestos-cement, PVC, cardboard , canvas , reeds , etc., including clipping the recoverable board | m2 | 21.00 |  |  |
| 60 | RpCP45A | Dismantling of metallic doors and windows | kg | 112.00 |  |  |
| 61 | CL08A | Ready-made metallic elements (columns, beams , trusses), supplied fully assembled, installed on the site, in lightweight construction structure 100x100x4 | t | 1.92 |  |  |
| 62 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete (screw anchors and supporters) | kg | 120.00 |  |  |
| 63 | CN22A | High quality paintings on metal surfaces executed with enamel | m2 | 32.50 |  |  |
| 64 | CE30A | Covers or valley roof covering from roofing tiles, Eternit type plates from rough wood planks (24 mm thick), in ordinary construction. The standards of the resources with value 2.5m (zero) are taken according to the design. | m2 | 76.80 |  |  |
| 65 | CE40A | Mounting frame beams elements (bars) | m3 | 0.72 |  |  |
| 66 | CE07A | Covering from imprinted board plates (roof tile) of 0.5 mm metal sheet for covering the roofs. Metallic tiles of "Monterrey" type or equivalent, thickness 0.5 mm | m2 | 76.80 |  |  |
| 67 | CE22A | Systems of brass-type tubing from anticorrosive protected board | m | 7.00 |  |  |
| 68 | CE20A | Systems of brass-type ditches from anticorrosive protected board | m | 25.40 |  |  |
| 69 | RpCH08A | Cornice boarding from aluminum thin boards with angles on the perimeter | m2 | 76.80 |  |  |
| 70 | CN16D | Painting with oil-based paints and lacs applied on the carpentry, executed with 2 layers of enamel for decking | m2 | 76.80 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Entry covering Including salary |  |  |  |  |
|  |  | 1.2.5. Basement |  |  |  |  |
| 71 | RpCM33B | Removing plywood from marble, stone, granite or similar | m2 | 32.50 |  |  |
| 72 | CN53A | Coating of exterior surfaces of walls with waterproof components with preventive cleaning of the surfaces | m2 | 32.50 |  |  |
| 73 | RpCK01B | Repairing the supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 32.50 |  |  |
| 74 | CI14A | Linear elements (sills) of stoneware plates applied with adhesive (width 20cm ledge) | m | 98.00 |  |  |
| 75 | CI07A | Plywood of matte pottery executed on flat surfaces on walls and pillars, including sills fixed with adhesive paste with alternating grouts and grouting with putty, in building where via the architectural design specific requirements are imposed for the architectural quality and value (stone “Cosauti” or equivalent of existing shape) | m2 | 32.50 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Basement Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Exterior works Including salary |  |  |  |  |
|  |  | 1.3. Interior works |  |  |  |  |
|  |  | 1.3.1. Walls |  |  |  |  |
| 76 | RpCM33E | Dismantling the MDF plates | m2 | 155.12 |  |  |
| 77 | RpCJ35A | Clearing the exterior and interior coating from the walls and ceiling | m2 | 965.06 |  |  |
| 78 | CD56A | Executing the dividing walls in mono-layer in gypsum plates with thickness of 10 cm, in premises with height of up to 4 m | 100 m2 | 0.17 |  |  |
| 79 | CF15A | Exterior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 965.06 |  |  |
| 80 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 941.54 |  |  |
| 81 | CF17C | Miscellaneous - fleece layer of fiberglass applied to the surface of pre-manufactured elements from autoclaved aerated concrete, bonded with glue, including the primer layer | m2 | 941.46 |  |  |
| 82 | CF57A | Manual application of the gypsum-based putty type "Eurofin" or equivalent with thickness 1,0 mm on the ceiling, walls and columns’ areas. | m2 | 941.54 |  |  |
| 83 | CN53A | Coating the internal surfaces of the walls and ceilings | m2 | 941.54 |  |  |
| 84 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually. | m2 | 941.54 |  |  |
| 85 | CI06C3 | Plywood with colorful tiles mounted in different colors and shapes mounted in the drawing, executed on flat surfaces of walls and pillars , including sills and edges , with alternating joints, in premises with an area exceeding 10 m2, fixed with adhesive for installation of plywood | m2 | 23.52 |  |  |
| 86 | CF54Af | Plating the walls with MDF tiles, mounted on the structure of galvanized profile: on flat surfaces, doors and windows sills only (norm: MDF plates 1.01m2/m2) | m2 | 77.00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Walls Including salary |  |  |  |  |
|  |  | 1.3.2. Flooring |  |  |  |  |
| 87 | RpCK41A | Dismantling the flooring from planks, cases, etc. (removing the floorings) | m2 | 56.11 |  |  |
| 88 | RpCK16A | Repairing the mosaic floors cast on the site, having the wear layer of 1.5 cm thickness, with dosage of 600 kg cement per cubic meter of mosaic stone, including the underlying layer of 3 cm thickness, made with cement mortar brand 100 -T, first rubbing, second scrubbing and washing, in rooms over 16 square meters, executed in continuous surface with mosaic of grained limestone, borderless, including rubbing 1 and 2 | m2 | 85.60 |  |  |
| 89 | RpCK29A | Waxing and polishing floors of tile, marble, crushed marble and granite, in rooms with larger area than 16 sqm | m2 | 85.60 |  |  |
| 90 | RpCL15A | Repairing concrete and mosaic steps on the site, executed roughly and with mosaic made of granulated stone (dosage 600 kg cement per cubic meter of stone mosaic), rubbed, with a 15 mm wear layer | m | 64.80 |  |  |
| 91 | CN53A | Coating the external surfaces of the walls with concrete primer | m2 | 30.20 |  |  |
| 92 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 30.20 |  |  |
| 93 | CG17D1 | Flooring from ceramic plates type “Porcelain for exterior” or equivalent, including the support layer from adhesive mortar executed on areas equal to or smaller than 16 m2 | m2 | 30.20 |  |  |
| 94 | RpCK10C | Oak parquetry scraping , executed mechanically, with abrasive disks | m2 | 412.04 |  |  |
| 95 | CG06A | Oak plinths cleaned and assembled on wooden dowels fixed with brass screws in premises with areas larger than 16 m2, horizontal plinths with maximum height of 15 cm for walls | m | 149.80 |  |  |
| 96 | CN16A | Painting with oil-based paints and lacs applied on the carpentry from wood, executed with 3 layers of oil-based paints for doors and windows already with primer. | m2 | 412.04 |  |  |
| 97 | CG08A | Plastic coatings mounted on existing support, cleaned , including PVC skirting boards in premises with areas larger than 16 m2, with PVC carpet soldered with glue | m2 | 13.50 |  |  |
| 98 | RpCR23A | Painting in oil colors the railings, grids and metal parapets, in two coats of paint | m2 | 42.50 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Flooring Including salary |  |  |  |  |
|  |  | 1.3.3. Ceilings |  |  |  |  |
| 99 | RpCJ35A | Clearing the exterior and interior coating from the walls and ceiling | m2 | 174.80 |  |  |
| 100 | CN53A | Coating the internal surfaces of the walls and ceilings | m2 | 174.80 |  |  |
| 101 | CF52B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for the ceiling, manual preparing of the mortar | m2 | 174.80 |  |  |
| 102 | CF57A | Manual application of the gypsum-based putty type "Eurofin" or equivalent thickness 1,0 mm on the ceiling, walls and columns’ areas. | m2 | 174.80 |  |  |
| 103 | CN53A | Coating the internal surfaces of the walls and ceilings | m2 | 174.80 |  |  |
| 104 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually. | m2 | 174.80 |  |  |
| 105 | CK29F | Suspended ceiling from pre-manufactured panels "Armstrong" or equivalent, including the system-grid second floor | m2 | 188.00 |  |  |
| 106 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 188.00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Ceilings Including salary |  |  |  |  |
|  |  | 1.3.4. Carpentry |  |  |  |  |
| 107 | RpCO56A | Dismantling of the wooden carpeting (doors) | m2 | 27.10 |  |  |
| 108 | RpCP44B | Dismantling the metallic constructions without recovering the materials | kg | 42.00 |  |  |
| 109 | CK03A | Wooden interior doors within one leaf, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m, offices at the first floor | m2 | 11.40 |  |  |
| 110 | CK03A | Wooden interior doors within one leaf, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m, events’ hall | m2 | 6.72 |  |  |
| 111 | CK03A | Wooden interior doors within one leaf, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m, administrator’s office | m2 | 2.88 |  |  |
| 112 | CK03A | Wooden interior doors within one leaf, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m, events’ hall - exit door | m2 | 4.20 |  |  |
| 113 | CK25A | Doors made of plastic profiles, including the casement and the necessary accessories for assembling doors in any type of constructions with the height up to 35 m inclusively with the surface of the case up to 7 m2 inclusively -WC | m2 | 1.90 |  |  |
| 114 | RpCR23A | Painting in oil colors the railings, grids and metal parapets, in two coats of paint - the current mine of the stairs | m2 | 12.70 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Carpentry Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Interior works Including salary |  |  |  |  |
|  |  | 1.4. Arranging the backyard territory |  |  |  |  |
| 115 | RpDB37A | Scouring the asphalt up to 3 cm thick, made of permanent asphalt carpets, asphalt cement or asphalt mortar | m2 | 152.60 |  |  |
| 116 | TsC02B1 | Mechanic digging with pneumatic excavator of 0,21-0,39 m3, with hydraulic command, in grounds with natural humidity, and unloading on the field storage of cat. II. | 100 m3 | 0.67 |  |  |
| 117 | TsI50A6 | Transportation of the ground with the dumper at a distance of 6 km | t | 95.60 |  |  |
| 118 | TsA03C | Manual excavation of land in confined spaces , having 1.00 m in width , made without support , with sloping embankment foundations , channels , etc. , cohesive or poorly cohesive, consistent land , up to 0.75 m deep hard ground | m3 | 15.84 |  |  |
| 119 | RpDD01A | Foundation or re-profiling layer from crushed stone, for roads with manual covering, executed with wedging or renewal | m3 | 62.60 |  |  |
| 120 | CO03A | Edging for sidewalks based on mortar of M 100-T of 5 cm thick, on a concrete foundation, class C 5/4 of about 15 cm thick, with joints filled with mortar | m | 110.00 |  |  |
| 121 | DE17B | Pavement made of precast concrete paving slabs laid on a layer of dry cement and sand mixture in the proportion 1: 3 , embroidered with dry mixture of cement and sand , 10 cm thick layer of paving material of the Beneficiary | m2 | 192.60 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total Arranging the backyard territory Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Social and health insurance | 27.5 % |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit costs | % |  |  |  |
|  |  | Total General repairing works Including salary |  |  |  |  |
|  |  | 2. Electricity |  |  |  |  |
| 122 | RpEG02A | Mounting the electrical panel on metallic shelves, modulated with mask, on the wall or in the corbel, having an area up to 0,30 m2 | piece | 2.00 |  |  |
| 123 | RpEE09D1 | Installation of contactors (breakers) three-polar automates, bursting with oil, capsulated, mounted on wooden dowels or plastic consoles (consoles only ) , connected to copper or aluminum contactors, 160/400 A, AC -3 DITA or similar. For automates with oil breaking contacts | piece | 2.00 |  |  |
| 124 | RpEJ05B | Tests, verifications and adjustments to the electrical three-pole automates up to 500 A | piece | 2.00 |  |  |
| 125 | RpEE03A | Assembling bipolar sockets in normal constructions from bakelite or amino-plastic, double, water-proof construction, seals, metallic or similar seals, assembled under coating or visibly on the wood or plastic gimlets | piece | 20.00 |  |  |
| 126 | RpEF15E | Mounting fluorescent light fittings, type CIT 220 W or equivalent, without tube | piece | 50.00 |  |  |
| 127 | RpEF01B | Assembling the light fittings on ceiling, fully equipped. | piece | 12.00 |  |  |
| 128 | RpEF12A | Mounting lamps (bulbs): incandescent bulbs. or equivalent | piece | 24.00 |  |  |
| 129 | RpEF12B | Mounting lamps (bulbs): incandescent, fluorescent tubes or equivalent | piece | 200.00 |  |  |
| 130 | RpEE01A | Mounting unipolar or bipolar switches 10-25 A, of normal construction, sealed in waterproof aminoplast carcass, bakelite, metal or porcelain recessed or surface mounted on wooden dowels or plastic, with copper or aluminum connectors | piece | 13.00 |  |  |
| 131 | RpEA05B | Assembling the insulating, light flexible tube with flexible covering of plastic material (IPFY), with the diameter over 25 mm | m | 87.00 |  |  |
| 132 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 16 mm2 3x4 copper | m | 168.00 |  |  |
| 133 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 16 mm2 3x2.5 copper | m | 628.00 |  |  |
| 134 | RpEE01A | Mounting unipolar or bipolar switches 10-25 A, of normal construction, sealed in waterproof aminoplast carcass, bakelite, metal recessed or surface mounted on wooden dowels or plastic, with copper or aluminum connectors | piece | 20.00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Total Electricity Including salary |  |  |  |  |
|  |  | 3. Equipment (chairs) |  |  |  |  |
| 135 | Market price | Chair for the events’ hall of type model Ideal LS13601 or equivalent parameters | piece | 385.00 |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Total Equipment (chairs) Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |