| Educational, socio-cultural and sport services provided by the complex in Varnita village | Form No.7 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 01

Construction works

Concluded based on current prices as of 13.09.2015

| No. | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, lei |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
|  |  | 1.1. ASCLEPIO CENTER |  |  |  |  |
|  |  | 1.1.1. Carpentry |  |  |  |  |
| 1 | RpCO56A | Dismantling of the wooden carpeting (windows) | m2 | 93,40 |  |  |
| 2 | RpCO56A | Dismantling of the wooden carpeting (doors) | m2 | 1,89 |  |  |
| 3 | CK23C | Plastic windows with one or more leafs with heights up to 35 m inclusively, having an area of the casement of over 2,5 m2 profile with 5 chambers, low-E glass | m2 | 93,40 |  |  |
| 4 | CK25A | Doors made of plastic profiles, including the casement and the necessary accessories for assembling doors in any type of constructions with the height up to 35 m inclusively, in one wing, with the surface of the case up to 7 m2 inclusively (U1 = 0.9x2.1 - 1 piece, external doors) | m2 | 1,89 |  |  |
| 5 | CK33C | Yalle system applied lock | piece | 1,00 |  |  |
| 6 | CK26A | Sills assembled at the windows from plastic (L=35cm) | m | 58,40 |  |  |
| 7 | CK26B | Sills assembled at the windows from aluminum (L 25cm) | m | 58,40 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Carpentry Including salary |  |  |  |  |
|  |  | 1.1.2. Internal repairing works |  |  |  |  |
| 8 | RpCJ35A | Clearing the interior coating from the walls and ceiling | m2 | 535,00 |  |  |
| 9 | CF15A | Interior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 535,00 |  |  |
| 10 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 535,00 |  |  |
| 11 | CF17C | Miscellaneous - fleece layer of fiberglass applied to the surface of pre-manufactured elements from autoclaved aerated concrete, bonded with glue, including the primer layer | m2 | 535,00 |  |  |
| 12 | CF57A | Manual application of the gypsum-based putty "Eurofin" or equivalent thickness 1,0 mm on the ceiling, walls and columns’ areas. | m2 | 535,00 |  |  |
| 13 | CN53A | Coating the internal surfaces of the walls and ceilings | m2 | 535,00 |  |  |
| 14 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually. | m2 | 535,00 |  |  |
| 15 | RpCJ06C | Repairing the exterior coating, around the cases and casing of the doors and windows, of 2 cm thickness, leveled, executed with cement-lime mortar of type 25 T, with straight recesses in between 25 - 35 cm width. | m | 272,00 |  |  |
| 16 | CF50B | Exterior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar (sills) | m2 | 81,50 |  |  |
| 17 | CN53A | Coating the exterior surfaces of the walls (sills) | m2 | 81,50 |  |  |
| 18 | CF57A | Manual application of the gypsum-based putty "Eurofin" or equivalent thickness 1,0 mm on the ceiling, walls and columns’ areas. | m2 | 81,50 |  |  |
| 19 | CN53A | Coating the exterior surfaces of the walls (sills) | m2 | 81,50 |  |  |
| 20 | CN06A | Exterior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually (sills) | m2 | 81,50 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Interior repairing works Including salary |  |  |  |  |
|  |  | 1.1.3. Exterior works |  |  |  |  |
|  |  | 1.1.3.1. Facade |  |  |  |  |
| 21 | RpCM33B | Removing plywood from marble, stone, granite or similar | m2 | 37,60 |  |  |
| 22 | RpCJ35A | Clearing the exterior coating from the walls and ceiling | m2 | 890,00 |  |  |
| 23 | CN53A | Coating the external surfaces of the walls with concrete primer | m2 | 890,00 |  |  |
| 24 | RpCJ12A | Exterior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 890,00 |  |  |
| 25 | IzF54A | External insulation of buildings with fine plaster on thermal insulation (rigid fixation systems of the thermal insulation), smooth wall surface: with mineral wool 10 cm thickness, a density higher than 135 kg/m3, | m2 | 890,00 |  |  |
| 26 | CN54B | Manual application of the quartz ground “Gleta" or equivalent in one layer, for the exterior walls of the facade. | m2 | 890,00 |  |  |
| 27 | CF30A | Exterior coating of 2-3 mm thickness, executed manually, with “TINC” or equivalent mixture on the walls. | m2 | 890,00 |  |  |
| 28 | CN11A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 3 layers on facades executed on the existing fillings (for sills). | m2 | 90,00 |  |  |
| 29 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 890,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Facade Including salary |  |  |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Exterior works Including salary |  |  |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total ASCLEPIO CENTER Including salary |  |  |  |  |
|  |  | 1.2. School stadium |  |  |  |  |
| 30 | TsA28B | Manual cleaning of the slag from the stadium | m3 | 64,00 |  |  |
| 31 | DB14A | The base layer of asphalt hot-made mix, with manual covering | t | 240,00 |  |  |
| 32 | DB15D | Clothing mortar asphalt, cold-made, with filtered modified bitumen suspension (subif) 4.0 cm thick | m2 | 1 600,00 |  |  |
| 33 | RpCJ35A | Clearing the exterior and interior coating from the walls and ceiling | m2 | 239,00 |  |  |
| 34 | CF15A | Exterior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 239,00 |  |  |
| 35 | CN53A | Coating the external surfaces of the walls | m2 | 239,00 |  |  |
| 36 | CF11A | Exterior coating sprayed on brick or concrete masonry (with the machine or broom) with the thickness of 3 cm, executed manually, with cement-lime mortar M 50-T for sprit and lime-cement mortar M 25-T for the ground or continuously visible layer | m2 | 239,00 |  |  |
| 37 | CN11A | Exterior painting with paints based on vinyl copolymers in water emulsion, applied in 3 layers on the facade executed on the existing sill | m2 | 239,00 |  |  |
| 38 | CN25A | Paint on metal surfaces made ​​with anticorrosion mono-component paint based on natural asphalt, oils, fibers, aluminum pigments and solvents applied in 2 coats manually (painting the pipes) | m2 | 149,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total School stadium Including salary |  |  |  |  |
|  |  | 1.3. Big Fence No. 1 |  |  |  |  |
| 39 | RpCS20F | Dismantling the pre-manufactured fencing of 1.5 - 2.0m height | m | 40,00 |  |  |
| 40 | CO07A | Steel metal fencing form profiling steel | kg | 2 926,00 |  |  |
| 41 | CE06A | Anticorrosive protected and profiled board covers, curled or wrinkled, mounted on metal blades, executed on areas wider than 40 m2 with sheets of profiled board with fastening clasps and special mechanical screw, on the top flange, including the execution of valleys, aprons, connections to baskets etc. | m2 | 488,40 |  |  |
| 42 | CK14A | Metal gates with profiles of ready-made round steel, including necessary accessories, mounted on the poles of reinforced concrete | m2 | 6,24 |  |  |
| 43 | CK14A | Metal entryway with profiles of ready-made round steel, including necessary accessories, mounted on the poles of reinforced concrete | m2 | 1,70 |  |  |
| 44 | TsA02E | Manual excavation of land in confined spaces , having 1.00m or more in width, made without support, with sloping embankment foundations, channels, basements, drainage ways, stairs, in very cohesive or medium cohesive ground, with a depth up to 1.5 m middle ground | m3 | 4,20 |  |  |
| 45 | CA03B3 | Cast concrete slabs, beams, columns, walls under zero quota, prepared manually, and poured with classical means of simple concrete Class C 10/8 ( Bc 10/B 150 ) | m3 | 4,20 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Big Fence No. 1 Including salary |  |  |  |  |
|  |  | 1.4. Small Fence No. 2 |  |  |  |  |
| 46 | RpCS20E | Dismantling the pre-manufactured fencing of 1.20 height | m | 200,00 |  |  |
| 47 | CO07A | Steel metal fencing form profiling steel, ordinary model | kg | 2 451,00 |  |  |
| 48 | CK14A | Metal gates with profiles of ready-made round steel, including necessary accessories, mounted on the poles of reinforced concrete | m2 | 6,24 |  |  |
| 49 | CK14A | Metal entryway with profiles of ready-made round steel, including necessary accessories, mounted on the poles of reinforced concrete | m2 | 3,40 |  |  |
| 50 | CN25A | Paint on metal surfaces made with anticorrosion mono-component paint based on natural asphalt, oils, fibers, aluminum pigments and solvents applied in 2 coats manually | m2 | 130,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Small Fence No. 2 Including salary |  |  |  |  |
|  |  | 1.5. Sport field and raceways for the school |  |  |  |  |
|  |  | 1.5.1. Sport field for the school |  |  |  |  |
| 51 | TsC18A1 | Mechanic digging with bulldozer on the crawler 65-80 CP, including the pushing of the ground up to 10m, in fields of category 1 | 100 m3 | 0,86 |  |  |
| 52 | TsC22A1 k=4 | Increase in use of hours-equipment art. TsC18, TsC19, TsC20 and TsC21, for transporting the ground for each additional 10 m, exceeding the distance envisaged for the respective items TSC18A1 for grounds of category I | 100 m3 | 0,86 |  |  |
| 53 | TsA02A | Manual excavation of land in confined spaces , having under 1.00m or over 1.00 m in width, made without support, with sloping embankment foundations , channels, basements, stairs, in non-cohesive or poorly cohesive land, up to 0.75 m light ground | m3 | 18,60 |  |  |
| 54 | TsD01A | Spreading with the shovel of light earth in uniform layers, 10-30 cm thick, with a throw of up to 3 m of piles , including smashing of earth bolls from light ground | m3 | 52,00 |  |  |
| 55 | TsD05A | Compaction with the mechanical knocker of 150-200 kg filling in the successive layers of 20-30 cm thickness, excluding the watering of every layer separately, the earth fillings being executed from non-cohesive ground | 100 m3 | 1,90 |  |  |
| 56 | TsC54C | Gravel layer fr 40 100 mm | m3 | 62,00 |  |  |
| 57 | TsC54C | Gravel layer fr 20 50 mm | m3 | 31,00 |  |  |
| 58 | CA02B3 | Simple concrete poured in slabs , beams , columns at the height of 35 m inclusively, prepared manually with pouring with classical means of concrete Class C 10/8 ( Bc 10 / B 150 ) | m3 | 19,00 |  |  |
| 59 | DE17A | Pavement made of precast concrete paving b=5cm slabs laid on a layer of dry cement and sand mixture in the proportion 1: 3 , embroidered with dry mixture of cement and sand , 5 cm thick layer | m2 | 190,00 |  |  |
| 60 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete | kg | 992,20 |  |  |
| 61 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate. The framework under covers. | kg | 7 641,40 |  |  |
| 62 | CN20B | Internal or external painting applied for the metal carpentry with alkyd enamel in 2 layers , including the plaster | m2 | 253,32 |  |  |
| 63 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs (Lindab type) | m2 | 105,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Sport field for the school Including salary |  |  |  |  |
|  |  | 1.5.2. Raceways |  |  |  |  |
| 64 | RCsS19E | Dismantling the borders and pavements executed from asphalt, poured on concrete | m2 | 45,00 |  |  |
| 65 | TsA02A | Manual excavation of land in confined spaces , having under 1.00m or over 1.00 m in width, made without support, with sloping embankment foundations , channels, basements, stairs, in non-cohesive or poorly cohesive land, up to 0.75 m light ground | m3 | 46,80 |  |  |
| 66 | TsD01A | Spreading with the shovel of light earth in uniform layers, 10-30 cm thick, with a throw of up to 3 m of piles , including smashing of earth bolls from light ground | m3 | 23,00 |  |  |
| 67 | TsD05A | Compaction with the mechanical knocker of 150-200 kg filling in the successive layers of 20-30 cm thickness, excluding the watering of every layer separately, the earth fillings being executed from non-cohesive ground | 100 m3 | 0,16 |  |  |
| 68 | TsC54A | Foundation layer of sand | m3 | 23,40 |  |  |
| 69 | TsC54B | Foundation layer from crushed stone | m3 | 15,60 |  |  |
| 70 | DE17A | Pavement made of precast concrete paving slabs laid on a layer of dry cement and sand mixture in the proportion 1: 3 , embroidered with dry mixture of cement and sand , 5 cm thick layer | m2 | 156,00 |  |  |
| 71 | DE10A | Pre-manufactured concrete borders, for pavements 20x25 cm, on concrete foundation 30x15 cm | m | 270,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Raceways Including salary |  |  |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Sport field and raceways for the school Including salary |  |  |  |  |
|  |  | 1.6. Sport field for the kindergarten |  |  |  |  |
| 72 | TsA02A | Manual excavation of land in confined spaces , having under 1.00m or over 1.00 m in width, made without support, with sloping embankment foundations , channels, basements, stairs, in non-cohesive or poorly cohesive land, up to 0.75 m light ground | m3 | 76,00 |  |  |
| 73 | TsD01A | Spreading with the shovel of light earth in uniform layers, 10-30 cm thick, with a throw of up to 3 m of piles , including smashing of earth bolls from light ground | m3 | 56,00 |  |  |
| 74 | TsG08A | Cutting with mechanic sawing the coniferous trees, including manual transportation of the wood to warehouses, outside or within the site territory, the trees having a diameter of 10 ... 30 cm | piece | 1,00 |  |  |
| 75 | TsG07D | Removing manually the stubs of hardwood and fir, and transportation of timber to warehouses, outside or within the site area, the transportation being carried out manually, for the stubs or roots of a diameter over 70 cm | piece | 4,00 |  |  |
| 76 | TsD05A | Compaction with the mechanical knocker of 150-200 kg filling in the successive layers of 20-30 cm thickness, excluding the watering of every layer separately, the earth fillings being executed from non-cohesive ground | 100 m3 | 1,90 |  |  |
| 77 | TsC54A | Foundation layer of sand | m3 | 28,50 |  |  |
| 78 | TsC54B | Foundation layer from crushed stone | m3 | 67,00 |  |  |
| 79 | CA02B3 | Simple concrete poured in slabs , beams , columns at the height of 35 m inclusively, prepared manually with pouring with classical means of concrete Class C 10/8 ( Bc 10 / B 150 ) | m3 | 19,00 |  |  |
| 80 | DE17A | Pavement made of precast concrete paving slabs laid on a layer of dry cement and sand mixture in the proportion 1: 3 , embroidered with dry mixture of cement and sand , 5 cm thick layer | m2 | 324,00 |  |  |
| 81 | CL01A | Ready-made steel pylons, delivered fully assembled, mounted at heights up to 35 m, having up to 1t inclusively | t | 7,00 |  |  |
| 82 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete | kg | 700,00 |  |  |
| 83 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs (Lindab type) | m2 | 105,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Sport field for the kindergarten Including salary |  |  |  |  |
|  |  | 1.7. Outdoors WC |  |  |  |  |
|  |  | 1.7.1. Flooring |  |  |  |  |
| 84 | RpCK42C | Dismantling the floors of cold concrete tiles, marble, stone, ceramic tiles, etc. | m2 | 30,00 |  |  |
| 85 | CG01A K=2 | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 30,00 |  |  |
| 86 | CG17D1 | Flooring from ceramic plates “Porcelain for exterior”, including the support layer from adhesive mortar executed on areas equal to or smaller than 16 m2 | m2 | 30,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Flooring Including salary |  |  |  |  |
|  |  | 1.7.2. Walls |  |  |  |  |
| 87 | RpCJ35A | Clearing the exterior and interior coating from the walls and ceiling | m2 | 126,00 |  |  |
| 88 | CF15A k=2 | Exterior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 126,00 |  |  |
| 89 | CN53A | Coating the internal surfaces of the walls | m2 | 66,50 |  |  |
| 90 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 66,50 |  |  |
| 91 | CF17C | Miscellaneous - fleece layer of fiberglass applied to the surface of pre-manufactured elements from autoclaved aerated concrete, bonded with glue, including the primer layer | m2 | 66,50 |  |  |
| 92 | CF57A | Manual application of the gypsum-based putty "Eurofin" thickness 1,0 mm on the ceiling, walls and columns’ areas. | m2 | 66,50 |  |  |
| 93 | CN53A | Coating the internal surfaces of the walls | m2 | 66,50 |  |  |
| 94 | RpCR07A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually - walls | m2 | 66,50 |  |  |
| 95 | CI06C | Plywood glass glazed, unglazed, matte or glossy tiles of the same color and form with dimensions of 15 x 15 cm to 30 x 30, executed on flat surfaces of walls and pillars , including sills and edges , with alternating joints, in premises with an area exceeding 10 m2, fixed with adhesive for installation of plywood | m2 | 59,50 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Walls Including salary |  |  |  |  |
|  |  | 1.7.3. Pathway and stairs to the WC |  |  |  |  |
| 96 | RpCL14A | Repairing the stairs from concrete Bc 7.5 (B 100), poured on the site, executed roughly so as to be plated | m | 8,00 |  |  |
| 97 | CG17D1 | Flooring from ceramic plates “Porcelain for exterior”, including the support layer from adhesive mortar executed on areas equal to or smaller than 16 m2 (portelanat exterior gr 12mm) | m2 | 10,00 |  |  |
| 98 | CI14B | Linear elements of stoneware plates applied with adhesive | m | 15,40 |  |  |
| 99 | CH06A | Current metal mine mounted on 15 cm pylons, spaced at distances of 1 .... 1.2 m provided with welded rings , fixed to a brick wall or concrete parapet, made of steel pipes D=1 1/4” and laminated steel, on the right | m | 22,00 |  |  |
| 100 | CL17B | Various metal garments, mounted visibly: rail , grids, manhole covers, snow stops, grills, non-slip elements on stairs | kg | 22,00 |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Pathway and stairs to the WC Including salary |  |  |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Total Outdoors WC Including salary |  |  |  |  |
|  |  | Total | Lei | Lei |  |  |
|  |  | Social and health insurance | % |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Total Construction works Including salary |  |  |  |  |
|  |  | 2. Equipment |  |  |  |  |
|  |  | 2.1. For the sport field for School |  |  |  |  |
| 101 | Market price | Fitness device - bicycle of type model LKCF 2218 or equivalent parameters | piece | 2,00 |  |  |
| 102 | Market price | Fitness device - for rowing bicycle of type model SG 111 or equivalent parameters | piece | 2,00 |  |  |
| 103 | Market price | Fitness device - for abdomen bicycle of type model LKCF 114 or equivalent parameters | piece | 1,00 |  |  |
| 104 | Market price | Fitness device - to push with the legs bicycle of type model LKCF 0676 or equivalent parameters | piece | 1,00 |  |  |
| 105 | Market price | Fitness device - double for modelling the waist bicycle of type model SL 114 or equivalent parameters | piece | 2,00 |  |  |
| 106 | Market price | Fitness device - to push horizontally bicycle of type model LKCF 1075 or equivalent parameters | piece | 2,00 |  |  |
| 107 | Market price | Fitness device - double of type model SL 126 or equivalent parameters | piece | 1,00 |  |  |
| 108 | Market price | Fitness device - Air Walker of type model SL 142 or equivalent parameters | piece | 1,00 |  |  |
| 109 | Market price | Fitness device - double for abdomen of type model SL 109or equivalent parameters | piece | 1,00 |  |  |
| 110 | Market price | Fitness device - double for the abdomen ”Anatomic” of type model SL 129 or equivalent parameters | piece | 1,00 |  |  |
| 111 | Market price | Fitness device - Horse Raider of type model SL 110 or equivalent parameters | piece | 2,00 |  |  |
| 112 | Market price | Fitness device - for biceps muscles of type model SL 101 or equivalent parameters | piece | 1,00 |  |  |
| 113 | Market price | Fitness device - “Orbitrec” of type model LKCF 0528 or equivalent parameters | piece | 2,00 |  |  |
| 114 | Market price | Fitness device - double “Parallel Bars” of type model SG 110 or equivalent parameters | piece | 1,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total For the sport field for School Including salary |  |  |  |  |
|  |  | 2.2. For the sport field for Kindergarten |  |  |  |  |
| 115 | Market price | Basketball panel | piece | 2,00 |  |  |
| 116 | Market price | Gymnastics bench (L = 3.0 m) | piece | 2,00 |  |  |
| 117 | Market price | Mattress for gymnastics (2x2m b=15cm) | piece | 2,00 |  |  |
| 118 | Market price | Carousel of type model DIO 30 or equivalent parameters | piece | 3,00 |  |  |
| 119 | Market price | Little house for children of type model LKB 1934 or equivalent parameters | piece | 6,00 |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total For the sport field for Kindergarten Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Total Equipment Including salary |  |  |  |  |
|  |  | Total | Lei |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |