| Repairing works of the Culture Hall building in Rascov village, Camenca rayon | Form No.7 WinСmeta |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1

Repairing works

Concluded based on current prices as of 18.10.2015

| No. | Symbol of the norm and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, lei |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. General repairing works |  |  |  |  |
|  |  | 1.1. Roof |  |  |  |  |
| 1 | RpCI42B | Dismantling roof elements – asbestos-cement cover and afferent elements | m2 | 1 893,00 |  |  |
| 2 | RpCH32C | Removing the wooden roof elements - deck roof covering without recovery of materials | m2 | 1 893,00 |  |  |
| 3 | IzA06A | Anti-corrosion paint on metal joinery, metal construction with enamel (one layer of minium primer, one layer of color primer and three layers of enamel) (metallic stables) | m2 | 902,00 |  |  |
| 4 | RpCH02A | Resinous wooden framing, on simple roofs, with one with up to 4 slopes, for tile covering, from square timber, for light roofs | m2 | 125,70 |  |  |
| 5 | CE41A | Assembling spars with antiseptic treatment | m3 | 1,20 |  |  |
| 6 | RpCH07A1 | Repairing the revetment of the covering of resinous boards, of 24 mm width, executed via replacement of the broken revetment with boards for usual constructions, for total replacement of the revetment | m2 | 1 893,00 |  |  |
| 7 | CE17A | Additional polymeric layer anticondens membrane assembled under the tile covering layer | m2 | 1 893,00 |  |  |
| 8 | CE07A | Covering from imprinted board plates (roof tile) of 0.5 mm for covering the roofs. Metallic tiles of "Monterrey" type or equivalent, thickness 0.5 mm (board norm =1.22m2) | m2 | 1 893,00 |  |  |
| 9 | CN50C | Fireproofing treatment of the carpentry, stave-based screen for coverings and revetment. | 100 m2 | 18,93 |  |  |
| 10 | CN51F | Antiseptic treatment of the carpentry, on apparent areas with antiseptic paste: needling, ribs. | 100 m2 | 18,93 |  |  |
| 11 | CK17A | Paneling executed on the site in quantities over 10 m2 from resinous timber, in panels plates (gables) | m2 | 224,00 |  |  |
| 12 | CN16D | Painting with oil-based paints applied on the carpentry, executed with 2 layers of enamel for decking | m2 | 224,00 |  |  |
| 13 | CE22A | Systems of brass-type tubing from anticorrosive protected board D=150 mm rain downpipe | m | 112,00 |  |  |
| 14 | CE20A | Systems of brass-type ditches from anticorrosive protected board D= 150 mm rain gutter | m | 182,00 |  |  |
| 15 | RpCH08B | Cornice boarding from resinous boards rasped and rabbeted on one side, with the initial thickness of 24 mm, including the necessary fascia boards from pine boards with thickness of 28 mm, rasped on both side with apparent consoles, rasped and profiled. Wooden panels | m2 | 168,00 |  |  |
| 16 | CN16D | Painting with oil-based paints applied on the carpentry, executed with 2 layers of enamel for decking | m2 | 168,00 |  |  |
| 17 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours), including for painting the metallic stables | m2 | 1 234,00 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Roof Including salary |  |  |  |  |
|  |  | 1.2. Exterior works |  |  |  |  |
|  |  | 1.2.1. Stairs (of the back facade) |  |  |  |  |
| 18 | RpCB18B | Demolishing the old concrete with manual means, foundations and elevations with a dosing up to 150 kg/mc (back stairs) | m3 | 16,70 |  |  |
| 19 | RpCP44B | Dismantling the metallic constructions without recovering the materials | kg | 178,00 |  |  |
| 20 | CB01A | Formwork of resinous wood boards, for pouring the monoliths concrete between prefabricated elements (slabs, beams and diaphragms ) including support | m2 | 136,00 |  |  |
| 21 | CA03A | Cast concrete slabs , beams , columns , prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 5/4 ( Bc 5/B 75 ) | m3 | 14,00 |  |  |
| 22 | CA04A3 | Cast concrete slabs , beams , columns , prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 10/8 ( Bc 10 / B 150 ) at heights up to 35 m inclusively | m3 | 3,42 |  |  |
| 23 | CA02A2 | Cast concrete slabs , beams , columns , prepared with the concrete plant and pouring with classical means of reinforced concrete Class C 5/4 ( Bc 5 / B 75 ) | m3 | 6,70 |  |  |
| 24 | CC02N2 | Reinforced concrete steel shaped in PC 52 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork (D 12mm AIII) | kg | 1 240,00 |  |  |
| 25 | CG50A | Execution of concrete floor slabs 30x30x3 cm applied on adhesive | m2 | 205,00 |  |  |
| 26 | CC03A | Assembling sealed meshes at heights lower or equal to 35 m, for walls with diaphragms, with the wright of the meshes up to 3 kg/m2 | kg | 357,00 |  |  |
| 27 | CO07A | Steel metal fencing form profiling steel or ordinary model (the stair railing) | kg | 88,20 |  |  |
| 28 | CN21A | Painting the railings, grids and railing, executed with oil paints in 2 layers | m2 | 42,50 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Stairs (of the back facade) Including salary |  |  |  |  |
|  |  | 1.2.2. Facade |  |  |  |  |
| 29 | RpCO56A | Dismantling of the wooden carpeting (doors, windows, shutter, rolls, cases, masks, etc.) | m2 | 84,50 |  |  |
| 30 | RpCJ35A | Clearing the exterior coating from the walls and ceiling | m2 | 763,00 |  |  |
| 31 | CN53A | Coating the external surfaces of the walls with concrete primer | m2 | 763,00 |  |  |
| 32 | RpCJ12A | Exterior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 763,00 |  |  |
| 33 | RpCJ06B | Repairing the exterior coating, around the cases and casing of the doors and windows, of 2 cm thickness, leveled, executed with cement-lime mortar of type 25 T, with right recesses in between 15 - 25 cm width. | m | 185,00 |  |  |
| 34 | CN54B | Manual application of the quartz ground “Gleta" or equivalent in one layer, for the exterior walls of the facade. | m2 | 1 488,00 |  |  |
| 35 | CF30A | Exterior coating of 2-3 mm thickness, executed manually, with “TINC” or equivalent mixture on the walls. | m2 | 1 488,00 |  |  |
| 36 | CN11A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 3 layers on facades executed on the existing fillings (for sills). | m2 | 74,00 |  |  |
| 37 | CK26B | Sills assembled at the windows from aluminum | m | 185,00 |  |  |
| 38 | CB14A | Tubular metallic scaffold for works of vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 1 488,00 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Facade Including salary |  |  |  |  |
|  |  | 1.2.3. Covering at the back/lateral entry |  |  |  |  |
| 39 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete (screw anchors and supporters) | kg | 220,00 |  |  |
| 40 | CN22A | High quality paintings on metal surfaces executed with enamel | m2 | 52,50 |  |  |
| 41 | CE30A | Covers or valley roof covering from roofing tiles, Eternit type plates from rough wood planks (24 mm thick), in ordinary construction. The standards of the resources with value 2.5m are taken according to the design. | m2 | 32,80 |  |  |
| 42 | CE07A | Covering from imprinted board plates (roof tile) of 0.5 mm for covering the roofs. Metallic tiles of "Monterrey" type or equivalent, thickness 0.5 mm | m2 | 32,80 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Covering at the back/lateral entry Including salary |  |  |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Exterior works Including salary |  |  |  |  |
|  |  | 1.3. Interior works |  |  |  |  |
|  |  | 1.3.1. Walls |  |  |  |  |
| 43 | RpCM33E | Dismantling the MDF plates | m2 | 225,00 |  |  |
| 44 | RpCJ35A | Clearing the interior coating from the walls and ceiling | m2 | 942,00 |  |  |
| 45 | CF15A | Interior plastering trowel, executed in cement mortar M 100-T of 2 cm average thickness, for walls from concrete or bricks, with plain surfaces | m2 | 942,00 |  |  |
| 46 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 942,00 |  |  |
| 47 | CF17C | Miscellaneous - fleece layer of fiberglass applied to the surface of pre-manufactured elements from autoclaved aerated concrete, bonded with glue, including the primer layer | m2 | 942,00 |  |  |
| 48 | CF57A | Manual application of the gypsum-based putty "Eurofin" or equivalent thickness 1,0 mm on the ceiling, walls and columns’ areas. | m2 | 942,00 |  |  |
| 49 | CN53A | Coating the internal surfaces of the walls and ceilings | m2 | 942,00 |  |  |
| 50 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually. | m2 | 942,00 |  |  |
| 51 | CF54A | Plating the walls with MDF tiles, mounted on the structure of galvanized profile: on flat surfaces, doors and windows sills only (norm: MDF plates 1.01m2/m2) | m2 | 65,30 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Walls Including salary |  |  |  |  |
|  |  | 1.3.2. Flooring |  |  |  |  |
| 52 | CN53A | Coating the internal surfaces of the flooring with concrete primer | m2 | 785,00 |  |  |
| 53 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 785,00 |  |  |
| 54 | CG08A | Plastic coatings mounted on existing support, cleaned , including PVC skirting boards in premises with areas larger than 16 m2, with PVC carpet soldered with glue | m2 | 785,00 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Flooring Including salary |  |  |  |  |
|  |  | 1.3.3. Ceilings |  |  |  |  |
| 55 | СF59I | Coating the surfaces with a layer of plasterboards executing the simple plain metallic carcass, with the height up to 4 m: ceilings with insulation (waterproof plasterboards) | m2 | 867,00 |  |  |
| 56 | RpCJ35A | Clearing the interior coating from the ceiling | m2 | 62,50 |  |  |
| 57 | CN53A | Coating the internal surfaces of the ceilings | m2 | 62,50 |  |  |
| 58 | CF52B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for the ceiling, manual preparing of the mortar | m2 | 62,50 |  |  |
| 59 | CF57A | Manual application of the gypsum-based putty "Eurofin" or equivalent thickness 1,0 mm on the ceiling, walls and columns’ areas. | m2 | 930,00 |  |  |
| 60 | CN53A | Coating the internal surfaces of the walls and ceilings | m2 | 930,00 |  |  |
| 61 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually. | m2 | 930,00 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Ceilings Including salary |  |  |  |  |
|  |  | 1.3.4. Carpentry |  |  |  |  |
| 62 | RpCO56A | Dismantling of the wooden carpeting (doors) | m2 | 103,00 |  |  |
| 63 | RpCP44B | Dismantling the metallic constructions without recovering the materials | kg | 42,00 |  |  |
| 64 | CK03A | Wooden interior doors within one leaf, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m, events’ hall | m2 | 12,72 |  |  |
| 65 | CK03A | Wooden interior doors within one leaf, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m entry din exterior | m2 | 12,88 |  |  |
| 66 | CK23C | Plastic windows with one or more leafs with heights up to 35 m inclusively, having an area of the casement of over 2,5 m2 profile with 5 chambers, low-E glass | m2 | 76,20 |  |  |
| 67 | CK26B | Sills assembled at the windows from aluminum (galvanized white board L=35 cm) | m | 30,00 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Carpentry Including salary |  |  |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Total Interior works Including salary |  |  |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Social and health insurance | % |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit costs | % |  |  |  |
|  |  | Total General repairing works Including salary |  |  |  |  |
|  |  | 2. Electricity |  |  |  |  |
| 68 | RpEG02A | Mounting the electrical panel on metallic shelves, modulated with mask, on the wall or in the corbel, having an area up to 0,30 m2 | piece | 2,00 |  |  |
| 69 | RpEE09D1 | Installation of contactors (breakers) three-polar automates, bursting with oil, capsulated, mounted on wooden dowels or plastic consoles (consoles only ) , connected to copper or aluminum contactors, 160/400 A, AC -3 DITA or similar. For automates with oil breaking contacts | piece | 2,00 |  |  |
| 70 | RpEJ05B | Tests, verifications and adjustments to the electrical three-pole automates up to 500 A | piece | 2,00 |  |  |
| 71 | RpEE03A | Assembling bipolar sockets in normal constructions from bakelite or amino-plastic, simple, double, water-proof construction, seals, metallic or similar seals, assembled under coating or visibly on the wood or plastic gimlets | piece | 20,00 |  |  |
| 72 | RpEF15E | Mounting fluorescent light fittings, type CIT 220 W, without tube 4x18 | piece | 50,00 |  |  |
| 73 | RpEF01B | Assembling the light fittings on ceiling or wall, fully equipped. | piece | 12,00 |  |  |
| 74 | RpEF12A | Mounting lamps (bulbs): incandescent bulbs. | piece | 24,00 |  |  |
| 75 | RpEF12B | Mounting lamps (bulbs): incandescent, fluorescent tubes | piece | 200,00 |  |  |
| 76 | RpEE01A | Mounting unipolar or bipolar switches 10-25 A, of normal construction, sealed in waterproof aminoplast carcass, bakelite, metal recessed or surface mounted on wooden dowels or plastic, with copper or aluminum connectors | piece | 13,00 |  |  |
| 77 | RpEA05B | Assembling the insulating, light flexible tube with flexible covering of plastic material (IPFY), with the diameter over 25 mm | m | 87,00 |  |  |
| 78 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 16 mm2 3x4 | m | 168,00 |  |  |
| 79 | RpEB01A | Assembling the masked conductors, of copper, in tubes, protection elements, flush mountable, with the section up to 16 mm2 3x2.5 | m | 628,00 |  |  |
| 80 | RpEE01A | Mounting unipolar or bipolar switches 10-25 A, of normal construction, sealed in waterproof aminoplast carcass, bakelite, metal recessed or surface mounted on wooden dowels or plastic, with copper or aluminum connectors | piece | 20,00 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Social and health insurance | % |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Benefit costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Total Electricity Including salary |  |  |  |  |
|  |  | 3. Equipment (chairs) |  |  |  |  |
| 81 | Market price | Chair for the events’ hall of type model Ideal LS13601 or equivalent parameters | piece | 100,00 |  |  |
|  |  | Total | lei | lei |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Total Equipment (chairs) Including salary |  |  |  |  |
|  |  | Total | lei |  |  |  |
|  |  | Total estimates: Including salary |  |  |  |  |

| Compiled |  |
| --- | --- |
| (position, signature, name, surname) |
| Verified |  |
| (position, signature, name, surname) |